DATA REQUEST

Southern California Gas Company Test Year 2012 GRC

A.10-12-006

Date:  	July 18, 2011

Responses Due:  August 1, 2011

To:		Ronald van der Leeden

RvanderLeeden@semprautilities.com

(213) 244-2009

- From:		Truman Burns, Project Coordinator

- Donna Fay Bower, Assistant Project Coordinator

- Division of Ratepayer Advocates

505 Van Ness Avenue, Room 4205

San Francisco, CA  94102

Originated by:  	Kelly Lee

Phone:	(415) 703-1795

Email:	kcl@cpuc.ca.gov

- Data Request No:  DRA-SCG-125-KCL

- Exhibit Reference:   SCG-05 and SCG-05-CWP

- Subject:	Gas Engineering and Transmission Capital Expenditures

- Please provide the following:

- The project cost tables for several capital projects shown in SCG-05-CWP include collectible amount for Year 2011 and 2012.  These projects include Budget Numbers 0311.00 on page RKS-CWP-83, 0311.04 on page RKS-CWP-87, 0313.00 on page RKS-CWP-211, 0314.00 on page RKS-CWP-212, 0314.03 on page RKS-CWP-215, and 0314.06 on page RKS-CWP-216, .  I assume the collectible amount will be reimbursed by the external agencies that ordered the work.  Please explain why the Total Direct Capital was used for the SCG capital expenditures in the GRC instead of the Net Capital.  Please also provide the details on how the reimbursed amount will be accounted for in the SCG accounting system and whether the ratepayers will be responsible any of the collectible amounts.

- Several capital expenditure categories in Gas Distribution show capital expenditure reductions to reflect anticipated improved operational efficiency by the introduction of new technology and business processes (see discussion on page GOM-61 of Exhibit SCG-02).  Does Gas Engineering and Transmission participate in the same or similar operational efficiency improvement effort?  Does Gas Engineering and Transmission anticipate any cost reduction from future operational efficiency improvement in 2011 and 2012?

- Under Budget Code 617 on page RKS-80 of SCG-05, lines 11-12 state “the most cost-effective solution to the new regulations is ownership and control of the adjacent sites, especially when property values are relatively low.”  Did SCG conduct any cost and benefit study on this issue?  Please provide the result of the study if one was performed.

Provide two copies of the above information as it becomes available but no later than the due date identified above.  If you are unable to provide the information by this date, please provide a written explanation to the data request Originator seven calendar days before the due date as to why the response date cannot be met and your best estimate of when the information can be provided.  Please identify the person who provides the response and his (her) phone number.

Provide electronic responses if possible, and set of hard copy responses with your submittal to the data request originator and the DRA Project Coordinator(s).  All data responses need to have each page numbered, referenced, and indexed so worksheets can be followed.  If any number is calculated, include a copy of all electronic files so the formula and their sources can be reviewed.

If you have any questions regarding this data request, please call the originator at the above phone number.