QUESTION DA01-1:

Regarding Sempra’s discussion of the cost estimates for pipeline replacements and pressure tests for SoCalGas Transmission, please identify the installation date for each of the segments or lines listed in Appendix IX-1-A, on page WP-IX-1-Ai of the workpapers.

RESPONSE DA0-1:

Referring to the pipelines listed in Appendix IX-1-A, the original installation dates for the pipe segments in populated areas requiring action because there is not sufficient documentation of pressure testing to meet the requirements set forth in D.11-06-017 can be summarized as follows:

| Pipeline | Installation Date(s) | Pipeline | Installation Date(s) | Pipeline | Installation Date(s) |
| --- | --- | --- | --- | --- | --- |
| 53 | 1934 | 1014 | 1959 | 1172BP2ST3* | 1997 |
| 169 | 1951 | 1015 (6) | 1952 - 1967 | 1172BP2ST4* | 1997 |
| 235 East | 1960 - 1965 | 1017BP1 | 1960 | 1172BP3* | 1997 |
| 235 West (1) | 1957 - 1960 | 1017BP2 | 1960 | 1230-A* | 1996 |
| 247 | 1968 | 1017BP3 | 1960 | 1230-B* | 2005 |
| 317 | 1969 | 1017BR4 | 1959 | 2000 (7) | 1945 - 1960 |
| 404 (2) | 1944 - 1954 | 1017BR5 | 1959 | 2000-0.18-BO | 1952 |
| 406 (3) | 1949 - 1966 | 1017BR6 | 1959 | 2000-0.18-XO1 | 1952 |
| 407 | 1951 | 1017BR7 | 1959 | 2000-0.18-XO2 | 1961 |
| 408XO1 | 1958 | 1018* | 1995 | 2001 East | 1952 - 1953 |
| 765-8.24-BO* | 1991 | 1019BP1 | 1953 | 2001 West (8) | 1949 - 1968 |
| 765-8.24-BR* | 1991 | 1020 | 1959 | 2002 ID465-T 2* | 1993 |
| 765BR4* | 1992 | 1024 | 1966 - 1967 | 2002 ID465-T 3* | 1993 |
| 765ST2(4) | 1996 | 1025 | 1954 - 1959 | 2003 (9) | 1948 - 1961 |
| 775 | 1959 | 1170 ID502-T 1 | 1966 | 2007 ID629-T2* | 2006 |
| 775BO1 | 1960 | 1171 ID567-P 13 | 1965 | 3000 East | 1957 |
| 1003 | 1951 - 1960 | 1171LT1BP2 | 1965 | 3000-261.73-BO | 1956 |
| 1003LT2* | 2001 | 1171LT2 | 1966 | 3000-261.73-BR | 1956 |
| 1004 | 1944 - 1965 | 1172 ID 2313 1 | 1969 | 4000 | 1960 |
| 1005 | 1949 - 1951 | 1172 ID 2313 2 | 1969 | 5009 | 1967 |
| 1005 ID805-T* | 2004 | 1172 ID 2313 3 | 1969 | 6100* | 1981 |
| 1011 | 1947 - 1964 | 1172BP2ST1* | 1997 | 6914 Extension | N/A (new pipeline) |
| 1013 (5) | 1953 - 1954 | 1172BP2ST2 | 1963 | 8107* | 2006 |

Notes:

* No costs for this segment were included in the PSEP filing.

(1) Includes an 18-foot segment of pipe installed in 2006.

(2) Includes a 13-foot segment of pipe installed in 1978.

(3) Includes a 15-foot segment of pipe installed in 1974.

(4) During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for this pipeline segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of line 765ST2 replacement costs will reduce our estimate of direct costs by $151,600. (5) Includes a 94-foot segment of pipe installed in 2006.

(6) Includes a 12-foot segment of pipe installed in 1991.

(7) Includes a 44-foot segment of pipe installed in 1973.

(8) Includes a 5,877-foot segment of pipe installed in 1990 and 60-foot segment of pipe installed in 1993. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for this 5,877-foot segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for pressure testing this 5,877-foot segment will reduce our estimate of direct costs by $500,900.

(9) Includes a 659-foot segment of pipe installed in 2008. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for this 659-foot segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for pressure testing this 659-foot segment will reduce our estimate of direct costs by $55,000.

QUESTION DAO1-2:

Regarding Sempra’s discussion of the cost estimates for pipeline replacements and pressure testing for SoCalGas Distribution, please identify the installation date for each of the segments or lines listed in Appendix IX-1-B, on page WP-IX-1-Bi of the workpapers.

RESPONSE DAO1-2:

Referring to the pipelines listed in Appendix IX-1-B, the original installation dates for the pipe segments in populated areas requiring action because there is not sufficient documentation of pressure testing to meet the requirements set forth in D.11-06-017 can be summarized as follows:

| Pipeline | Installation Date(s) | Pipeline | Installation Date(s) | Pipeline | Installation Date(s) |
| --- | --- | --- | --- | --- | --- |
| 30-02 | 1928 - 1953 | 36-1001 | 1925 - 1958 | 41-35-1-KST2 | 1961 |
| 30-02-U | 1923 | 36-1002 | 1928 - 1956 | 41-55 | 1960 |
| 30-09-A* | 1982 | 36-1006 | 1949 - 1954 | 41-80 | 1949 |
| 30-18 | 1943 - 1967 | 36-1032 | 1920 - 1960 | 41-83* | 1980 |
| 30-32 (1) | 1931 - 1968 | 36-6588* | 1983 | 41-84 | 1948 |
| 30-6200 | 1953 | 37-04 | 1948 - 1961 | 41-84-A | 1948 |
| 30-6209* | 1974 | 37-07 | 1945 - 1949 | 41-90 | 1963 |
| 30-6292 | 1967 | 37-15 | 1951 | 41-101 | 1956 |
| 30-6543* | 1970 - 1977 | 37-18 | 1945 - 1960 | 41-116 | 1957 |
| 30-6799* | 1991 | 37-18-F | 1946 - 1965 | 41-116BP1 | 1957 |
| 30-6799BR1* | 1991 | 37-18-J | 1956 - 1963 | 41-117 | 1957 |
| 31-09 | 1957 - 1969 | 37-18-K | 1949 - 1956 | 41-128 | 1956 |
| 32-21 | 1942 - 1953 | 37-49 | 1949 | 41-141 | 1948 - 1949 |
| 32-90* | 1994 | 37-6180 | 1963 | 41-181 | 1957 |
| 33-120 | 1930 - 1957 | 38-200 | 1948 | 41-198* | 1971 - 2006 |
| 33-121 | 1955 | 38-351* | 1947 - 1984 | 41-199 | 1947 - 1951 |
| 35-10 | 1957 - 1960 | 38-501 | 1952 | 41-201* | 2006 |
| 35-20 | 1965 | 38-508 | 1948 | 41-6000-2 (4) | 1948 - 2007 |
| 35-20-A | 1966 | 38-512 | 1929 - 1955 | 41-6001-2 | 1967 |
| 35-20-A1 | 1965 | 38-514 | 1945 | 41-6045 | 1948 |
| 35-20-N | 1929 - 1965 | 38-516 | 1946 - 1948 | 42-12 | 1969 |
| 35-22 | 1965 | 38-523 | 1948 | 42-46 | 1947 - 1967 |
| 35-39 | 1965 | 38-528 | 1951 | 42-46-F | 1944 - 1966 |
| 35-40 | 1960 | 38-539 | 1947 - 1949 | 42-57 | 1966 |
| 35-6405 | 1965 | 38-552 | 1947 - 1968 | 42-66-1 | 1947 - 1953 |
| 35-6405BR1 | 1965 | 38-959 | 1935 - 1954 | 42-66-2 | 1947 - 1958 |
| 35-6416 | 1962 | 41-04-I | 1943 - 1948 | 43-34 | 1949 - 1967 |
| 35-6520 | 1970 | 41-04ST1 | 1929 | 43-121 | 1930 - 1961 |
| 36-7-04* | 1992 | 41-05 | 1955 | 43-1106 | 1949 |
| 36-8-01 | 1925 - 1966 | 41-05-A | 1955 | 44-137 (5) | 1950 |
| 36-8-01-C | 1936 - 1970 | 41-17 | 1955 | 44-654 | 1957 |
| 36-8-06 | 1936 - 1960 | 41-17-A2 | 1955 | 44-687 | 1946 |
| 36-9-06 (2) | 1953 | 41-17-F | 1955 - 1958 | 44-720 | 1947 - 1960 |
| 36-9-09 North | 1920 - 1963 | 41-17-FST1 | 1955 | 44-1008 | 1962 - 1964 |
| 36-9-06-A | 1953 | 41-19 | 1957 - 1959 | 45-120 | 1930 - 1948 |
| 36-9-06-F(3) | 1996 | 41-25 | 1957 - 1969 | 45-120X01 | 1930 |
| 36-9-21 | 1950 | 41-25-A | 1940 - 1941 | 45-163 | 1956 - 1968 |
| 36-9-21BR1* | 1993 | 41-30 | 1940 - 1960 |  |  |
| 36-37 | 1927 - 1970 | 41-30-A | 1940 - 1952 |  |  |

Notes:

* No cost for this segment were included in the PSEP filing.

(1) Includes a 297-foot segment of pipe installed in 2007. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for replacing this 297-foot segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for replacing this 297-foot segment will reduce our estimate of direct costs by $221,800.

(2) Includes a 50-foot segment of pipe installed in 1976. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for replacing this 50-foot segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for replacing this 50-foot segment will reduce our estimate of direct costs by $52,500.

(3) During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for this pipeline segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of line 36-9-06-F costs will reduce our estimate of direct costs by $242,400. (4) Includes a 4-foot segment installed in 1978 and a 279-foot segment installed in 2007. The extension of existing L-6914 will allow for the abandonment of 41-6000-2.

(5) Included a 27-foot segment of pipe installed in 2004. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for replacing this 27-foot segment in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for replacing this 27-foot segment will reduce our estimate of direct costs by $28,300.

QUESTION DAO1-3:

Please identify the installation date for line 1600 and line 3010 as identified on page WP-IX-1-Ci of the Appendix IX-1-C of the workpapers for SDG&E Transmission.

RESPONSE DAO1-3:

Referring to the pipelines listed in Appendix IX-1-C, the original installation dates for the pipe segments in populated areas requiring action because there is not sufficient documentation of pressure testing to meet the requirements set forth in D.11-06-017 can be summarized as follows:

| Pipeline | Installation Date(s) |
| --- | --- |
| 1600 | 1949 - 1965 |
| 3010* | 1997 |

Notes:

* No costs for this segment were included in the PSEP filing.

QUESTION DAO1-4:

Please identify the installation date of each of the lines identified on page WP-IX-1-Di of Appendix IX-1-D, of the SDG&E Distribution workpapers.

RESPONSE DAO1-4:

Referring to the pipelines listed in Appendix IX-1-D, the original installation dates for the pipe segments in populated areas requiring action because there is not sufficient documentation of pressure testing to meet the requirements set forth in D.11-06-017 can be summarized as follows:

| Pipeline | Installation Date(s) | Pipeline | Installation Date(s) | Pipeline | Installation Date(s) |
| --- | --- | --- | --- | --- | --- |
| 49-11 | 1968-1969 | 49-17 | 1948-1960 | 49-25 | 1948-1960 |
| 49-13 | 1959-1965 | 49-18 | 1958 | 49-26 (1) | 1942-1958 |
| 49-14 | 1959 | 49-19 | 1949 | 49-27 | 1932 |
| 49-15 | 1950-1969 | 49-20* | 1946 - 1988 | 49-28 (2) | 1932-1965 |
| 49-16 | 1948-1968 | 49-22* | 1949 - 1997 | 49-32 | 1933-1952 |

Notes:

* No costs for this segment were included in the PSEP filing.

(1) Includes a 12-foot segment of pipe installed in 1995 and a 14-foot segment installed in 1996. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for replacing these 12- and 14-foot segments in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for replacing these 12- and 14-foot segments will reduce our estimate of direct costs by $24,100.

(2) Includes a 15-foot segment of pipe installed in 1996 and a 19-foot segment installed in 2003. During the course of compiling data responsive to this data request, it was discovered that we inadvertently included the costs for replacing these 15- and 19-foot segments in our PSEP filing. We will be filing an amendment shortly to remove these costs from our estimates, and will update our testimony and supporting Workpapers accordingly. Removal of the costs for replacing these 15- and 19-foot segments will reduce our estimate of direct costs by $27,300.

QUESTION DAO1-5:

Regarding the Contingency percentages used in the workpapers, please provide a detailed explanation showing how the contingency percentages were derived and include any and all copies of supporting workpapers and calculations relied on to determine the 30% for projects <$2 million and 20% for projects >$2 million.

RESPONSE DAO1-5:

Estimate contingency has been defined as “covering costs that may result from incomplete design, unforeseen and unpredictable conditions, or uncertainties within the defined project scope.  The amount of the contingency will depend on the status of design, procurement, and construction; and the complexity and uncertainties of the component parts of the project.”  In other words contingency is added to a project cost estimate to cover project unknowns and risks identified.  The less that is known about a project the greater the risk, and thus the greater the contingent cost.

As with many client projects that SPEC is asked to look at, one of the initial client goals is to understand a rough-order of magnitude (ROM) cost before proceeding.  These ROM cost estimates are typically generated without performing any preliminary engineering and rarely include a site visit or a complete understanding of project permitting requirements.  For these types of estimates we attempt to identify all the cost contributors as line items and rely on past project experience to assign individual costs.  We typically assign a contingency cost of 30% to all of our ROM cost estimates to account for uncertainty associated with a true understanding of the project scope.  The 30% contingency is on the low end of industry standards when no preliminary engineering has been performed, however with our knowledge of material and labor pricing associated with typical pipeline construction projects we feel it is adequate to cover the uncertainty that still remains.

For typical pipeline projects most costs are tied directly to the pipeline footage (ie materials and construction labor).  However there are some costs including environmental permitting and right-of-way acquisition that tend to decrease on a per foot basis as the size of the project increases.  There is also an indication that material and construction labor costs will tend to decrease as the size of the project increases due to competitive pricing and the desire of suppliers to reduce profit for volume.  Considering these factors, the estimates generated for SCG identified a threshold of $2MM at which the contingency amount could logically be reduced from 30% to 20%.  This does not imply that there is less uncertainty associated with the project but rather that there is a real expectation that a reduction in cost per foot pricing would offset the level of contingency required.