SCGC Follow Up Question September 28, 2011

QUESTION 1:

Please double check the updated corrected table as several lines, i.e., 404, 406, 2000, 2001, 3000, 3003, (and there could be others), are showing up both as backbone and local transmission.  If this is correct, please indicate which portions of these lines are considered backbone and which portions are considered local transmission.

RESPONSE 1:

The updated table is correct.  Attached is the response we had provided related to the embedded cost and functionalization study earlier in the year.  Please see tab “SoCalGas LT” in the embedded excel file response to question 1 for the split of backbone and local transmission for the lines that are listed in the updated corrected table.

SCGC Follow Up Question September 28, 2011

QUESTION 2:

With respect to the percentage splits in the "SoCalGas LT" tab, do these splits indicate a blended use for the entire length of the designated line or do they indicate that from a geographical perspective the line is LT for a portion of its length and then becomes BB for a portion of its length.  If it is the latter, please [provide] more information about the specifics.

RESPONSE 2:

They indicate that from a geographical perspective the line is LT for a portion of its length and then becomes BB for a portion of its length.

SCGC Follow Up Question September 29, 2011

QUESTION 3:

Please identify which portions of each combination line (geographically) are BB and which are LT.  The discussion should refer to the maps and other information that are included in the detailed workpapers associated with each project, e.g., for Line 404 that would be pages WP-IX-1-A13 to WP-IX-1-A18.

RESPONSE 3:

Please identify which portions of each combination line (geographically) are BB and which are LT.  The discussion should refer to the maps and other information that are included in the detailed workpapers associated with each project, e.g., for Line 404 that would be pages WP-IX-1-A13 to WP-IX-1-A18.

Following are the stationing points for each transmission pipeline where it changes function from backbone to local transmission.  Segment stationing lower than these points are on the backbone portion of the pipeline, while stationing greater than these points are on the local portion.  All transmission work proposed in the PSEP filing is stationed and can be found in Appendix IX-1-A of the workpapers.

Line 404	235435.20

Line 406	224438.00

Line 2000*	1059432.00

Line 2001**	1096444.80

LIne3000***	1353158.40

*	Applies to 2000, 2000-0.18-BO, 2000-0.18-X01, and 2000-0.18-X02 in Appendix IX-1-A

**	Applies to 2001 East in Appendix IX-1-A; 2001 West in Appendix IX-1-A is all local

***	Applies to 3000-261.73-BO and 3000-261.73 BR in Appendix IX-1-A; 3000 in Appendix IX-1-A is all backbone

For Transmission Line 324, pipeline segments listed in Appendix IX-1-A less than 63360.00 are on the local transmission portion of the pipeline, and segments greater than that point are on the backbone portion of the pipeline (i.e., the stationing is reversed on Line 324 relative to the other pipelines discussed).

Transmission Line 3003 does not have any segments identified in Appendix IX-1-A.

Example: Hydrotest workpapers for Transmission Line 404 can be found in Appendix IX-1-A, pages WP-IX-1-A13 through WP-IX-1-A17, with each segment to be tested identified by its station start and stop point.  From the above information, Line 404 changes function from backbone to local transmission at station 235435.20.  This station point falls within the segment on page WP-IX-1-A16, line 20, about halfway down the page: station 233242.00 to station 236241.00.  Test segments before this position are on the backbone portion of Line 404, while test segments after this position are on the local portion of the pipeline.