| Program Name: | County of Los Angeles Partnership |
| --- | --- |
| Program Number: | SCG3527 |
| Quarter: | First Quarter 2007 |

- Program Description:

The 2006-08 SCE/SCG/County of Los Angeles Energy Efficiency Partnership is a continuation of the successful partnership implemented in 2004-2005.  The partnership team consists of the County of Los Angeles Internal Services Division (LAC/ISD) and the Investor Owned Utilities (IOUs): Southern California Edison (SCE) and Southern California Gas Company (SCG).  The partners will apply the lessons learned from its previous project implementation experience, as well as from other existing, successful partnership programs.  This scope of this program will focus on retro-commissioning and retrofit activities in County facilities, will apply some of the recommendations from the Public Agency Collaboration study and will explore opportunities to expand the partnership to include retrofit and retro-commissioning activities in other county affiliated agencies.  These agencies may include the Los Angeles County Office of Education (LACOE), the Los Angeles Unified School District (LAUSD), and the Los Angeles County Metropolitan Transportation Authority (LACMTA).  The Investor Owned Utilities (IOUs) will collaborate with LA County’s Internal Services Division to continue.

The management structure of this partnership will remain the same with projects managed by a management team which consists of representatives from each party (SCE, SCG, and County of LA). Each program element will be coordinated through specific project teams for Retro-commissioning (RCx) and Retrofit activities.

- Administrative Activities:

- The Phase 2 RCx RFP – On January 3, 2007, SCE issued a Request for Proposal (RFP#: V312601) to solicit bids from a list of qualified vendors.  Eight companies participated in the mandatory pre-bid conference held on January 16, 2007.    Proposal reviews were initiated on March 2, 2007.  A technical and professional qualification evaluation was conducted by the bid review team that consisted of representatives from Southern California Edison, County of Los Angeles Internal Services Department and Southern California Gas Company.  Upon review of the qualifications, the team recommended to award two purchase orders for this RFP.  The purchase orders for Phase 2 RCx projects were issued on May 4, 2007..

- In addition to RCx projects, the partnership team is actively seeking opportunities for new retrofit projects. The team had compiled information for potential projects such as lighting, motors, variable frequency drives, compressor optimization, and chiller replacements.  Additional engineering assessments shall be conducted to further develop the projects for implementation.

- SCE partnership management, in collaborated with internal SCE organizations, supported LA County Energy Policy task force to develop energy action plan recommendations for potential county wide energy policy.  The task force, consisted of various county departments, SCE, and SCG representatives, was mobilized to draft recommendations for the policy.  The energy policy was adopted by the County Board of Supervisors in February, 2007.   This policy will help the county to have a more cohesive strategy to deal with energy/water efficiency and sustainable practices.  This policy will create opportunities to develop comprehensive projects in support of the county’s policy objectives.  The partnership team will assess the potential opportunities to enhance the program and will propose a change to the program plan, if the energy policy has any substantial impact on existing program implementation and management.  The partnership teams are involved with various sub committees (outreach, energy/water) to assist in the development of the County’s implementation strategies.

- Marketing Activities:

The County’s Internal Service Department will perform the outreach task to increase interest and solicit projects from targeted County departments similar to the PY04-05 program.  Southern California Edison has participated in assisting with the County’s EE policy and will be coordinating projects with other departments within the County.

- Direct Implementation Activities:

- The RCx projects for Phase One are in progress.  10 County Buildings have a committed net savings of 4,068,138 kWh and TBD kW and 248,608 therms.  EMC Engineers completed implementation of several measures for the first two buildings (West Covina Courthouse and Alhambra Courthouse).  These buildings have achieved 851,239 net kWh and 29 net kW to date.  There are additional savings on these two buildings that will be captured after the final report expected in late May.   The remaining 8 buildings of Phase 1 are scheduled to be completed by October 31, 2007.  They will achieve the remaining 80% of the Phase 1 energy savings goal.

- Phase Two RCx RFP package was completed and released on January 3, 2007. This phase includes 4 building groups with a potential energy saving of 11,000,000 gross kWh.  The proposals have been evaluated and two purchase orders were issued on May 7, 2007.

- The County submitted a project package that converted a 7 Supply and 7 Return Fan System from Axial Vane Control to Variable Speed Drives based on recommended EEM’s proposed by EMC in the 04/05 Program.  This project represented a savings of 104,199 net kWh and 32 net kW at an incentive rate of $.08 per kWh, this totaled $10,411.92

- SCG is working with LA County of RCx project in DWP territory that will provide additional therm savings.  This project is currently being evaluated to determine the incentive and therm savings calculations.

- SCG will provide a $ .50 per therm incentive for replacement of boilers at Rio Hondo Courthouse.  Implementation currently in process.

- Retro-Commissioning Implementation Activities:

- General:  The following is a description of the different phases for the County of Los Angeles retro-commissioning process:

- Planning phase: Gathers information regarding the individual buildings through initial building walkthroughs, interviews with personnel familiar with building operation, and through the collection of appropriate documentations.

- Investigation phase:  Focuses on the operation side of the existing mechanical equipment, with attention being paid to issues that will affect indoor environmental quality, operability of the building, and energy consumption.

- eQUEST modeling phase:  Processes the information acquired during the Planning and Investigation Phases and utilize this information to develop a Baseline Energy Model using eQUEST.

- Implementation phase:  Requires adjustments, modifications, or programming changes made according to the Energy Efficient Measures (EEMs) selected by the Partnership.  Once all measures have been installed and verified, a final round of functional testing is conducted.  The purpose of functional testing in this phase is to provide a final systematic review of the complete operation of the mechanical system and ensure that measures implemented did not have any detrimental impact on other parts of the system “untouched” during Implementation.

- Training Phase:  Upon completion of RCx activities and reports, the final deliverable in the process is a training manual and on site training session for the facility manager and other personnel.  The staff will be trained on the RCx process and the procedures to maintain the buildings at its optimized state for persistence in energy savings.

- Phase One Project Status:

- Alhambra Courthouse:  The Planning, Investigation, and eQUEST modeling phases started in September and were completed mid-November ‘06.  The reports indicated seven EEMs with a cost of $149,825 and an energy saving of 26 kW, 846,076 kWh, 19,537 therms, and combine saving of $113,656, this is a gross payback in 1.3 years.  Of the seven proposed EEMs, only 5 were selected for implementation.  Two of 5 EEMs were completed by the end of December 2006 to capture the energy saving of 657,059 kWh and 14,334 Therms.  The remaining 3 measures started in have been completed and a final report and savings will be captured in May 2007.

- West Covina Courthouse:  The Planning, Investigation, and eQUEST modeling phases started in September and were completed mid-December.  The reports indicated four Energy Efficient Measures (EEMs) with a cost of $94,858 and an energy saving of 20 kW, 503,067 kWh, 21,749 therms, and combine saving of $59,903, this is a gross payback in 1.6 years.  Of the proposed EEMs only three were selected. One of three EEMs was completed by the end of December 2006 with an energy saving of 36 kW, 406,990 kWh, and 17,530 therms. The remaining 3 measures have been completed and a final report and savings will be captured in May 2007.

- Torrance, Inglewood Juvenile, Inglewood Courthouse:  The Planning and Investigation phases have been completed.

- Santa Clarita, Pomona South, Pomona North, Norwalk and Registrar Recorder:  The Planning Phases have been completed.

- Program Performance/Program Status:

( Program is on target

⁬ Program is exceeding expectations

⁬ Program is falling short of expectations

- Program Achievements (non-resource programs only):

Not Applicable

- Changes in program emphasis, if any, from previous quarter (new program elements, less or more emphasis on a particular delivery strategy, program elements discontinued, measure discontinued, budget changes, etc.).

None for Q1’07.  However, as noted above under administrative section, there may be potential opportunities to enhance the partnership program due to the adoption of County of Los Angeles energy policy.  In the event that the policy requires the partnership to collaborate with the County’s overall energy policy efforts, the partnership will identify the opportunities and will propose a modification to the current program plan.

- Discussion of near-term plans for program over the coming months (e.g., marketing and outreach efforts that are expected to significantly increase program participation, etc.)

None

- Changes to staffing and staff responsibilities, if any

None

- Changes to contracts, if any

None

- Changes to contractors and contractor responsibilities, if any

  - Purchase Order Issued to:  EMC Engineers for Phase One RCx work.  EMC will be responsible for Phase One RCx activities that will achieve energy and gas savings.

  - Purchase Order Issued to:  IES for engineering support, a description of work follow:

- Review energy project scope and energy savings estimates, and perform additional engineering, analysis and reports.

- Perform facility surveys, energy analysis, engineering studies, and reports to develop energy projects.

- Attend working group meetings and prepare minutes of meetings.

- Purchase Order Issued to:  EMC Engineers, Inc. (EMC) for Phase Two RCx work.  EMC will be responsible for Group 1B and 3 of Phase 2 RCx activities that consist of 6 buildings.

- Purchase Order Issued to:  Engineered Mechanical Services, Inc. (EMSI) for Phase Two RCx work.  EMSI will be responsible for Group 1A, 2 and 4 of  Phase Two RCx activities that consist of 8 buildings.

- Number of customer complaints received

None

- Revisions to program theory and logic model, if any

None