## Raw Data
Retention rate study
The following properties were installed as part of a xxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxxx. We were subcontractors for a company called xxxxxxxxxxxxxxxxx The program was set up as a 10 year demand side management program where xxxxxxxxxxxx would provide Natural Gas energy Savings through the installation and monitoring of domestic hot water systems in the xxxxxxxxx xxxxxxxx until Dec 31 2003.
As a result 52 properties where installed during the 1995-96 time period. As part of the terms of the agreement, At the end of the term, xxxxxxxxxxx, Inc. would have the option to continue the program with the properties or have the controls returned for upgrades and redeployment
The following is a list of the properties involved and the current status of the control systems and or the reason for removal
| Total properties installed | 52
| properties currently on line | 36
| properties that did not establish contract with EDC | 8
| properties where existing owners canceled | 5
| properties where new owners cancelled | 2
| properties where controls were no longer applicable | 1
The retention rate for the period from 1995 to 2004 was 98% due to one cancellation
The number of properties that cancelled contracts directly with xxxxxxxxxxxxxx is 5 since 2004 for an actual retention rate of 90% from 1995 to current
The number of properties that did not establish a contract with xxxxxxxxxxx starting in 2004 was 8 or 15% but had a 100 % retention rate from 1995 to 1994
The retention rate due to all circumstances is 75% for the time period of 1995 to Nov 2007
Reason for control removal
A | Did not establish contract after power saving partners program ran out 10 year program (as part of the program the controls returned to xxxxxxxxxxx Inc.
B | Existing owners cancelled contract
C | Change of ownership canceled contract
D | Converted system from boilers to individual water heaters
Current Status | property | Date Removed | Reason
|  | 2009-03-13 | B
Active
Active
Active
|  | 2007-03-01 | C
Active
Active
Active
Active
|  | 2006-05-01 | B
|  | 2004-08-18 | A
Active
Active
Active
Active
Active
|  | 2008-07-25 | B
|  | 2004-05-10 | A
Active
|  | 2001-06-04 | B
Active
Active
Active
Active
Active
Active
Active
Active
Active
Active
|  | 2004-12-08 | A
Active
Active
Active
Active
|  | 2002-08-27 | D
Active
|  | 2007-06-06 | B
|  | 2007-03-01 | C
Active
|  | 2004-12-21 | A
|  | 2004-12-01 | A
Active
Active
Active
|  | 2004-12-01 | A
|  | 2004-02-27 | A
Active
Active
|  | 2004-08-18 | A
Active
Active

## With Missing Data
Retention Study
xxxxxxxxxx installed DHW controllers on the following properties as part of a xxxxxxxxxx established in 1994 called thexxxxxxxxxxx. The program was set up as a 10-year demand-side management program wherexxxxxxxxxxx would provide natural gas energy savings through the installation and monitoring of domestic hot water systems in the xxxxxxxx until Dec 31, 2003. As a result, DHW controllers were installed on xxxxx properties during the 1995-96 time period. As part of the terms of the agreement, at the end of the term, xxxxxxxxxxx would have the option to continue the program with these properties or have the controls returned for upgrades and redeployment. The table gives the current status, the date the controller was installed, the date the controller was removed (if so), the reason, and the resulting number of years of service. If the controller was never removed, the number of years of service was assumed to be the equipment useful life of 15 years.
Nominal install date | 1995-01-01
Nominal EUL | 15 | years
Nominal end date | 2010-01-01 12:00
Property Number | Current Status | Date Installed | Date Removed | Reason | Years Retained
1 |  | 1995-01-01 | 2009-03-13 | B | 14.2055
2 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
3 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
4 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
5 |  | 1995-01-01 | 2007-03-01 | C | 12.1699
6 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
7 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
8 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
9 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
10 |  | 1995-01-01 | 2006-05-01 | B | 11.337
11 |  | 1995-01-01 | 2004-08-18 | A | 9.6356
12 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
13 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
14 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
15 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
16 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
17 |  | 1995-01-01 | 2008-07-25 | B | 13.5726
18 |  | 1995-01-01 | 2004-05-10 | A | 9.3616
19 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
20 |  | 1995-01-01 | 2001-06-04 | B | 6.4274
21 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
22 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
23 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
24 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
25 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
26 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
27 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
28 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
29 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
30 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
31 |  | 1995-01-01 | 2004-12-08 | A | 9.9425
32 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
33 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
34 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
35 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
36 |  | 1995-01-01 | 2002-08-27 | D | 7.6575
37 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
38 |  | 1995-01-01 | 2007-06-06 | B | 12.4356
39 |  | 1995-01-01 | 2007-03-01 | C | 12.1699
40 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
41 |  | 1995-01-01 | 2004-12-21 | A | 9.9781
42 |  | 1995-01-01 | 2004-12-01 | A | 9.9233
43 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
44 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
45 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
46 |  | 1995-01-01 | 2004-12-01 | A | 9.9233
47 |  | 1995-01-01 | 2004-02-27 | A | 9.1616
48 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
49 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
50 |  | 1995-01-01 | 2004-08-18 | A | 9.6356
51 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
52 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123
|  |  |  | Average EUL Realization Factor | 90.77%
|  |  |  | EUL times Average Realization Factor | 13.615
Reason for control removal
A | Did not establish contract after power saving partners program ran out 10 year program (as part of the program the controls returned to EDC Technologies Inc.
B | Existing owners cancelled contract
C | Change of ownership canceled contract
D | Converted system from boilers to individual water heaters

## Sorted Data
Retention Study
xxxxxxxxxx installed DHW controllers on the following properties as part of a xxxxxxxxxx established in 1994 called thexxxxxxxxxxx. The program was set up as a 10-year demand-side management program wherexxxxxxxxxxx would provide natural gas energy savings through the installation and monitoring of domestic hot water systems in the xxxxxxxx until Dec 31, 2003. As a result, DHW controllers were installed on xxxxx properties during the 1995-96 time period. As part of the terms of the agreement, at the end of the term, xxxxxxxxxxx would have the option to continue the program with these properties or have the controls returned for upgrades and redeployment. The table gives the current status, the date the controller was installed, the date the controller was removed (if so), the reason, and the resulting number of years of service. If the controller was never removed, the number of years of service was assumed to be the equipment useful life of 15 years.
Nominal install date | 1995-01-01
Nominal EUL | 15 | years |  | 13.615
Nominal end date | 2010-01-01 12:00
Property Number | Current Status | Date Installed | Date Removed | Reason | Years Retained | Number Remaining | Average EUL Realization Factor to Date
20 |  | 1995-01-01 | 2001-06-04 | B | 6.4274 | 52 | 100%
36 |  | 1995-01-01 | 2002-08-27 | D | 7.6575 | 51 | 99.69%
47 |  | 1995-01-01 | 2004-02-27 | A | 9.1616 | 50 | 99.11%
18 |  | 1995-01-01 | 2004-05-10 | A | 9.3616 | 49 | 99.01%
11 |  | 1995-01-01 | 2004-08-18 | A | 9.6356 | 48 | 98.82%
50 |  | 1995-01-01 | 2004-08-18 | A | 9.6356 | 47 | 98.82%
42 |  | 1995-01-01 | 2004-12-01 | A | 9.9233 | 46 | 98.52%
46 |  | 1995-01-01 | 2004-12-01 | A | 9.9233 | 45 | 98.52%
31 |  | 1995-01-01 | 2004-12-08 | A | 9.9425 | 44 | 98.49%
41 |  | 1995-01-01 | 2004-12-21 | A | 9.9781 | 43 | 98.43%
10 |  | 1995-01-01 | 2006-05-01 | B | 11.337 | 42 | 96.32%
5 |  | 1995-01-01 | 2007-03-01 | C | 12.1699 | 41 | 95.12%
39 |  | 1995-01-01 | 2007-03-01 | C | 12.1699 | 40 | 95.12%
38 |  | 1995-01-01 | 2007-06-06 | B | 12.4356 | 39 | 94.69%
17 |  | 1995-01-01 | 2008-07-25 | B | 13.5726 | 38 | 92.88%
1 |  | 1995-01-01 | 2009-03-13 | B | 14.2055 | 37 | 91.91%
2 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 36 | 90.69%
3 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 35 | 90.69%
4 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 34 | 90.69%
6 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 33 | 90.69%
7 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 32 | 90.69%
8 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 31 | 90.69%
9 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 30 | 90.69%
12 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 29 | 90.69%
13 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 28 | 90.69%
14 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 27 | 90.69%
15 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 26 | 90.69%
16 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 25 | 90.69%
19 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 24 | 90.69%
21 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 23 | 90.69%
22 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 22 | 90.69%
23 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 21 | 90.69%
24 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 20 | 90.69%
25 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 19 | 90.69%
26 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 18 | 90.69%
27 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 17 | 90.69%
28 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 16 | 90.69%
29 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 15 | 90.69%
30 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 14 | 90.69%
32 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 13 | 90.69%
33 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 12 | 90.69%
34 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 11 | 90.69%
35 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 10 | 90.69%
37 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 9 | 90.69%
40 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 8 | 90.69%
43 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 7 | 90.69%
44 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 6 | 90.69%
45 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 5 | 90.69%
48 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 4 | 90.69%
49 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 3 | 90.69%
51 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 2 | 90.69%
52 | Active | 1995-01-01 | 2010-01-01 12:00 |  | 15.0123 | 1 | 90.69%
|  |  |  | Average EUL Realization Factor | 0.90767
|  |  |  | EUL times Average Realization Factor | 13.615
Reason for control removal
A | Did not establish contract after power saving partners program ran out 10 year program (as part of the program the controls returned to EDC Technologies Inc.
B | Existing owners cancelled contract
C | Change of ownership canceled contract
D | Converted system from boilers to individual water heaters