## WP
Version 0.1
Deemed or Calculated |  | Deemed
File Name |  | PGECOPRO105 R1 Execsum
Revision |  | 1
Revision Date |  | 2012-08-23
PGE Code |  | PGECOPRO105
TPS Eng. LAN ID |  | AxZe
Delivery Channel |  | MM
Residential or Non-Res |  | NonResidential
Comment / CORE WP
[8 empty] | 1st Baseline | [7 empty] | 2nd Baseline
Measure Code | VersionSource | Measure Description | Measure Application Type | Building Type | Building Vintage | Climate Zone | Unit Definition | KW Peak Electric Demand Reduction | KWh Electric Savings | THM Gas Savings | (EUL) LIFE CYCLE | Base Case Cost ($/unit) | Measure Cost ($/unit) | Labor Cost ($/unit) | IMC Incremental Measure Cost ($/unit) | KW Peak Electric Demand Reduction | KWh Electric Savings | THM Gas Savings | LIFE CYCLE | Base Case Cost ($/unit) | Measure Cost ($/unit) | Labor Cost ($/unit) | IMC Incremental Measure Cost ($/unit) | GRR_kW | GRR_kWh | GRR_thm | NTG | Implementation Method [DI, DD, I] | ISR
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 1 | Each | 0 | 0 | 2.3 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 2 | Each | 0 | 0 | 2.2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 3 | Each | 0 | 0 | 2.3 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 4 | Each | 0 | 0 | 2.3 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 5 | Each | 0 | 0 | 2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 6 | Each | 0 | 0 | 2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 7 | Each | 0 | 0 | 2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 8 | Each | 0 | 0 | 2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 9 | Each | 0 | 0 | 2 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 10 | Each | 0 | 0 | 2.1 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 11 | Each | 0 | 0 | 2.1 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 12 | Each | 0 | 0 | 2.1 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 13 | Each | 0 | 0 | 2.1 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 14 | Each | 0 | 0 | 2.3 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 15 | Each | 0 | 0 | 2.3 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1
H103 | DEER2011 | Commercial Pool Heaters | ROB | ANY | ANY | 16 | Each | 0 | 0 | 2.1 | 5 | 8.01 | 10.06 | 0 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.6 | I | 1

## Drop down (hidden)
Drop Down Selections |  |  |  |  | UNIT (currently in MDSS)
Measure Application Type | Building Type | Building Vintage | Climate Zone | Unit Definition | ACRE
ER | ALC | OTR | ALL |  | AERATOR
ROB | ASM | 03 | OTR |  | APARTMENT
NC | BCR | 05 | Z01 |  | CASE DOOR
| DMO | 75 | Z02 |  | CERTIFICATE
| ECC | 85 | Z03 |  | CLOSER
| EPR | 96 | Z04 |  | CLOTHES WASHER
| ERC | AV | Z05 |  | CONTROLLER
| ESE | M1 | Z06 |  | DESKTOP
| EUN | M2 | Z07 |  | DISH WASHER
| FRM | M3 | Z08 |  | DOOR
| GRO | M4 | Z09 |  | DWELLING UNIT
| GST | NW | Z10 |  | EXIT SIGN
| HSP | EX | Z11 |  | FIXTURE
| HTB | ANY | Z12 |  | FIXTURE HEAD
| HTL |  | Z13 |  | FOOT
| MBT |  | Z14 |  | FURNACE
| MFM |  | Z15 |  | GRIDDLE
| MLI |  | Z16 |  | HORSEPOWER
| MTL |  | ZCO |  | HOUSEHOLD
| NRS |  | ZVA |  | HP
| OFL |  | IOU |  | HPWH
| OFS |  | ANY |  | ICE MACHINE
| OTI |  |  |  | KW CONTROLLED
| OTR |  |  |  | CONNECTED KW REDUCED
| RES |  |  |  | KW REDUCED
| RFF |  |  |  | KW REDUCTION
| RSD |  |  |  | KWH
| RT3 |  |  |  | LAMP
| RTL |  |  |  | LETTER
| RTS |  |  |  | LIN. FT.
| S20 |  |  |  | LINEAR FEET
| S26 |  |  |  | LINEAR FT
| S28 |  |  |  | MACHINE
| S29 |  |  |  | MBTUH
| S33 |  |  |  | MBTUH INPUT
| SCN |  |  |  | MEASURE
| SFM |  |  |  | MONITOR
| SMO |  |  |  | MOTOR
| SUN |  |  |  | NOZZLE
| WRF |  |  |  | OVEN
| ANY |  |  |  | PER FIXTURE
PER SENSOR
PHOTOCELL
POUNDS
POWER SUPPLY
PUMP
REFRIGERATOR
SENSOR
SHOWERHEAD
SIGN
SINGLE OVEN
SOFTWARE
SQ FT
SQ FT
SQ. FT.
SQ. FT.
SQUARE FOOT
SQUARE FOOT
STEAMER
SYSTEM
TELEVISION
TEST
THERM
TIME CLOCK
TIMER
TON
TRAP
UNIT
VAT
VENDING MACHINE
VFD
WATER HEATER
WORKSTATION

## Validations (hidden)
The data checks to apply to DEEM/CALC Excel work paper files managed by TPS follow. TPS will generate an Excel file along with each work paper to facilitate PIA transfer of the data to MDSS.
All checks must pass before the Excel data may be transferred to an upcoming PIA database. Erroneous Excel cells will be colored and contain an Excel comment explaining the error(s).
| Errors | Errors (red) must be corrected before transferring data
| Warnings | Warnings (yellow) are only informational for review and need not be changed
After the data is transferred, PIA channels (GP, 3P, MM, TM) may use it for program setup.
Program setup will be modified to track key values to enable various reports and metrics
* Key values include, e.g., PGE code, revision date and number plus transfer date and ids.
Spelling Checks
1 | Measure Code, Building, Vintage, Climate, & Measure Unit Definitions exist in MDSS
2 | Climate misspellings corrected, e.g., Z1, 01, 1 are all updated to Z01
3 | Similar vintage misspelling corrections, e.g., 5 set to 05, plus setting all codes to uppercase
4 | Measure unit definitions limited to those used since PY 2003
5 | Measure unit definitions does not change within a measure
6 | MM may have blank ISRs or implementation methods
Numeric Checks
1 | KW, KWH, THM, EUL, NTG & IMC are numeric and match MDSS data types
2 | IF KW <> 0 THEN KWH >= KW
3 | NTG >0 and NTG <=1
4 | EUL >=1 and EUL <=20 … except for 3P … EUL >0 and EUL <=20
5 | ISR >0 and ISR <=1
6 | IMC, Base, Labor & Measure costs are numeric
7 | KW, KWH, THM are zero for calculated work papers
Unique Checks
1 | Unique check for duplicates rows concatenating Measure Code, Building, Vintage, Climate
and Implementation Method
OTR Checks
1 | Measure savings default rows are verified per the WP OTR Default Scenarios tab.
1a | Incorrect OTR - Row exists but with incorrect values
* The correct value will be related in an Excel comment and optionally inserted
1b | Missing OTR - Row is missing
* The missing row will be insert and
* The correct value will be related in an Excel comment and optionally inserted
Checkbox Options
1 | New (PGE Code)
* Helps with spell checking preexisting PGE Codes which is a very critical value
* Check if transferring a PGE Code for the first time
1 | List omitted climate zones
2 | List omitted vintages
3 | List omitted building types
* Enables verifying all climate zones, vintages or building types were listed if they vary
* If climate zone varies, then those not listed are enumerated in the OTR cell as a comment
* If those not listed are found, then that OTR cell is colored yellow as a warning
4 | Allow new codes definitions
* Enables transferrring new codes that may not yet exist in MDSS, e.g., a new measure code
* Applies to measure codes and unit definitions
* New codes or definitions are commented as not existing in MDSS and colored yellow as a warning
Measure Application Type
| ER | 1st and 2nd baseline have values
| ROB | 1st baseline has values
| NC | 1st baseline has values
| REA | 1st and 2nd baseline have values

## WP OTR Default Scenarios (hidden)
Work Paper OTR Default Scenarios
OTR Default Rules per Measure | Climate_Zone_Code | Bldg_Type_Code | Vintage_Code | OTR Energy Savings
A1 - Zero OTR - M3 | ALL | BCR | AV | All Bucket Default
B1 - Climate ALL Vin AV - M1 | ALL | SFM | AV
Logic 1B: Two known | ALL | MFM | AV
| ALL | MHM | AV
| ALL | OTR | AV | row with Energy Savings = min kwh row *
B2 - Climate ALL Bldg BCR - M2 | ALL | BCR | 75
Logic 1B: Two known | ALL | BCR | 85
| ALL | BCR | 90
| ALL | BCR | OTR | row with Energy Savings = min kwh row *
B3 - Bldg BCR Vin AV - M7 | Z01 | BCR | AV
Logic 1B: Two known | Z02 | BCR | AV
| Z03 | BCR | AV
| Z04 | BCR | AV
| Z05 | BCR | AV
| Z06 | BCR | AV
| Z11 | BCR | AV
| Z12 | BCR | AV
| Z13 | BCR | AV
| Z14 | BCR | AV
| Z16 | BCR | AV
| OTR | BCR | AV | row with Energy Savings = min kwh row *
C1 - Climate Vary Vin AV - M5 | Z01 | SFM | AV
Logic 2C: Two known after isolate climate | Z02 | RET | AV
| Z03 | ASM | AV
| Z04 | OFS | AV
| Z01 | MFM | AV
| Z02 | RET | AV
| Z03 | ASM | AV
| Z04 | OFS | AV
| Z01 | MFM | AV
| Z02 | RET | AV
| Z03 | ASM | AV
| Z04 | OFS | AV
| Z01 | OTR | AV | row with Energy Savings = min kwh row * for Z01
| Z02 | OTR | AV | row with Energy Savings = min kwh row * for Z02
| Z03 | OTR | AV | row with Energy Savings = min kwh row * for Z03
| Z04 | OTR | AV | row with Energy Savings = min kwh row * for Z04
| OTR | OTR | AV | Energy Savings = 0 … So OTR Not Required
C2 - Climate Vary Bldg BCR - M6 | Z01 | BCR | 96
Logic 2C: Two known after isolate climate | Z02 | BCR | 96
| Z03 | BCR | 96
| Z04 | BCR | 96
| Z01 | BCR | 75
| Z02 | BCR | 75
| Z03 | BCR | 75
| Z04 | BCR | 75
| Z01 | BCR | 85
| Z02 | BCR | 85
| Z03 | BCR | 85
| Z01 | BCR | OTR | row with Energy Savings = min kwh row * for Z01
| Z02 | BCR | OTR | row with Energy Savings = min kwh row * for Z02
| Z03 | BCR | OTR | row with Energy Savings = min kwh row * for Z03
| Z04 | BCR | OTR | row with Energy Savings = min kwh row * for Z04
| OTR | BCR | OTR | Energy Savings = 0 … So OTR Not Required
D1 - Climate Vary - M8 | Z01 | SFM | 96
Logic 3D: One known after isolate climate | Z02 | RET | 96
| Z03 | ASM | 96
| Z04 | OFS | 96
| Z01 | MFM | 75
| Z02 | RET | 75
| Z03 | ASM | 75
| Z04 | OFS | 75
| Z01 | MHM | 85
| Z02 | ASM | 85
| Z03 | OFS | 85
| Z01 | OTR | OTR | row with Energy Savings = min kwh row * for Z01
| Z02 | OTR | OTR | row with Energy Savings = min kwh row * for Z02
| Z03 | OTR | OTR | row with Energy Savings = min kwh row * for Z03
| Z04 | OTR | OTR | row with Energy Savings = min kwh row * for Z04
| OTR | OTR | OTR | Energy Savings = 0 … So OTR Not Required
D2- Climate ALL - M4 | ALL | RET | 75
Logic 3D: One known after isolate climate | ALL | ASM | 85
| ALL | OFS | 96
| ALL | SFM | 75
| ALL | MFM | 85
| ALL | MHM | 96
| ALL | OTR | OTR | row with Energy Savings = min kwh row *
* OTR equals the "min kwh row" of valid DEER 2008 building types. * * If all kwh are zero, use min kw row. If all kwh and kw are zero, use min thm. * DEER 08 building types supersede Non-DEER 08 types which supersede Residential types. * Non-DEER 08 includes GST, HTB, WRF & BCR - Residential includes MFM, SFM & RES.

## Unit definitions (hidden)
UNIT (currently in MDSS) | SPTdb NormUnits
ACRE | Code | Description
AERATOR | Area-ft2 | area (ft2)
APARTMENT | Building | building
CASE DOOR | Cap-kBTUh | input capacity (kBTUh)
CERTIFICATE | Cap-kW | input capacity (kW)
CLOSER | Cap-MBTUh | input capacity (MBTUh)
CLOTHES WASHER | Cap-Tons | tons cooling capacity
CONTROLLER | Each | appliance
DESKTOP | Fixture | fixture
DISH WASHER | Flow-CFM | CFM air flow
DOOR | Flow-GPM | gallons per minute
DWELLING UNIT | Household | house or household
EXIT SIGN | Installation | equipment count
FIXTURE | Lamp | lamp
FIXTURE HEAD | Len-ft | length (feet)
FOOT | Ctrl-kW | kW Controlled
FURNACE | Rated-HP | nameplate HP
GRIDDLE | SurfArea-ft2 | surface area (ft2)
HORSEPOWER | kWh | per annual kWh consumption
HOUSEHOLD | therm | per annual therm consumption
HP | tbd | tbd
HPWH | Area-Acre | per Acre
ICE MACHINE | Area-1kFP | 1,000 sqft footprint
KW CONTROLLED | Area-1kH | 1,000 sqft house
CONNECTED KW REDUCED | Area-1kR | 1,000 sqft roof
KW REDUCED | Area-1kW | 1,000 sqft wall (exc. windows)
KW REDUCTION | Area-100win | 100 sqft window
KWH
LAMP
LETTER
LIN. FT.
LINEAR FEET
LINEAR FT
MACHINE
MBTUH
MBTUH INPUT
MEASURE
MONITOR
MOTOR
NOZZLE
OVEN
PER FIXTURE
PER SENSOR
PHOTOCELL
POUNDS
POWER SUPPLY
PUMP
REFRIGERATOR
SENSOR
SHOWERHEAD
SIGN
SINGLE OVEN
SOFTWARE
SQ FT
SQ FT
SQ. FT.
SQ. FT.
SQUARE FOOT
SQUARE FOOT
STEAMER
SYSTEM
TELEVISION
TEST
THERM
TIME CLOCK
TIMER
TON
TRAP
UNIT
VAT
VENDING MACHINE
VFD
WATER HEATER
WORKSTATION