## Model Format
APPROACH | MEASURE TYPE/END USE LOAD | TARGET SECTOR | SDGE 2006 | SDGE 2007 | SDGE 2008 | SCGC 2006 | SCGC 2007 | SCGC 2008 | MEASURE/ACTIVITY NAME | UNIT GOALS | UNIT DEFINITION | FINANCIAL INCENTIVE PER UNIT | MEASURE UTILITY COST (UC) RATIO | MEASURE UTILITY COST NET RSOURCE BENEFIT | MEASURE TOTAL RESOURCE COST (TRC) RATIO | MEASURE TOTAL RESOURCE COST (TRC) NET RESOURCE BENEFIT | INSTALLATION, SERVICE, REPAIR LABOR COSTS PER UNIT | GROSS COINCIDENT PEAK DEMAND REDUCTION PER UNIT (kW) | GROSS ANNUAL ENERGY SAVINGS PER UNIT (kWh) | GROSS ANNUAL ENERGY SAVINGS PER UNIT (THERMS) | GROSS INCREMENTAL MEASURE COSTS | EFFECTIVE USEFUL LIFE (YEARS) | NET TO GROSS RATIO | kWh NPV Avoided Cost | Therm NPV Avoided Cost | FINANCIAL INCENTIVE PER MEASURE | INSTALLATION, SERVICE, AND REPAIR LABOR COSTS PER MEASURE | TOTAL GROSS INCREMENTAL MEASURE COST PER MEASURE | TOTAL NET INCREMENTAL MEASURE COST PER MEASURE | PROJECTED NET COINCIDENT PEAK DEMAND REDUCTION (kW) | PROJECTED ANNUAL NET kWh SAVINGS | PROJECTED ANNUAL NET THERM SAVINGS | PROJECTED LIFECYCLE NET kWh SAVINGS | PROJECTED LIFECYCLE NET THERM SAVINGS | PRESENT VALUE OF ANNUALIZED ELECTRIC SAVINGS PER kWh/TRC | PRESENT VALUE OF ANNUALIZED GAS SAVINGS PER THERM/TRC | Weighted TRC | Weighted UC | Unit Totals
Prescriptive Approach Single Family Structure
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 4 | 0 | Dwelling Unit | 150 | 1.2263 | 33.9504 | 0.81756 | 3.9504 | 0 | 0.10756 | 98.115 | 34.535 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 5 | 0 | Dwelling Unit | 150 | 1.013 | 1.9553 | 0.67536 | -28.0447 | 0 | 0.0434 | 39.59 | 34.535 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 6 | 0 | Dwelling Unit | 150 | 0.44788 | -82.8187 | 0.29858 | -112.8187 | 0 | 0.032076 | 29.26 | 13.565 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 7 | 0 | Dwelling Unit | 150 | 0.48812 | -76.7813 | 0.32542 | -106.7813 | 0 | 0.064157 | 58.525 | 10.925 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 400 | 400 | 250 | 400 | 500 | 250 | Single Family, Maximum Cooling Capacity, CZ 8 | 250 | Dwelling Unit | 150 | 1.2339 | 35.09 | 0.82262 | 5.09 | 0 | 0.26983 | 246.145 | 13.39 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 37500 | 0 | 56250 | 45000 | 53.966 | 49229 | 2678 | 738435 | 40170 | 0.68336 | 4.7167 | 205.6556 | 308.4834 | 250
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 9 | 0 | Dwelling Unit | 150 | 2.196 | 179.4027 | 1.464 | 149.4027 | 0 | 0.54721 | 499.18 | 14.975 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 500 | 500 | 400 | 500 | 600 | 400 | Single Family, Maximum Cooling Capacity, CZ 10 | 400 | Dwelling Unit | 150 | 3.9376 | 440.6432 | 2.6251 | 410.6432 | 0 | 1.0284 | 938.11 | 20.615 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 60000 | 0 | 90000 | 72000 | 329.0812 | 300195.2 | 6596.8 | 4502928 | 98952 | 0.68336 | 4.7167 | 1050.0324 | 1575.0485 | 400
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 13 | 0 | Dwelling Unit | 150 | 5.9854 | 747.8143 | 3.9903 | 717.8143 | 0 | 1.519 | 1385.65 | 37.18 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Maximum Cooling Capacity, CZ 14 | 0 | Dwelling Unit | 150 | 7.7067 | 1006.0065 | 5.1378 | 976.0065 | 0 | 1.8567 | 1693.765 | 60.965 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 100 | 100 | 50 | 100 | 150 | 50 | Single Family, Maximum Cooling Capacity, CZ 15 | 50 | Dwelling Unit | 150 | 16.1514 | 2272.7119 | 10.7676 | 2242.7119 | 0 | 4.7834 | 4363.505 | 9.865 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 7500 | 0 | 11250 | 9000 | 191.3352 | 174540.2 | 394.6 | 2618103 | 5919 | 0.68336 | 4.7167 | 538.3804 | 807.5706 | 50
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 4 | 0 | Dwelling Unit | 100 | 1.5384 | 53.8386 | 1.2307 | 53.8386 | 0 | 0.047176 | 43.035 | 34.535 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 5 | 0 | Dwelling Unit | 100 | 1.4066 | 40.6634 | 1.1253 | 40.6634 | 0 | 0.020757 | 18.935 | 34.535 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 6 | 0 | Dwelling Unit | 100 | 0.57773 | -42.2272 | 0.46218 | -42.2272 | 0 | 0.01321 | 12.05 | 13.565 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 7 | 0 | Dwelling Unit | 100 | 0.53361 | -46.6385 | 0.42689 | -46.6385 | 0 | 0.024528 | 22.375 | 10.9 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 750 | 750 | 600 | 750 | 1000 | 600 | Single Family, Verified Ducting System, CZ 8 | 600 | Dwelling Unit | 100 | 1.1169 | 11.6913 | 0.89353 | 11.6913 | 0 | 0.12265 | 111.885 | 13.39 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 60000 | 0 | 75000 | 60000 | 58.8725 | 53704.8 | 6427.2 | 805572 | 96408 | 0.68336 | 4.7167 | 536.1184 | 670.148 | 600
| HVAC - Heating/AC Systems | RES/SF | SDGE 2008: 100; SCGC 2007: 100; SCGC 2008: 100 | Single Family, Verified Ducting System, CZ 9 | 100 | Dwelling Unit | 100 | 2.0519 | 105.1863 | 1.6415 | 105.1863 | 0 | 0.29813 | 271.965 | 14.975 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 10000 | 0 | 12500 | 10000 | 23.8508 | 21757.2 | 1198 | 326358 | 17970 | 0.68336 | 4.7167 | 164.149 | 205.1863 | 100
| HVAC - Heating/AC Systems | RES/SF | 500 | 500 | 400 | 500 | 600 | 400 | Single Family, Verified Ducting System, CZ 10 | 400 | Dwelling Unit | 100 | 3.7515 | 275.1486 | 3.0012 | 275.1486 | 0 | 0.59627 | 543.93 | 20.615 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 40000 | 0 | 50000 | 40000 | 190.8061 | 174057.6 | 6596.8 | 2610864 | 98952 | 0.68336 | 4.7167 | 1200.4756 | 1500.5945 | 400
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 13 | 0 | Dwelling Unit | 100 | 5.9104 | 491.0415 | 4.7283 | 491.0415 | 0 | 0.90384 | 824.505 | 37.18 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 14 | 0 | Dwelling Unit | 100 | 8.2947 | 729.4708 | 6.6358 | 729.4708 | 0 | 1.202 | 1096.47 | 60.965 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Verified Ducting System, CZ 15 | 0 | Dwelling Unit | 100 | 16.0873 | 1508.7303 | 12.8698 | 1508.7303 | 0 | 3.1512 | 2874.58 | 9.865 | 125 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
[9 empty] | Single Family, Verified Ducting Design, CZ 4 |  | Dwelling Unit | [6 empty] | 0.06038 | 55.08 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 5 |  | Dwelling Unit | [6 empty] | 0.022643 | 20.655 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 6 |  | Dwelling Unit | [6 empty] | 0.018866 | 17.21 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 7 |  | Dwelling Unit | [6 empty] | 0.039629 | 36.15 | 0.025 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 8 |  | Dwelling Unit | [6 empty] | 0.14718 | 134.26 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 9 |  | Dwelling Unit | [6 empty] | 0.24908 | 227.215 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 10 |  | Dwelling Unit | [6 empty] | 0.43211 | 394.18 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 13 |  | Dwelling Unit | [6 empty] | 0.61514 | 561.145 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 14 |  | Dwelling Unit | [6 empty] | 0.65477 | 597.295 | 0 | 100
[9 empty] | Single Family, Verified Ducting Design, CZ 15 |  | Dwelling Unit | [6 empty] | 1.6322 | 1488.925 | 0 | 100
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 4 | 0 | Dwelling Unit | 175 | 1.7365 | 128.883 | 1.0129 | 63.883 | 0 | 0.10567 | 96.39 | 52.51 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 5 | 0 | Dwelling Unit | 175 | 1.6321 | 110.6139 | 0.95205 | 45.6139 | 0 | 0.041514 | 37.87 | 57.09 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 6 | 0 | Dwelling Unit | 175 | 0.87239 | -22.3322 | 0.50889 | -87.3322 | 0 | 0.026419 | 24.1 | 29.95 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 7 | 0 | Dwelling Unit | 175 | 0.92037 | -13.9352 | 0.53688 | -78.9352 | 0 | 0.071704 | 65.41 | 25.73 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 300 | 300 | 200 | 300 | 400 | 200 | Single Family, Quality Insulation Installation, CZ 8 | 200 | Dwelling Unit | 175 | 1.4228 | 73.9909 | 0.82997 | 8.9909 | 0 | 0.20002 | 182.46 | 27.84 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 35000 | 0 | 60000 | 48000 | 32.0027 | 29193.6 | 4454.4 | 583872 | 89088 | 0.83625 | 5.6989 | 165.9939 | 284.561 | 200
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 9 | 0 | Dwelling Unit | 175 | 1.3503 | 61.3065 | 0.78769 | -3.6935 | 0 | 0.27926 | 254.75 | 14.45 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 500 | 500 | 300 | 500 | 500 | 300 | Single Family, Quality Insulation Installation, CZ 10 | 300 | Dwelling Unit | 175 | 2.7905 | 313.3336 | 1.6278 | 248.3336 | 0 | 0.51324 | 468.19 | 38.41 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 52500 | 0 | 90000 | 72000 | 123.1779 | 112365.6 | 9218.4 | 2247312 | 184368 | 0.83625 | 5.6989 | 488.3336 | 837.1434 | 300
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 13 | 0 | Dwelling Unit | 175 | 3.4514 | 428.9926 | 2.0133 | 363.9926 | 0 | 0.60004 | 547.37 | 52.16 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Quality Insulation Installation, CZ 14 | 0 | Dwelling Unit | 175 | 4.3929 | 593.7605 | 2.5625 | 528.7605 | 0 | 0.70949 | 647.21 | 73.65 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | 200 | 200 | 200 | 200 | 200 | 200 | Single Family, Quality Insulation Installation, CZ 15 | 200 | Dwelling Unit | 175 | 5.3979 | 769.6266 | 3.1488 | 704.6266 | 0 | 1.3926 | 1270.32 | 20.79 | 300 | 20 | 0.8 | 0.83625 | 5.6989 | 35000 | 0 | 60000 | 48000 | 222.8089 | 203251.2 | 3326.4 | 4065024 | 66528 | 0.83625 | 5.6989 | 629.7511 | 1079.5733 | 200
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 4 | 0 | Dwelling Unit | 200 | 1.5091 | 101.8283 | 0.9287 | 41.8283 | 0 | 0 | 0 | 79.99 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 5 | 0 | Dwelling Unit | 200 | 1.5291 | 105.828 | 0.94101 | 45.828 | 0 | 0 | 0 | 81.05 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 6 | 0 | Dwelling Unit | 200 | 1.6155 | 123.1099 | 0.99418 | 63.1099 | 0 | 0 | 0 | 85.63 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 7 | 0 | Dwelling Unit | 200 | 1.6089 | 121.7892 | 0.99012 | 61.7892 | 0 | 0 | 0 | 85.28 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | 100 | 100 | 50 | 100 | 100 | 50 | Single Family, Tank Less Water Heater, CZ 8 | 50 | Dwelling Unit | 200 | 1.5889 | 117.7895 | 0.97781 | 57.7895 | 0 | 0 | 0 | 84.22 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 10000 | 0 | 16250 | 13000 | 0 | 0 | 3368.8 | 0 | 50532 | 0.68336 | 4.7167 | 48.8907 | 79.4474 | 50
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 9 | 0 | Dwelling Unit | 200 | 1.5757 | 115.1482 | 0.96969 | 55.1482 | 0 | 0 | 0 | 83.52 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 10 | 0 | Dwelling Unit | 200 | 1.5757 | 115.1482 | 0.96969 | 55.1482 | 0 | 0 | 0 | 83.52 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 13 | 0 | Dwelling Unit | 200 | 1.4227 | 84.5465 | 0.87553 | 24.5465 | 0 | 0 | 0 | 75.41 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 14 | 0 | Dwelling Unit | 200 | 1.6155 | 123.1099 | 0.99418 | 63.1099 | 0 | 0 | 0 | 85.63 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/SF | [6 empty] | Single Family, Tank Less Water Heater, CZ 15 | 0 | Dwelling Unit | 200 | 1.3895 | 77.9054 | 0.85509 | 17.9054 | 0 | 0 | 0 | 73.65 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 4 | 0 | Dwelling Unit | 200 | 0.061175 | -187.7651 | 0.054378 | -167.7651 | 0 | 0.024533 | 22.38 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 5 | 0 | Dwelling Unit | 200 | 0.0047015 | -199.0597 | 0.0041791 | -179.0597 | 0 | 0.0018855 | 1.72 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 6 | 0 | Dwelling Unit | 200 | 0 | -200 | 0 | -180 | 0 | 0 | 0 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 7 | 0 | Dwelling Unit | 200 | 0.0094031 | -198.1194 | 0.0083583 | -178.1194 | 0 | 0.003771 | 3.44 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 8 | 0 | Dwelling Unit | 200 | 0.20233 | -159.5339 | 0.17985 | -139.5339 | 0 | 0.081143 | 74.02 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 9 | 0 | Dwelling Unit | 200 | 0.54109 | -91.7826 | 0.48097 | -71.7826 | 0 | 0.217 | 197.95 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 10 | 0 | Dwelling Unit | 200 | 1.2563 | 51.2536 | 1.1167 | 71.2536 | 0 | 0.50381 | 459.59 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 13 | 0 | Dwelling Unit | 200 | 2.1596 | 231.9295 | 1.9197 | 251.9295 | 0 | 0.8661 | 790.08 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 14 | 0 | Dwelling Unit | 200 | 2.3996 | 279.9234 | 2.133 | 299.9234 | 0 | 0.96234 | 877.87 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Single Family, Air Conditioner EER, CZ 15 | 0 | Dwelling Unit | 200 | 6.573 | 1114.6055 | 5.8427 | 1134.6055 | 0 | 2.636 | 2404.66 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
Prescriptive Approach Multiple Family Structure
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 4 | 0 | Dwelling Unit | 100 | 0.7485 | -25.1496 | 0.499 | -45.1496 | 0 | 0.048475 | 44.22 | 13.43 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 5 | 0 | Dwelling Unit | 100 | 0.57133 | -42.8675 | 0.38088 | -62.8675 | 0 | 0.010677 | 9.74 | 13.73 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 6 | 0 | Dwelling Unit | 100 | 0.27167 | -72.8327 | 0.18112 | -92.8327 | 0 | 0.011499 | 10.49 | 5.68 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 7 | 0 | Dwelling Unit | 100 | 0.33073 | -66.9271 | 0.22049 | -86.9271 | 0 | 0.032043 | 29.23 | 4.53 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | 250 | 250 | 200 | 250 | 250 | 200 | Multi-family, Maximum Cooling Capacity, CZ 8 | 200 | Dwelling Unit | 100 | 0.88023 | -11.9775 | 0.58682 | -31.9775 | 0 | 0.13474 | 122.91 | 5.52 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 20000 | 0 | 30000 | 24000 | 21.5579 | 19665.6 | 883.2 | 294984 | 13248 | 0.68336 | 4.7167 | 117.3634 | 176.045 | 200
| HVAC - Heating/AC Systems | RES/MF | 100 | 100 | 100 | 100 | 100 | 100 | Multi-family, Maximum Cooling Capacity, CZ 9 | 100 | Dwelling Unit | 100 | 1.5592 | 55.9157 | 1.0394 | 35.9157 | 0 | 0.26619 | 242.82 | 6.14 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 10000 | 0 | 15000 | 12000 | 21.2948 | 19425.6 | 491.2 | 291384 | 7368 | 0.68336 | 4.7167 | 103.9438 | 155.9157 | 100
| HVAC - Heating/AC Systems | RES/MF | 345 | 345 | 300 | 345 | 400 | 300 | Multi-family, Maximum Cooling Capacity, CZ 10 | 300 | Dwelling Unit | 100 | 2.7188 | 171.8822 | 1.8125 | 151.8822 | 0 | 0.47897 | 436.93 | 8.75 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 30000 | 0 | 45000 | 36000 | 114.9536 | 104863.2 | 2100 | 1572948 | 31500 | 0.68336 | 4.7167 | 543.7644 | 815.6466 | 300
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 13 | 0 | Dwelling Unit | 100 | 3.8647 | 286.4737 | 2.5765 | 266.4737 | 0 | 0.66464 | 606.3 | 14.58 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 14 | 0 | Dwelling Unit | 100 | 5.0019 | 400.1943 | 3.3346 | 380.1943 | 0 | 0.81663 | 744.95 | 24.63 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Maximum Cooling Capacity, CZ 15 | 0 | Dwelling Unit | 100 | 9.9545 | 895.4469 | 6.6363 | 875.4469 | 0 | 1.9635 | 1791.18 | 4.3 | 150 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 4 | 0 | Dwelling Unit | 60 | 1.0358 | 2.1453 | 0.62145 | -17.8547 | 0 | 0.022999 | 20.98 | 13.43 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 5 | 0 | Dwelling Unit | 60 | 0.90446 | -5.7321 | 0.54268 | -25.7321 | 0 | 0.004933 | 4.5 | 13.73 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 6 | 0 | Dwelling Unit | 60 | 0.39821 | -36.1074 | 0.23893 | -56.1074 | 0 | 0.004933 | 4.5 | 5.68 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 7 | 0 | Dwelling Unit | 60 | 0.40097 | -35.942 | 0.24058 | -55.942 | 0 | 0.013966 | 12.74 | 4.53 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | 200 | 200 | 400 | 200 | 400 | 400 | Multi-family, Verified Ducting System, CZ 8 | 400 | Dwelling Unit | 60 | 0.89347 | -6.3917 | 0.53608 | -26.3917 | 0 | 0.06573 | 59.96 | 5.52 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 24000 | 0 | 40000 | 32000 | 21.0335 | 19187.2 | 1766.4 | 287808 | 26496 | 0.68336 | 4.7167 | 214.4333 | 357.3889 | 400
| HVAC - Heating/AC Systems | RES/MF | 200 | 200 | 400 | 200 | 400 | 400 | Multi-family, Verified Ducting System, CZ 9 | 400 | Dwelling Unit | 60 | 1.6358 | 38.1469 | 0.98147 | 18.1469 | 0 | 0.15035 | 137.15 | 6.14 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 24000 | 0 | 40000 | 32000 | 48.1111 | 43888 | 1964.8 | 658320 | 29472 | 0.68336 | 4.7167 | 392.5874 | 654.3124 | 400
| HVAC - Heating/AC Systems | RES/MF | 400 | 400 | 500 | 400 | 600 | 500 | Multi-family, Verified Ducting System, CZ 10 | 500 | Dwelling Unit | 60 | 2.913 | 114.779 | 1.7478 | 94.779 | 0 | 0.28426 | 259.31 | 8.75 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 30000 | 0 | 50000 | 40000 | 113.7048 | 103724 | 3500 | 1555860 | 52500 | 0.68336 | 4.7167 | 873.8949 | 1456.4916 | 500
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 13 | 0 | Dwelling Unit | 60 | 4.2014 | 192.0862 | 2.5209 | 172.0862 | 0 | 0.39517 | 360.48 | 14.58 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 14 | 0 | Dwelling Unit | 60 | 5.9465 | 296.7919 | 3.5679 | 276.7919 | 0 | 0.52908 | 482.64 | 24.63 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, Verified Ducting System, CZ 15 | 0 | Dwelling Unit | 60 | 10.8752 | 592.5132 | 6.5251 | 572.5132 | 0 | 1.2759 | 1163.89 | 4.3 | 100 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
[9 empty] | Multi-family, Verified Ducting Design, CZ 4 | [8 empty] | 0.025476 | 23.24 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 5 | [8 empty] | 0.0057442 | 5.24 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 6 | [8 empty] | 0.0065664 | 5.99 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 7 | [8 empty] | 0.018077 | 16.49 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 8 | [8 empty] | 0.069007 | 62.95 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 9 | [8 empty] | 0.11584 | 105.67 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 10 | [8 empty] | 0.19471 | 177.62 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 13 | [8 empty] | 0.26947 | 245.82 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 14 | [8 empty] | 0.28755 | 262.31 | 0 | 50
[9 empty] | Multi-family, Verified Ducting Design, CZ 15 | [8 empty] | 0.68765 | 627.29 | 0 | 50
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 4 | 0 | Dwelling Unit | 50 | 1.4752 | 23.7576 | 0.73758 | -6.2424 | 0 | 0.037787 | 34.47 | 11.12 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 5 | 0 | Dwelling Unit | 50 | 1.2446 | 12.229 | 0.62229 | -17.771 | 0 | 0.013144 | 11.99 | 11.89 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 6 | 0 | Dwelling Unit | 50 | 0.66921 | -16.5397 | 0.3346 | -46.5397 | 0 | 0.010677 | 9.74 | 5.91 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 7 | 0 | Dwelling Unit | 50 | 0.76946 | -11.5271 | 0.38473 | -41.5271 | 0 | 0.024643 | 22.48 | 5.14 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | 250 | 250 | 200 | 250 | 395 | 200 | Multi-family, High Quality Insulation Installation, CZ 8 | 200 | Dwelling Unit | 50 | 1.2654 | 13.2724 | 0.63272 | -16.7276 | 0 | 0.062441 | 56.96 | 5.52 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 10000 | 0 | 20000 | 16000 | 9.9905 | 9113.6 | 883.2 | 182272 | 17664 | 0.83625 | 5.6989 | 126.5448 | 253.0896 | 200
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 9 | 0 | Dwelling Unit | 50 | 1.8261 | 41.3035 | 0.91303 | 11.3035 | 0 | 0.10434 | 95.18 | 6.06 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | 300 | 300 | 300 | 300 | 400 | 300 | Multi-family, High Quality Insulation Installation, CZ 10 | 300 | Dwelling Unit | 50 | 2.426 | 71.2991 | 1.213 | 41.2991 | 0 | 0.13803 | 125.91 | 8.13 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 15000 | 0 | 30000 | 24000 | 33.1261 | 30218.4 | 1951.2 | 604368 | 39024 | 0.83625 | 5.6989 | 363.8974 | 727.7949 | 300
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 13 | 0 | Dwelling Unit | 50 | 2.8964 | 94.8221 | 1.4482 | 64.8221 | 0 | 0.15364 | 140.15 | 11.2 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 14 | 0 | Dwelling Unit | 50 | 3.5555 | 127.7775 | 1.7778 | 97.7775 | 0 | 0.17499 | 159.63 | 15.57 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/MF | [6 empty] | Multi-family, High Quality Insulation Installation, CZ 15 | 0 | Dwelling Unit | 50 | 4.456 | 172.8024 | 2.228 | 142.8024 | 0 | 0.33356 | 304.28 | 4.22 | 100 | 20 | 0.8 | 0.83625 | 5.6989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83625 | 5.6989 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 4 | 0 | Dwelling Unit | 200 | 0.26206 | -147.5885 | 0.16127 | -207.5885 | 0 | 0 | 0 | 13.89 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 5 | 0 | Dwelling Unit | 200 | 0.26338 | -147.3244 | 0.16208 | -207.3244 | 0 | 0 | 0 | 13.96 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 6 | 0 | Dwelling Unit | 200 | 0.28941 | -142.1172 | 0.1781 | -202.1172 | 0 | 0 | 0 | 15.34 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 7 | 0 | Dwelling Unit | 200 | 0.29243 | -141.5135 | 0.17996 | -201.5135 | 0 | 0 | 0 | 15.5 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 8 | 0 | Dwelling Unit | 200 | 0.28941 | -142.1172 | 0.1781 | -202.1172 | 0 | 0 | 0 | 15.34 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 9 | 0 | Dwelling Unit | 200 | 0.28809 | -142.3813 | 0.17729 | -202.3813 | 0 | 0 | 0 | 15.27 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 10 | 0 | Dwelling Unit | 200 | 0.28941 | -142.1172 | 0.1781 | -202.1172 | 0 | 0 | 0 | 15.34 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 13 | 0 | Dwelling Unit | 200 | 0.26055 | -147.8904 | 0.16034 | -207.8904 | 0 | 0 | 0 | 13.81 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 14 | 0 | Dwelling Unit | 200 | 0.28941 | -142.1172 | 0.1781 | -202.1172 | 0 | 0 | 0 | 15.34 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Water Heating - Systems | RES/MF | [6 empty] | Multi-family, Tank Less Water Heater, CZ 15 | 0 | Dwelling Unit | 200 | 0.27941 | -144.117 | 0.17195 | -204.117 | 0 | 0 | 0 | 14.81 | 325 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 4 | 0 | Dwelling Unit | 200 | 0.028674 | -194.2652 | 0.025488 | -174.2652 | 0 | 0.011499 | 10.49 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 5 | 0 | Dwelling Unit | 200 | 0.0020501 | -199.59 | 0.0018223 | -179.59 | 0 | 0.00082217 | 0.75 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 6 | 0 | Dwelling Unit | 200 | 0 | -200 | 0 | -180 | 0 | 0 | 0 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 7 | 0 | Dwelling Unit | 200 | 0.0041002 | -199.18 | 0.0036446 | -179.18 | 0 | 0.0016443 | 1.5 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 8 | 0 | Dwelling Unit | 200 | 0.11472 | -177.0554 | 0.10198 | -157.0554 | 0 | 0.046009 | 41.97 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 9 | 0 | Dwelling Unit | 200 | 0.29909 | -140.1811 | 0.26586 | -120.1811 | 0 | 0.11995 | 109.42 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 10 | 0 | Dwelling Unit | 200 | 0.63711 | -72.5773 | 0.56632 | -52.5773 | 0 | 0.25551 | 233.08 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 13 | 0 | Dwelling Unit | 200 | 0.99151 | -1.6988 | 0.88134 | 18.3012 | 0 | 0.39763 | 362.73 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 14 | 0 | Dwelling Unit | 200 | 1.1103 | 22.0658 | 0.98696 | 42.0658 | 0 | 0.44529 | 406.2 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| HVAC - Heating/AC Systems | RES/SF | [6 empty] | Multi-family, Air Conditioner EER, CZ 15 | 0 | Dwelling Unit | 200 | 2.8332 | 366.6395 | 2.5184 | 386.6395 | 0 | 1.1362 | 1036.49 | 0 | 225 | 15 | 0.8 | 0.68336 | 4.7167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68336 | 4.7167 | 0 | 0 | 0
| Incentive |  | 600000 | 600000 | 500000 | 600000 | 750000 | 500000
| Units |  | 5395 | 5395 | 4950 | 5395 | 7095 | 4950 |  | 4950 | [15 empty] | 510500 | 0 | 791250 | 633000 | 1609.6736 | 1468380 | 57799.4 | 23946412 | 966159 | 0 | 0 | 7764.2103 | 11944.4411 | 4950
| Net Projected Energy Effects | [7 empty] | Category | Percent | Budget
| Net Coincident Peak kW | 1609.6736 | [6 empty] | Total Labor Cost | 0% | 0
| Net Annual kWh | 1468380 | [6 empty] | Direct Charges | 0% | 0
| Net Lifecycle kWh | 23946412 | [6 empty] | Employee Expenses/Other Overheads | 0% | 0
| Net Annual Therms | 57799.4 | [6 empty] | MP&L | 0% | 0
| Net Lifecycle Therms | 966159 | [6 empty] | Administrative Overheads | 0% | 0
[9 empty] | Incentives | 100% | 510500
| Weighted Marginal TRC | 1.5685 | [6 empty] | Subtotal | 100% | 510500
| Weighted Marginal UC | 2.413 | [6 empty] | Measurement and Evaluation Overheads | 0% | 0
[9 empty] | Total | 100% | 510500

## LU - Avd. Costs TRC
Discount Rate
|  |  |  | AVOIDED COST VALUES - TRC |  |  |  |  | 8.15%
|  | Electric |  |  |  |  | Natural Gas
| Statewide Avg. | Gen | T&D | Env.Ext. | Total |  | Gen | T&D | Env.Ext. | Total
| Year | $/kWh | $/kWh | $/kWh | $/kWh | Year | $/thm | $/thm | $/thm | $/thm
| 2004 | 0.05341 | 0.00574 | 0.00704 | 0.06619 | 2004 | 0.34 | 0.03 | 0.06 | 0.43
| 2005 | 0.05451 | 0.006 | 0.0072 | 0.06771 | 2005 | 0.35 | 0.03 | 0.06 | 0.44
| 2006 | 0.04961 | 0.0062 | 0.0074 | 0.06321 | 2006 | 0.37 | 0.03 | 0.07 | 0.47
| 2007 | 0.05155 | 0.0065 | 0.0076 | 0.06565 | 2007 | 0.39 | 0.03 | 0.07 | 0.49
| 2008 | 0.05325 | 0.00675 | 0.00785 | 0.06785 | 2008 | 0.4 | 0.04 | 0.07 | 0.51
| 2009 | 0.0551 | 0.00704 | 0.00814 | 0.07028 | 2009 | 0.42 | 0.04 | 0.07 | 0.53
| 2010 | 0.05708 | 0.00734 | 0.00834 | 0.07276 | 2010 | 0.44 | 0.04 | 0.07 | 0.55
| 2011 | 0.05896 | 0.0076 | 0.0086 | 0.07516 | 2011 | 0.38 | 0.04 | 0.08 | 0.5
| 2012 | 0.06138 | 0.00794 | 0.00884 | 0.07816 | 2012 | 0.4 | 0.04 | 0.08 | 0.52
| 2013 | 0.06399 | 0.0083 | 0.0091 | 0.08139 | 2013 | 0.42 | 0.04 | 0.08 | 0.54
| 2014 | 0.06676 | 0.0086 | 0.0094 | 0.08476 | 2014 | 0.43 | 0.04 | 0.08 | 0.55
| 2015 | 0.06976 | 0.009 | 0.0097 | 0.08846 | 2015 | 0.45 | 0.04 | 0.09 | 0.58
| 2016 | 0.073 | 0.00934 | 0.00994 | 0.09228 | 2016 | 0.48 | 0.04 | 0.09 | 0.61
| 2017 | 0.07649 | 0.00974 | 0.01024 | 0.09647 | 2017 | 0.5 | 0.04 | 0.09 | 0.63
| 2018 | 0.08023 | 0.01014 | 0.01054 | 0.10091 | 2018 | 0.52 | 0.05 | 0.09 | 0.66
| 2019 | 0.08428 | 0.01055 | 0.01081 | 0.10564 | 2019 | 0.54 | 0.05 | 0.1 | 0.69
| 2020 | 0.08844 | 0.01059 | 0.01108 | 0.11011 | 2020 | 0.57 | 0.05 | 0.1 | 0.72
| 2021 | 0.09287 | 0.01112 | 0.01136 | 0.11535 | 2021 | 0.59 | 0.05 | 0.1 | 0.74
| 2022 | 0.09942 | 0.01152 | 0.01167 | 0.12261 | 2022 | 0.61 | 0.05 | 0.1 | 0.76
| 2023 | 0.10222 | 0.01191 | 0.01198 | 0.12611 | 2023 | 0.64 | 0.06 | 0.11 | 0.81
| SUM | 1.3923 | 0.17192 | 0.18683 | 1.7511 | SUM | 9.24 | 0.66 | 1.66 | 11.73
0 |  |  |  |  | 0 |  |  |  |  | 0
1 | PV (1 yr) | 0.05341 | 0.00574 | 0.00704 | 0.06619 | PV (1 yr) | 0.34 | 0.03 | 0.06 | 0.43
2 | PV (2 yr) | 0.10381 | 0.011288 | 0.013697 | 0.1288 | PV (2 yr) | 0.66362 | 0.057739 | 0.11548 | 0.83684
3 | PV (3 yr) | 0.14623 | 0.016589 | 0.020024 | 0.18284 | PV (3 yr) | 0.97996 | 0.083388 | 0.17533 | 1.2387 | Discount Rate | 8.15%
4 | PV (4 yr) | 0.18698 | 0.021727 | 0.026032 | 0.23474 | PV (4 yr) | 1.2883 | 0.1071 | 0.23066 | 1.626
5 | PV (5 yr) | 0.2259 | 0.026661 | 0.03177 | 0.28433 | PV (5 yr) | 1.5807 | 0.13634 | 0.28183 | 1.9988
6 | PV (6 yr) | 0.26314 | 0.031419 | 0.037272 | 0.33183 | PV (6 yr) | 1.8645 | 0.16338 | 0.32914 | 2.357
7 | PV (7 yr) | 0.29882 | 0.036006 | 0.042484 | 0.37731 | PV (7 yr) | 2.1395 | 0.18838 | 0.37289 | 2.7008
8 | PV (8 yr) | 0.33289 | 0.040398 | 0.047453 | 0.42074 | PV (8 yr) | 2.3591 | 0.21149 | 0.41912 | 2.9897
9 | PV (9 yr) | 0.36568 | 0.04464 | 0.052177 | 0.4625 | PV (9 yr) | 2.5728 | 0.23286 | 0.46186 | 3.2675
10 | PV (10 yr) | 0.39729 | 0.048741 | 0.056672 | 0.50271 | PV (10 yr) | 2.7803 | 0.25262 | 0.50138 | 3.5343
11 | PV (11 yr) | 0.42779 | 0.052669 | 0.060966 | 0.54143 | PV (11 yr) | 2.9767 | 0.2709 | 0.53793 | 3.7855
12 | PV (12 yr) | 0.45726 | 0.056471 | 0.065064 | 0.57879 | PV (12 yr) | 3.1668 | 0.28779 | 0.57594 | 4.0305
13 | PV (13 yr) | 0.48577 | 0.060119 | 0.068946 | 0.61483 | PV (13 yr) | 3.3543 | 0.30341 | 0.61109 | 4.2688
14 | PV (14 yr) | 0.51339 | 0.063636 | 0.072644 | 0.64967 | PV (14 yr) | 3.5348 | 0.31786 | 0.64359 | 4.4963
15 | PV (15 yr) | 0.54018 | 0.067022 | 0.076163 | 0.68336 | PV (15 yr) | 3.7085 | 0.33455 | 0.67365 | 4.7167
16 | PV (16 yr) | 0.5662 | 0.070279 | 0.079501 | 0.71598 | PV (16 yr) | 3.8752 | 0.34999 | 0.70452 | 4.9297
17 | PV (17 yr) | 0.59145 | 0.073302 | 0.082664 | 0.74741 | PV (17 yr) | 4.0379 | 0.36426 | 0.73307 | 5.1352
18 | PV (18 yr) | 0.61596 | 0.076238 | 0.085662 | 0.77786 | PV (18 yr) | 4.1936 | 0.37746 | 0.75946 | 5.3306
19 | PV (19 yr) | 0.64023 | 0.079049 | 0.088511 | 0.80779 | PV (19 yr) | 4.3425 | 0.38967 | 0.78387 | 5.5161
20 | PV (20 yr) | 0.6633 | 0.081737 | 0.091214 | 0.83625 | PV (20 yr) | 4.487 | 0.40321 | 0.8087 | 5.6989

## kW Conversions
Energy Savings (kWh) to Demand (kW) Converter
(insert kWh savings to view kW savings)
End Use | kWh saved | kW saved | conversion factor (=kW/kWh) | Notes:
Clothes Washer | 1000 | 0.41742 | 0.00041742 | 2005 DEER Tier 1, 3.5 capacity, gas water heat, electric dryer
Refrigerator | 1000 | 0.17 | 0.00017 | 2005 DEER sidemount 18 cf
CFL | 1000 | 0.32985 | 0.00032985 | 2005 DEER (summer peak demand)
Dishwasher | 1000 | 0.31649 | 0.00031649 | 2005 DEER 215 wash cycles; electric water heat
AC | 1000 | 1.0962 | 0.0010962 | 2001 DEER (based on 10 to13 SEER split system upgrade, zone 10, post 1998 vintage)
Whole House Fan | 1000 | 0.068564 | 6.8564e-05 | 2001 DEER (zone 10, post 1998 vintage)