QUESTION 1:

Please update Table 1 and Table 2 sponsored by Mr. Herbert Emmrich in his Prepared Testimony in Rulemaking (R.) 04-01-025, Phase II, Exhibit 5, for the years 2009 through 2016.  Use the same methodology and presentation and apply updated demand forecasts for 2009 through 2016.  Please provide workpapers.

RESPONSE 1:

The following are the updated Tables 1 and 2 of Mr. Emmrich’s testimony in R.-4-01-025:

Workpapers:

QUESTION 2:

In his Testimony, page 25, Mr. Emmrich provides cites of Commission criteria that gas utilities should hold “a combination of firm pipeline capacity and storage inventory sufficient to serve core Cold Year requirements” and “a combination of firm pipeline capacity and storage withdrawal to serve core “Peak Day” requirements. (D.90-09-089). Please provide the Commission cites that Mr. Emmrich relied on to deviate from that guidance and instead rely on incremental purchases of 150 MMcfd of interstate capacity or border/citygate supply to meet core peak requirements.

RESPONSE 2:

In his R.04-01-025 testimony, on page 10, Mr. Emmrich stated, “SoCalGas currently has enough pipeline capacity, storage inventory and storage injection capacity to meet core requirements for a Cold Year. However, the current 1,935 MMcfd of firm core storage withdrawal rights would have to be increased if SoCalGas were to hold 100% of average year interstate pipeline capacity during the winter.” However, in the Omnibus decision, D.07-12-019, the Commission decided to keep the current 1,935 MMcfd of storage withdrawal in place thereby tacitly recommending that the withdrawal deficit be made up with incremental purchases of 150 MMcfd of interstate capacity or border/citygate supply to meet core peak requirements. The Commission further stated on page 52 of the Omnibus decision regarding the core’s 10% balancing rights, “As a result the core will receive balancing service equal to 10% of core burn which will provide an additional 300 MMcf/day of peak day capacity.”  Based on these two statements, the Commission has expressed a policy that is consistent with meeting core Peak Day requirements with a combination of storage withdrawal rights and interstate or border purchases or the use of balancing rights.

As to Cold Year requirements, Mr. Emmrich stated in his testimony that SoCalGas would look at obtaining firm interstate pipeline capacity if the winter weather is forecasted to be cold and thereby meet Cold Year requirements with firm interstate capacity. However, given the current excess pipeline delivery capacity into the SoCalGas and SDG&E system, border or citygate purchases also appear to be highly reliable and therefore should meet the Commission requirement that adequate gas is made available to meet core Cold Year winter requirements.

QUESTION 3:

In his Testimony, p. 27, Mr. Emmrich states that “the core should be able to secure 150 MMcfd of border and/or citygate supplies to meet core requirements when projected to be required, without entering into long-term commitments for the incremental capacity that may result in unnecessary additional costs for the core.”  Please provide all cost analyses conducted to support the proposal to rely on 150 MMcfd of incremental interstate capacity or border supplies to meet core winter demand, versus relying on withdrawals from storage.  Please provide workpapers supporting the analyses.

RESPONSE 3:

There was no cost analysis done to support this proposal because it is a reliability criteria-based proposal. SoCalGas firmly believes that 150 MMcfd of incremental interstate capacity or border supplies to meet core winter demand will be available to meet core requirements because on a core 1-in-35 Peak Day noncore customers will be curtailed making gas and pipeline capacity available to the core.