QUESTION 1:

Reference:  Bisi Rebuttal Testimony at pp. 6-7 (OFOs/line pack):  Please respond to the following questions:

a.  For which market (customer) segment(s) does SoCalGas/SDG&E provide “hourly” balancing with SoCalGas' pack and draft capability?

b.  Please indicate the proportionate share of pack and draft capability that is used by each market (customer) segment for hourly balancing.

c.  Please explain whether, and if so why, SoCalGas/SDG&E use all of the pack and draft capability for hourly balancing.

d.  What actions do SoCalGas/SDG&E take to manage hour-to-hour variations in system operating pressure?

e.  Please provide the hour-by-hour linepack on SoCalGas' system for each hour,  each day during the year 2008.

RESPONSE 1:

- SoCalGas and SDG&E do not provide an “hourly” balancing service to its customers.  Rather, SoCalGas/SDG&E uses its linepack capacity to manage the changes in system-wide levels of demand and supply.

- SoCalGas/SDG&E does not have this data.

- SoCalGas/SDG&E has used all of its pack and draft capacity over the course of an operating day in order to meet changes in customer demand that exceeded or fell short of the level of available supply.

- SoCalGas/SDG&E will utilize all transmission assets available to fulfill its commitment and obligation to provide safe, reliable service and maintain system operating pressures within acceptable ranges.  This includes managing its linepack capacity, using its storage fields, and operating its transmission facilities (compressor stations, valve stations, etc.).  As explained in SoCalGas/SDG&E’s response to question 4.3 of SCGC’s 29th data request, if SoCalGas/SDG&E is faced with a situation where the system is at maximum operating pressures and linepack levels, movement of gas supply in the transmission system will stop, impacting our ability to receive supply from interstate pipelines and local producers, and gas will vent to atmosphere through relief valves.  Furthermore, aside from remaining on maximum injection, there is no means for SoCalGas/SDG&E to correct the situation.  Demand must increase sufficiently to draw down the level of linepack before normal operations can resume.  As SoCalGas/SDG&E responded to SCGC, this situation is dangerous, wasteful, costly, environmentally unsound, and irresponsible.

- The requested data for the SoCalGas/SDG&E system is attached; units for linepack are in MMCF.   The Gas Control department strives to operate the system such that there is no net change to the level of system linepack at the end of an operating day.  However, since the level of system linepack is a function of system demand and available supply, an operating day may actually end in a net pack or net draft position.  Furthermore, whether the level of linepack at the beginning of the operating day is sufficient to maintain system reliability is dependent upon the anticipated level of demand and available supply.

QUESTION 2:

Reference:  Bisi Rebuttal Testimony at pp. 1-4 (OFOs/demand forecast):  Please respond to the following questions:

a.  Please describe the methodology for determining "Forecasted Send Out"  in the OFO calculation  for the period April 1, 2003 through and including October 1, 2008.

b.  Please describe the  methodology for determining "Forecasted Send Out"  in the OFO calculation  for the period October 2, 2008 to the present.

c.  Please describe any and all changes in the determination of "Forecasted Send Out" in the OFO calculation beginning October 2, 2008.

d.  Please describe any other changes that have been made in the determination of “Forecasted Send Out” in the OFO calculation at any time from April 1, 2003 to the present.

RESPONSE 2:

- The methodology for determining an OFO condition has remained unchanged.  Prior to October 2, 2008, SoCalGas included the injection capacity and the demand forecast together as the “System Capacity” on the Envoy OFO Calculation screen, although the demand forecast and injection capacity were shown separately on the Daily Operations screen.

- Please refer to Response 2a.

- Please refer to Response 2a.

- No other changes have been made.

QUESTION 3:

For the period January 1, 2000 through and including March 31, 2003, for each nomination cycle, provide all the input data for the OFO calculation:  Forecasted Send Out, Injection Capacity, Off-System Nominations, and Latest Scheduled Quantity.

RESPONSE 3:

As indicated on the Envoy OFO Archive screen, OFO calculation data prior to March 2003 is not available.