Engineered calculations in the Southern California Gas (SCG) Local Business Energy Efficiency Program (BEEP) are based upon the following 6 steps:

- An audit of all of the natural gas equipment at a facility generates an inventory list that includes end-use specific information.

- That data is entered into SCG’s information technologies system (MAS) for analysis.

- SCG uses its Load Balance Tool to properly disaggregate and allocate the facilities total natural gas usage to each piece of gas using equipment at the facility, based on the audit inventory data.  The Load Balance Tool has pre engineered energy utilization values for each piece of equipment based on previous audits and name plate data.  After accounting for any metered equipment, the total gas usage is modeled for the facility.

- Once the Load Balance Model estimates the meter level load, the individual end-use estimates are then calibrated to match actual gas meter data for a study period. (Usually the previous 12 to 48 months).

- Given the above, Load Balance Model allocates a portion of the facility’s actual historical natural gas usage to the equipment identified for an energy efficiency retrofit (i.e., base usage).

- Using that data from Step 5, a second set of end-use specific tools are used to model the energy savings. SCG utilizes the following end-use specific energy savings modeling tools: a) Heat Recovery Tool; b) Furnace Tool; c) Incinerator/ Thermal Oxidizer Tool; and d)  Insulation & Pipe Wrap Tool.  Each tool uses customer/site specific data along with enhancement features to simulate the savings associated with the retrofit.