The savings for the Water Saving Kit or Therm Kits are based on field work done by ASW Engineering.  The data from their site visits is included in a Excel file entitled “SDGE  SCG field data and sdge-Socal analysis.xls”.  SDG&E/SoCal gas data were put into a single file and a single set of savings values were computed for each of three (3) measures.  The measures are 1.5 g.p.m. showerheads, 1.5 g.p.m. kitchen faucet aerators, and 1.0 g.p.m. lavatory faucet aerators.

The final savings values are based on omitting the values that are greater than and less than 1 standard deviation.  This was more conservative than the values from both the unrestricted sample and the restricted sample using the middle 80% of values ranked by savings.

The results are listed in the following colored tabs: “Showerheads”, “Kitchen” and “Lavatory”.