## BEEP 2006 IMC Data - Custom
PROJ_ID | SITE_NBR | MSR_NBR | PGM_CD | PROJ_NAME | MSR_DESC | CALC_SV_THERM | GR_SV_THERM | CUST_CST | IMC_per_Therm | MSR_QTY | NEW_SZ | TOT_NEW_SZ | NEW_SZ_TYPE | eets_measure_code | THERM_SV_PER_UNIT | EXAN_SV_THERM | dsm_appl | MSR_INCNTV | EETS_MSR_QTY | EETS_NEW_SZ | EETS_NEW_SZ_TYPE | e_SVGS_CALC_TYP | expected_install_date | close_date | equip_type | equip_desc | equip_use_code | replacement_part | MFR_NM | MDL_NBR | SER_NBR | cust_no | SEQ_NO | program_id | equip_input | sq_feet | surface_area | MSR_CMNT
3018 | 6184 | 1 | NRF4 | Process Equipment Replacement (PER) | Oven Replacement | 14435 | 14435 | 230500 | 15.9681 | 1 | 2000 | 2000 | MBTUH | COOK55 | 7.2175 | 1 | tp1ryb6184 | 11548 | 1 | 2000 | MBTUH | 7 | 08/15/06 | 12/04/06 | OVEN | DIRECT FIRED | 579 |  | IPE | 4503-CO |  | 245790 | 6513 | 215 | 0 | 0 | 0 | EQUIP_TYPE=OVEN, EQUIP_DESC=DIRECT FIRED, REPLACEMENT_PART=
3018 | 5535 | 1 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 3354 | 3354 | 86693 |  | 1 | 150 | 150 | MBTUH | HEAT13 | 22.36 | 1 | tpmaq5535 | 2683.2 | 1 | 150 | MBTUH | 0 | 05/31/06 | 06/26/06 | PRIME MOVER | NATURAL GAS ENGINES | 620 |  | WAUKESHA MOTOR CO. | F1905GRU | 198253 | 320130 | 5817 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=NATURAL GAS ENGINES, REPLACEMENT_PART=
3018 | 5544 | 1 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 908 | 908 | 2331.06 |  | 1 | 40 | 40 | MBTUH | HEAT13 | 22.7 | 1 | TP7TXK5544 | 699.318 | 1 | 40 | MBTUH | 0 | 06/13/06 | 09/15/06 | PRIME MOVER | NATURAL GAS ENGINES | 627 |  | OTHER | GM 350 | NA | 514647 | 5826 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=NATURAL GAS ENGINES, REPLACEMENT_PART=
3018 | 5555 | 1 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 1669 | 1669 | 7211.81 |  | 1 | 125 | 125 | MBTUH | HEAT13 | 13.352 | 1 | TPFHM5555 | 1335.2 | 1 | 125 | MBTUH | 0 | 06/08/06 | 10/16/06 | PRIME MOVER | NATURAL GAS ENGINES | 620 |  | CUMINS SERV.& SALES | G-12 | 25227199 | 848544 | 5837 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=NATURAL GAS ENGINES, REPLACEMENT_PART=
3018 | 5555 | 2 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 0 | 0 | 1 |  | 1 | 167 | 167 | MBTUH | HEAT13 | 0 | 1 | TPFHM5555 | 0 | 1 | 167 | MBTUH | 0 | 06/08/06 | 10/16/06 | PRIME MOVER | Natural Gas Engine + Pump | 627 |  | CUMINS SERV.& SALES | G-12 | 25227199 | 848544 | 5837 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=Natural Gas Engine + Pump, REPLACEMENT_PART=
3018 | 5556 | 1 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 3092 | 3092 | 7416 |  | 1 | 150 | 150 | MBTUH | HEAT13 | 20.6133 | 1 | TPFHM5556 | 2224.8 | 1 | 150 | MBTUH | 0 | 06/14/06 | 10/16/06 | PRIME MOVER | NATURAL GAS ENGINE GEN SE | 620 |  | CUMINS SERV.& SALES | GTA 855 | 25289347 | 759871 | 5838 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=NATURAL GAS ENGINE GEN SE, REPLACEMENT_PART=
3018 | 5556 | 2 | NRF4 | Process Equipment Replacement (PER) | Engine Rebuild/Replacement | 0 | 0 | 1 |  | 1 | 150 | 150 | MBTUH | HEAT13 | 0 | 1 | TPFHM5556 | 0 | 1 | 150 | MBTUH | 0 | 06/14/06 | 10/16/06 | PRIME MOVER | PUMP - ENGINE DRIVEN | 627 |  | CUMINS SERV.& SALES | GTA 855 | NA | 759871 | 5838 | 204 | 0 | 0 | 0 | EQUIP_TYPE=PRIME MOVER, EQUIP_DESC=PUMP - ENGINE DRIVEN, REPLACEMENT_PART=
[7 empty] | 9023 | 103653.87 | 11.4877
3018 | 5534 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 9815 | 9815 | 5500 |  | 1 | 19937 | 19937 | MBTUH | HEAT12 | 0.4923 | 1 | tp2mtw5534 | 1650 | 1 | 19937 | MBTUH | 0 | 09/15/06 | 10/13/06 | BOILER | H.P. WATER TUBE | 56 |  | BABCOCK AND WILCOX | 20000 lbs/hr. | N/A | 88123 | 5816 | 213 | 19937 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=H.P. WATER TUBE, REPLACEMENT_PART=
3018 | 5551 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 1405 | 1405 | 1630 |  | 1 | 627 | 627 | MBTUH | HEAT12 | 2.2408 | 1 | tp1kxa5551 | 489 | 1 | 627 | MBTUH | 0 | 08/21/06 | 08/21/06 | BOILER | Steam Boiler | 56 |  | PARKER BOILER MFG. | 15 | 41041 | 382 | 5833 | 213 | 627 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 5551 | 2 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 14076 | 14076 | 6392 |  | 2 | 1995 | 3990 | MBTUH | HEAT12 | 3.5278 | 2 | tp1kxa5551 | 1917.6 | 2 | 1995 | MBTUH | 0 | 08/21/06 | 08/21/06 | BOILER | Steam Boiler | 56 |  | PARKER BOILER MFG. | 104-50(48) | 50149, 50159 | 382 | 5833 | 213 | 1995 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 5559 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 18947 | 18947 | 43436 |  | 1 | 1600 | 1600 | MBTUH | HEAT12 | 11.8419 | 1 | TP6gxh5559 | 13030.8 | 1 | 1600 | MBTUH | 0 | 01/31/06 | 08/31/06 | INCINERATOR | FUME | 350 |  | TELLKAMP SYSTEMS | NA | NA | 357759 | 5841 | 213 | 1600 | 0 | 0 | EQUIP_TYPE=INCINERATOR, EQUIP_DESC=FUME, REPLACEMENT_PART=
3018 | 5565 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 339670 | 339670 | 51530 |  | 1 | 150000 | 150000 | MBTUH | HEAT12 | 2.2645 | 150000 | TPaea5565 | 15459 | 1 | 150000 | MBTUH | 0 | 03/15/06 | 04/14/06 | DRYER | TUMBLER | 107 | Burner Replacement | ATSTEC | Whisper Jet 150U-G | NA | 367401 | 5847 | 213 | 150000 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUMBLER, REPLACEMENT_PART=Burner Replacement
3018 | 5702 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 3304 | 3304 | 4510 |  | 2 | 4000 | 8000 | MBTUH | HEAT12 | 0.413 | 2 | tp1ryb5702 | 1353 | 2 | 4000 | MBTUH | 0 | 10/21/06 | 11/27/06 | OVEN | CONVEYOR | 567 |  | UNKNOWN | Insulating interior oven |  | 651508 | 6000 | 213 | 4000 | 0 | 0 | EQUIP_TYPE=OVEN, EQUIP_DESC=CONVEYOR, REPLACEMENT_PART=
3018 | 5716 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 110839 | 110839 | 76150 |  | 1 | 21000 | 21000 | MBTUH | HEAT12 | 5.278 | 1 | tponh5716 | 22845 | 1 | 21000 | MBTUH | 0 | 08/24/06 | 09/13/06 | BOILER | Steam Boiler | 56 |  | CLEAVER BROOKS CO. | CB 266-500 | 1-49844 | 887213 | 6018 | 213 | 21000 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 5729 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 19201 | 19201 | 22400 |  | 1 | 3200 | 3200 | MBTUH | HEAT12 | 6.0003 | 1 | tpmaq5729 | 6720 | 1 | 3200 | MBTUH | 0 | 11/01/06 | 11/13/06 | OVEN | CONVEYOR | 567 |  | MAXON CORP. | Cyclomax | n/a | 4806 | 6031 | 213 | 3200 | 0 | 0 | EQUIP_TYPE=OVEN, EQUIP_DESC=CONVEYOR, REPLACEMENT_PART=
3018 | 5759 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 40020 | 40020 | 86367 |  | 1 | 12553 | 12553 | MBTUH | HEAT12 | 3.1881 | 1 | tpvxw5759 | 25000 | 1 | 12553 | MBTUH | 0 | 10/31/06 | 11/21/06 | BOILER | H.P. WATER TUBE | 56 |  | SELLERS | 300-HP-SN-LN 390 | 100841 | 73753 | 6066 | 213 | 12553 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=H.P. WATER TUBE, REPLACEMENT_PART=
3018 | 5803 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 24378 | 24378 | 6081.24 |  | 3 | 5985 | 17955 | MBTUH | HEAT12 | 1.3577 | 3 | tponh5803 | 1824.372 | 3 | 5985 | MBTUH | 0 | 07/18/06 | 08/29/06 | BOILER | Steam Boiler | 56 |  | HURST BOILER CO | 02-02263 | 250-150-18 | 112554 | 6113 | 213 | 5985 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 5816 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 29482 | 29482 | 22000 |  | 1 | 4850 | 4850 | MBTUH | HEAT12 | 6.0788 | 1 | tpsda5816 | 6600 | 1 | 4850 | MBTUH | 0 | 08/23/06 | 09/27/06 | WASHER | OZONE INFUSION | 1009 |  | UNKNOWN | NT-350 |  | 925839 | 6127 | 213 | 4850 | 0 | 0 | EQUIP_TYPE=WASHER, EQUIP_DESC=OZONE INFUSION, REPLACEMENT_PART=
3018 | 5838 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 12055 | 12055 | 3993.17 |  | 1 | 600 | 600 | MBTUH | HEAT12 | 20.0917 | 1 | tpmaq5838 | 1197.951 | 1 | 600 | MBTUH | 0 | 09/22/06 | 12/05/06 | TANK | SOLN.- UNDER FIRED | 710 |  | MAXON CORP. | N/A | N/A | 149514 | 6149 | 213 | 600 | 0 | 0 | EQUIP_TYPE=TANK, EQUIP_DESC=SOLN.- UNDER FIRED, REPLACEMENT_PART=
3018 | 5865 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 10070 | 10070 | 6915 |  | 1 | 1600 | 1600 | MBTUH | HEAT12 | 6.2938 | 1 | tp8mxt5865 | 2074.5 | 1 | 1600 | MBTUH | 0 | 10/10/06 | 10/30/06 | CREMATORY | Chamber | 1019 |  | AMERICAN CREMATORY | Unknown | Unknown | 331522 | 6178 | 213 | 1600 | 0 | 0 | EQUIP_TYPE=CREMATORY, EQUIP_DESC=Chamber, REPLACEMENT_PART=
3018 | 5870 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 65654 | 65654 | 108500 |  | 1 | 45000 | 45000 | MBTUH | HEAT12 | 1.459 | 1 | tp5exa5870 | 25000 | 1 | 45000 | MBTUH | 0 | 12/11/06 | 12/21/06 | BOILER | H.P. WATER TUBE | 56 |  | KEELER | DS1010 | 14524-2 | 457131 | 6184 | 213 | 45000 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=H.P. WATER TUBE, REPLACEMENT_PART=
3018 | 5887 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 13585 | 13585 | 11923 |  | 1 | 9450 | 9450 | MBTUH | HEAT12 | 1.4376 | 1 | tpfhm5887 | 3576.9 | 1 | 9450 | MBTUH | 0 | 10/05/06 | 12/19/06 | BOILER | Steam Boiler | 56 |  | DIXON BOILER WORKS | SK-10 | 999 | 34664 | 6202 | 213 | 9450 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 6180 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 3294 | 3294 | 27000 |  | 3 | 135 | 405 | MBTUH | HEAT12 | 8.1333 | 3 | raleshir6180 | 2635.2 | 3 | 135 | MBTUH | 0 | 12/07/06 | 12/21/06 | OVEN | CONVEYOR | 572 |  | MIDDLEBY-MARSHALL | na | na | 1955465 | 6509 | 213 | 135 | 0 | 0 | EQUIP_TYPE=OVEN, EQUIP_DESC=CONVEYOR, REPLACEMENT_PART=
3018 | 6286 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 6037 | 6037 | 26380 |  | 1 | 8300 | 8300 | MBTUH | HEAT12 | 0.72735 | 1 | tpfhm6286 | 4829.6 | 1 | 8300 | MBTUH | 0 | 11/20/06 | 12/19/06 | BOILER | H.P. WATER TUBE | 56 |  | Miura | LX 200 | 999 | 192233 | 6619 | 213 | 8300 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=H.P. WATER TUBE, REPLACEMENT_PART=
3018 | 6335 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 165346 | 165346 | 138563 |  | 1 | 203414 | 203414 | MBTUH | HEAT12 | 0.81285 | 1 | tpjym6335 | 25000 | 1 | 203414 | MBTUH | 0 | 12/28/06 | 12/28/06 | BOILER | H.P. WATER TUBE | 56 |  | COMBUSTION ENGRING | 30-A-15-type-A | NA | 1941786 | 6669 | 213 | 203414 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=H.P. WATER TUBE, REPLACEMENT_PART=
3018 | 6526 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 100476 | 100476 | 85828.14 |  | 1 | 21000 | 21000 | MBTUH | HEAT12 | 4.7846 | 1 | tp3sxp6526 | 25000 | 1 | 21000 | MBTUH | 0 | 12/20/06 | 12/26/06 | BOILER | Steam Boiler | 56 |  | CLAYTON MFG. | N/A | N/A | 5214 | 6873 | 213 | 21000 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=Steam Boiler, REPLACEMENT_PART=
3018 | 6654 | 1 | NRF4 | Custom Process Improvement (CPI) | Equip. Modernization | 24539 | 24539 | 159311 |  | 1 | 4500 | 4500 | MBTUH | HEAT12 | 5.4531 | 1 | tpsda6654 | 19631.2 | 1 | 4500 | MBTUH | 0 | 12/01/06 | 12/27/06 | DRYER | OVEN | 102 |  | UNKNOWN | a | 1 | 702039 | 7034 | 213 | 4500 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=OVEN, REPLACEMENT_PART=
[7 empty] | 1012193 | 894409.55 | 0.88364
3018 | 5503 | 1 | NRF4 | Process Equipment Replacement (PER) | Furnace Replacement | 8112 | 8112 | 56411 |  | 1 | 960 | 960 | MBTUH | HVAC135 | 8.45 | 1 | tpmzp5503 | 15934.4 | 1 | 960 | MBTUH | 0 | 07/05/06 | 08/01/06 | FURNACE | BATCH | 170 |  | BEAVERMATIC | 36x48x26GIT | 306-45 | 5174 | 5785 | 229 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=BATCH, REPLACEMENT_PART=
3018 | 5558 | 1 | NRF4 | Process Equipment Replacement (PER) | Furnace Replacement | 31910 | 31910 | 135800 |  | 1 | 3000 | 3000 | MBTUH | HVAC135 | 10.6367 | 1 | TP6gxh5558 | 25000 | 1 | 3000 | MBTUH | 0 | 05/19/06 | 09/15/06 | FURNACE | BILLET- CONTINUOUS | 183 |  | BELCO INDUSTRIES | 57-10-2-PR15 | NA | 577874 | 5840 | 229 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=BILLET- CONTINUOUS, REPLACEMENT_PART=
3018 | 5681 | 1 | NRF4 | Process Equipment Replacement (PER) | Furnace Replacement | 9253 | 9253 | 38500 |  | 1 | 2500 | 2500 | MBTUH | HVAC135 | 3.7012 | 1 | raleshir5681 | 7402.4 | 1 | 2500 | MBTUH | 0 | 10/31/06 | 11/07/06 | FURNACE | CRUCIBLE | 183 |  | Thermtronix | GS-2000 | 061881 | 20874 | 5979 | 229 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=CRUCIBLE, REPLACEMENT_PART=
3018 | 5681 | 2 | NRF4 | Process Equipment Replacement (PER) | Furnace Replacement | 9253 | 9253 | 38500 |  | 1 | 2500 | 2500 | MBTUH | HVAC135 | 3.7012 | 1 | raleshir5681 | 7402.4 | 1 | 2500 | MBTUH | 0 | 10/31/06 | 11/07/06 | FURNACE | CRUCIBLE | 183 |  | Thermtronix | GS-2000 | 061881 | 20874 | 5979 | 229 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=CRUCIBLE, REPLACEMENT_PART=
[7 empty] | 58528 | 269211 | 4.5997
3018 | 5796 | 1 | NRF4 | Grant | GPM | 186366 | 186366 | 558291 |  | 1 | 1 | 1 | MBTUH | GRANT1 | 0.52 | 0.52 | myee15796 | 93183 | 1 | 1 | MBTUH | 0 | 07/01/06 | 12/13/06 | FURNACE | FURNACE | 1 |  | Megtec | Cleanswitch | 112545 | 795110 | 6106 | 279 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=FURNACE, REPLACEMENT_PART=
3018 | 5798 | 1 | NRF4 | Grant | GPM | 145381 | 145381 | 558291 |  | 1 | 1 | 1 | MBTUH | GRANT1 | 0.52 | 0.52 | myee15798 | 72690.5 | 1 | 1 | MBTUH | 0 | 07/06/06 | 12/13/06 | FURNACE | FURNACE | 1 |  | OTHER | TR2590C | 1090-05 | 795122 | 6108 | 279 | 0 | 0 | 0 | EQUIP_TYPE=FURNACE, EQUIP_DESC=FURNACE, REPLACEMENT_PART=
3018 | 6728 | 1 | NRF4 | Grant | GPM | 487584 | 487584 | 3200000 |  | 1 | 1 | 1 | MBTUH | GRANT1 | 0.52 | 0.52 | tp8sxf6728 | 243792 | 1 | 1 | MBTUH | 0 | 07/31/06 | 12/21/06 | BOILER | WATER TUBE | 56 |  | BABCOCK AND WILCOX | FM 120-124 | 86-B-9002 | 336641 | 7113 | 279 | 0 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=WATER TUBE, REPLACEMENT_PART=
3018 | 6744 | 1 | NRF4 | Grant | GPM | 286680 | 286680 | 785000 |  | 1 | 1 | 1 | MBTUH | GRANT1 | 0.52 | 0.52 | tppdt6744 | 143340 | 1 | 1 | MBTUH | 0 | 09/01/06 | 12/21/06 | BOILER | WATER TUBE | 56 |  | OTHER | Custom Construction | N/A | 754916 | 7130 | 279 | 0 | 0 | 0 | EQUIP_TYPE=BOILER, EQUIP_DESC=WATER TUBE, REPLACEMENT_PART=
[7 empty] | 1106011 | 5101582 | 4.6126
3018 | 5530 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 38498 | 38498 | 27156 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 38498 | 1 | tp2mtw5530 | 8146.8 | 1 | 1 | MBTUH | 0 | 09/15/06 | 10/13/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | MURRAY | Kentube 611141 | N/A | 88103 | 5812 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5531 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 39535 | 39535 | 29961 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 39535 | 1 | tp2mtw5531 | 8988.3 | 1 | 1 | MBTUH | 0 | 09/15/06 | 10/13/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | BABCOCK AND WILCOX | Kentube 711141 | N/A | 88103 | 5813 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5533 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 27348 | 27348 | 14250 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 27348 | 1 | tp2mtw5533 | 4275 | 1 | 1 | MBTUH | 0 | 09/15/06 | 10/13/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | BABCOCK AND WILCOX | Kentube 410941 | N/A | 88123 | 5815 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5730 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 40680 | 40680 | 85800 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 40680 | 1 | tpmaq5730 | 25000 | 1 | 1 | MBTUH | 0 | 06/30/06 | 07/25/06 | HEAT RECOVERY | HEAT EXCHANGERS | 300 |  | UNKNOWN | n/a | n/a | 825760 | 6032 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5800 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 55491 | 55491 | 31663.13 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 55491 | 1 | tp2kjp5800 | 9498.939 | 1 | 1 | MBTUH | 0 | 09/12/06 | 10/31/06 | HEAT RECOVERY | HEAT EXCHANGERS | 300 |  | Kemco | Economizer |  | 710151 | 6110 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5810 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 32839 | 32839 | 27316 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 32839 | 1 | tpfhm5810 | 8194.8 | 1 | 1 | MBTUH | 0 | 12/01/06 | 12/20/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | W. K. Crone | L72 | 0623.0426 | 16410 | 6121 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5811 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 22282 | 22282 | 16393 |  | 1 | 1 | 1 | MBTUH | HEAT10 | 22282 | 1 | tpfhm5811 | 4917.9 | 1 | 1 | MBTUH | 0 | 12/01/06 | 12/20/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | W. K. Crone | 999 | 0623.0427 | 16405 | 6122 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
3018 | 5850 | 1 | NRF4 | Custom Process Improvement (CPI) | Heat Recovery | 10147 | 10147 | 20848.29 |  | 3 | 1 | 3 | MBTUH | HEAT10 | 3382.3333 | 3 | tpdjc5850 | 6254.487 | 3 | 1 | MBTUH | 0 | 12/01/06 | 12/13/06 | HEAT RECOVERY | HEAT EXCHANGERS | 304 |  | RAYPAK | CHX 992/1000-10 | 0609256130,131,132 | 747306 | 6163 | 212 | 0 | 0 | 0 | EQUIP_TYPE=HEAT RECOVERY, EQUIP_DESC=HEAT EXCHANGERS, REPLACEMENT_PART=
[7 empty] | 266820 | 253387.42 | 0.94966
3018 | 5504 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 3379 | 3379 | 26207 |  | 1 | 803 | 803 | MBTUH | HEAT11 | 4.208 | 803 | tp1ryb5504 | 2703.2 | 1 | 803 | MBTUH | 0 | 04/25/06 | 05/11/06 | MISCELLANEOUS | FLAT WORK IRONER | 513 |  | LEONARD | IM96GH | 121405 | 759009 | 5786 | 214 | 803 | 0 | 0 | EQUIP_TYPE=MISCELLANEOUS, EQUIP_DESC=FLAT WORK IRONER, REPLACEMENT_PART=
3018 | 5521 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 1389 | 1389 | 6900 |  | 1 | 150 | 150 | MBTUH | HEAT11 | 9.26 | 1 | tpsda5521 | 1111.2 | 1 | 150 | MBTUH | 0 | 06/16/06 | 07/18/06 | DRYER | TUMBLER | 116 |  | CISSELL | HD 150 | 2504062607 | 925839 | 5803 | 214 | 150 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUMBLER, REPLACEMENT_PART=
3018 | 5524 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 22097 | 22097 | 106399 |  | 1 | 1500 | 1500 | MBTUH | HEAT11 | 14.7313 | 1 | tp4cmg5524 | 17677.6 | 1 | 1500 | MBTUH | 0 | 07/24/06 | 09/22/06 | DRYER | TUNNEL | 116 |  | LEONARD | VTP-24 | 050306 | 267804 | 5806 | 214 | 1500 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUNNEL, REPLACEMENT_PART=
3018 | 5550 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 4502 | 4502 | 29030 |  | 2 | 425 | 850 | MBTUH | HEAT11 | 5.2965 | 2 | tpsda5550 | 3601.6 | 2 | 425 | MBTUH | 0 | 07/14/06 | 07/25/06 | DRYER | TUMBLER | 116 |  | WASHEX | FL623 |  | 238140 | 5832 | 214 | 425 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUMBLER, REPLACEMENT_PART=
3018 | 5668 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 17822 | 17822 | 76000 |  | 1 | 1950 | 1950 | MBTUH | HEAT11 | 9.1395 | 1 | tp2sad5668 | 14257.6 | 1 | 1950 | MBTUH | 0 | 07/14/06 | 09/25/06 | AIR CONDITIONING | Dir Fire Dbl Absorp | 50 |  | CONSOLIDATED-CLM | 194GPLA | 060701 | 511915 | 5966 | 214 | 1950 | 0 | 0 | EQUIP_TYPE=AIR CONDITIONING, EQUIP_DESC=Dir Fire Dbl Absorp, REPLACEMENT_PART=
3018 | 5713 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 27758 | 27758 | 71259.5 |  | 1 | 1950 | 1950 | MBTUH | HEAT11 | 14.2349 | 1 | tpvxw5713 | 21377.85 | 1 | 1950 | MBTUH | 0 | 08/21/06 | 11/20/06 | DRYER | TUMBLER | 116 |  | CONSOLIDATED-CLM | 264GPLA | 060803 | 250652 | 6015 | 214 | 1950 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUMBLER, REPLACEMENT_PART=
3018 | 5778 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 8221 | 8221 | 24598.6 |  | 1 | 900 | 900 | MBTUH | HEAT11 | 9.1344 | 1 | tp1dwf5778 | 6576.8 | 1 | 900 | MBTUH | 0 | 11/28/06 | 12/15/06 | MISCELLANEOUS | MULTI-BURNER | 261 |  | ECLIPSE | RM075 | TBD | 163148 | 6088 | 214 | 900 | 0 | 0 | EQUIP_TYPE=MISCELLANEOUS, EQUIP_DESC=MULTI-BURNER, REPLACEMENT_PART=
3018 | 6138 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 31858 | 31858 | 516000 |  | 1 | 4800 | 4800 | MBTUH | HEAT11 | 6.6371 | 1 | tp2kjp6138 | 25000 | 1 | 4800 | MBTUH | 0 | 12/04/06 | 12/21/06 | DRYER | TUNNEL | 114 |  | EHWHA | 8CH-2X2BM-DGH-PHR | NA | 695546 | 6467 | 214 | 4800 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUNNEL, REPLACEMENT_PART=
3018 | 6188 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 51135 | 51135 | 470000 |  | 1 | 6100 | 6100 | MBTUH | HEAT11 | 8.3828 | 1 | tp2kjp6188 | 25000 | 1 | 6100 | MBTUH | 0 | 11/10/06 | 12/21/06 | DRYER | TUNNEL | 121 |  | EHWHA | 10CH-2x2BM-DGH-PHR | na | 55303 | 6517 | 214 | 6100 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=TUNNEL, REPLACEMENT_PART=
3018 | 6524 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 20201 | 20201 | 213842 |  | 1 | 1100 | 1100 | MBTUH | HEAT11 | 18.3645 | 1 | tp1ryb6524 | 13452 | 1 | 1100 | MBTUH | 0 | 08/24/06 | 12/07/06 | WASHER | SPRAY | 820 |  | IPE | 4503-W |  | 245790 | 6871 | 214 | 1100 | 0 | 0 | EQUIP_TYPE=WASHER, EQUIP_DESC=SPRAY, REPLACEMENT_PART=
3018 | 6781 | 1 | NRF4 | Process Equipment Replacement (PER) | Misc. Process Equip. Replacement | 100801 | 100801 | 40763.71 |  | 1 | 150000 | 150000 | MBTUH | HEAT11 | 0.67201 | 1 | tpaea6781 | 12229.113 | 1 | 150000 | MBTUH | 0 | 11/15/06 | 12/29/06 | DRYER | ROTARY | 107 |  | ATSTEC | WJ-150U-G |  | 415571 | 7213 | 214 | 150000 | 0 | 0 | EQUIP_TYPE=DRYER, EQUIP_DESC=ROTARY, REPLACEMENT_PART=
[7 empty] | 289163 | 1580999.81 | 5.4675