Question 01:	Create a hybrid scenario with daily gas meter reads instead of hourly.  Create output tables in the same format that was used in the Workpapers for Chapter II (Scenario Comparisons – Undiscounted.xls).

SoCalGas Response 01:

For clarification purposes, SoCalGas distinguishes “meter reads” from “interval usage”.  A meter read is the act of transmitting the data from a meter to SoCalGas.  Today meter reads are done monthly (monthly bill cycle).  With AMI, gas meters with communication modules can be read daily or more frequently.  The AMI technologies being evaluated by SoCalGas provide multiple reads per day.  Therefore, number of meter reads is typically defined as the “frequency” transmission of meter data to SoCalGas (monthly, daily, or multiple times per day).  DRA’s data request for “daily” versus “hourly” is focused on the “interval” of measurement of gas usage, e.g. hourly gas usage or daily gas usage.  Thus, AMI technology can provide daily reads of hourly interval usage.

The attached spreadsheet includes the undiscounted cost and benefit output tables for the hybrid and stand alone scenarios, comparing the results assuming meter reads with daily interval usage to meter reads with hourly interval usage.  The tables are comparable to those presented in Workpapers for Chapter II, Section I. A. Hybrid vs. Stand Alone Scenario Comparison, pages 1and 2.

Response Prepared by:  Ed Fong, Kelly Hart, Kerry Johnson, Chris Olmsted and Jose Pech

Question 02:	Create a standalone scenario with daily gas meter reads instead of hourly.  Create output tables in the same format that was used in the Workpapers for Chapter II (Scenario Comparisons – Undiscounted.xls).

SoCalGas Response 02:

See response to Question 01.

Question 03:	For the cost differences between hourly and daily gas meter reads in both scenarios, delineate the source of all cost differences, plus provide the cost reference numbers (as you have for the previous scenarios).

SoCalGas Response 03:

See attachment in response to Question 01.  The attachment includes worksheets containing the undiscounted cost and benefit line item details for the hybrid and stand alone scenarios, with results assuming meter reads with hourly interval usage and meter reads with daily interval usage.  Reference numbers that change due to the cost and benefit differences in meter reads with hourly versus daily interval usage are shaded in yellow.

Following is an explanation of changes for each scenario:

Stand Alone Scenario -

- Information Technology (Chris Olmsted):  The differences in costs for the IT/MDMS estimates are limited to hourly versus daily reads.  These apply in both the hybrid and stand alone scenarios.  The increase in costs for the hourly solution is related to infrastructure items – servers, storage, software licenses and labor to implement and support these items.  These changes have been identified in the attached worksheets under Name “Chris Olmsted”, Group “IT”, and reference numbers 21 – 27 and 30 – 31.

- Operational Impacts (Mark Serrano):  The differences in operational benefits and costs associated with hourly versus daily usage data pertains to SoCalGas’ ability, or inability, to assess the hourly rate of gas usage at a meter when customers request service.  Without hourly interval measurements, SoCalGas assumes that it would continue to have customer services field personnel complete Gas-On Turn-On orders.  Should this occur, the benefits associated with discontinuation of this work (both labor and non-labor) would no longer be realized.  Also, there would not be an increase in the drive time per order associated with the decreased volume of work performed by customer services field personnel.  These changes have been identified in the attached worksheets under Name “Jose Pech”, Group “CSF”, and reference numbers 1 - 2, 9, 29, and 44 - 45.

- Contingency (Ed Fong):  The difference is a direct result of the above changes.  These changes have been identified in the attached worksheets under Group “PMO”, Element “C-R”, and reference numbers 1 – 6.

- Terminal Value (Ed Fong):  The difference is a direct result of the above changes.  These changes have been identified in the attached worksheets under Group “PMO”, Element “B-O”, and reference number 0.

Response to Question 3 (Continued)

Hybrid Scenario -

- Information Technology:  Same as in Stand Alone Scenario above.

- Operational Impacts:  Same as in Stand Alone Scenario above.

- Southern California Edison (SCE) network:  The additional hourly usage data drives requires an additional 5,084 (5,352 - 268) cell relay meters.  Associated with the installation of the 5,084 additional cell relay meters is an increase in annual WAN backhaul and annual head-end collection engine software application license and maintenance fees.  These changes have been identified in the attached worksheets under Name “Kerry Johnson”, Group “IT”, and reference numbers 31 - 32.

Note that the cost differences from hourly versus daily usage data may not represent a comprehensive list of all potential cost differences, just the differences in the cost elements itemized in SoCalGas' (non-exhaustive) hybrid scenario analysis.

- Contingency (Ed Fong):  The difference is a direct result of the above changes.  These changes have been identified in the attached worksheets under Group “PMO”, Element “C-R”, and reference numbers 1 – 6.

- Terminal Value (Ed Fong):  The difference is a direct result of the above changes.  These changes have been identified in the attached worksheets under Group “PMO”, Element “B-O”, and reference number 0.

Response Prepared by:  Kelly Hart, Kerry Johnson, Chris Olmsted and Mark Serrano