- Please provide a list of all other gas-only utilities known by SoCalGas to have installed either a) an advanced metering system with two-way communication capability similar to that being proposed in this application or b) a remote meter reading system with one-way communication. If SoCalGas has not investigated AMI or AMR deployed by other gas-only utilities please explain why it has not. If it has investigated the experience of other utilities please include the following information,

  - The year the system went in,

  - The economic justification for the system,

  - The number of meters covered by the system, and

  - Whether the business case analysis justifying the system included other benefits such as gas conservation to justify the project.

SoCalGas Response 01:

Please refer to the table below for gas-only utilities known by SoCalGas to have installed either two-way communication systems similar to that being proposed by SoCalGas or remote one-way communication systems.  SoCalGas’ investigation of deployments at other utilities focused primarily upon gas AMI technology.

SoCalGas is aware that although PG&E is a combination utility, it is implementing a “stand alone” gas AMI system.  There may be other combination utilities within the United States that are also deploying “Stand alone” gas AMI systems unbeknownst to SoCalGas.  SoCalGas visited Baltimore Gas & Electric, a combination utility that was running a pilot test that included two “stand alone” gas AMI technologies.

a.   The following table indicates the year the system was implemented, where known by SoCalGas.  All listed utility implementations were initiated within the last five years.

b.  SoCalGas did not discuss specific business case justifications with these utilities.  Please refer to PG&E Proceeding A.05-06-028 for their “stand alone” gas AMI business case justification.

c.  The number of meters covered by each system is presented in following table.

d.  SoCalGas did not discuss the details of other utility’s business case analyses, nor utility perspectives on gas conservation benefits.

SoCalGas Response 01- Continued:

| Gas Only Utilities with AMI or One-Way Fixed Network AMR |  |  |  |
| --- | --- | --- | --- |
| Utility | Project Start | Currently Installed | Planned Installation |
| Atmos Energy | 2007 | 75,000 | 3,200,000 |
| Energy Services of Pensacola | 2008 | 50,000 | 50,000 |
| Wisconsin Public Service | 2003 | 278,000 | 278,000 |
| Gas / Electric Utilities with AMI or One-Way Fixed Network AMR |  |  |  |
| Company |  | Currently Installed | Planned Installation |
| Pacific Gas & Electric | 2005 | 1,100,000 | 4,100,000 |
| Baltimore Gas & Electric | 2007 | 3,400 | Unknown |
| Alliant Energy | 2008 | 25,000 Gas | 400,000 Gas |
| Montana Dakota | 2006 | 277,000 G&E | 277,000 G&E |
| Gas / Water Utilities with AMI or One-Way Fixed Network AMR |  |  |  |
| Company |  | Currently Installed | Planned Installation |
| Corpus Christi, TX | 2005 | 146,000 (85,000 water & 61,000 gas) | 146,000 |

Response prepared by:  Rick Jefferson

- In Chapter III, SoCalGas states that, for labor and non labor costs SoCal used 2007 expenses as a basis and then escalated those costs to 2008 dollars. Please provide the following information,

  - Are the 2007 costs used for AMI the 2007 forecast costs reported in A. 06-12-010 or are they actual recorded 2007 costs?

  - If SoCalGas used 2007 recorded costs not contained in the A. 06-12-010 application, please provide a table that shows,

    - The 2007 costs reported in the 2008 GRC,

    - The 2007 recorded costs contained in the AMI filing, and

    - The GRC adjustments that take 2007 forecast costs to 2008 test year costs as proposed by SoCalGas in A. 06-12-010.

SoCalGas Response 02:

      - Where SoCalGas used 2007 costs as a basis for estimating costs or benefits, 2007 recorded costs were used.

      - i.-iii.  The following table provides the requested data for the meter reading department which is reported on in its entirety in the SoCalGas AMI filing.  Other activities with associated costs and/or benefits included in the SoCalGas AMI business case (such as customer services field, billing, and customer contact center) are subsumed within various TY 2008 GRC FERC Accounts, and thus not readily reconcilable at that itemized level to the amounts put forth in that proceeding.

Response Prepared by:  Kerry Johnson