QUESTION 1:

Ms. Fung’s testimony, at page 2, line 12 through page 3, line 7, states that 35% of the utilities’ 1-in-10 year peak day end-use demand is served directly off of the backbone transmission system (either through direct connection or distribution systems supplied from backbone transmission) without going through any local transmission lines.  The testimony then assumes that “these regions make up the same percentage of average demand as peak demand.”

- Please provide the actual or forecasted percentage of average demand, in both “normal” and “cold” years, that is served directly off the backbone system without going through any local transmission lines.  If an historical average is used for this purpose, please indicate the years considered in developing the average.

- Please provide a breakdown of the end-use demand served directly off the backbone system without going through any local transmission lines by customer groups, e.g., residential core, non-residential core, noncore C&I, electric generation, wholesale, etc.  Please provide this breakdown for each of 1-in-10 year peak day demand, average “normal” year demand, and average “cold” year demand.

- Please explain the rationale for reassigning a portion of the costs of backbone transmission to the local transmission function.  Given that rationale, why does 1-in-10 year peak demand provide a better measure for that reassignment than average year or cold-year demand?

RESPONSE 1:

- SoCalGas has no forecast or historical data for the percentage of average demand in either “normal” or “cold” years which would be served directly from the backbone transmission system without using the local transmission system.  Data for the 1-in-10 year cold day is available only because that is the demand condition mandated by the Commission for firm noncore service, and SoCalGas’ hydraulic modeling requires this level of detail.  SoCalGas has no business function that would require this level of detail under “normal” or “cold” year throughput.

- This question can only be answered with 1-in-10 year demand.  See 1a.

| Customer Class | 1-in-10 Year Cold Day Demand (MMcfd) |
| --- | --- |
| Core | 1113 |
| Noncore commercial/industrial | 112 |
| Electric generation | 319 |
| EOR | 19 |
| Wholesale | 393 |

Total Local direct off of backbone      1956

- The rationale for reassigning a portion of the costs of backbone transmission to the local transmission function is to accurately represent the costs of the backbone transmission function.  A significant portion of end-use load is either directly connected to backbone transmission, or served from distribution facilities that are supplied directly from backbone transmission.  In other words, some facilities identified as “backbone” also provide a local transmission or redelivery function.

Since SoCalGas’ CPUC-mandated design standard for service from its transmission system to core and noncore customers is the 1-in-10 year cold day, it is more appropriate to use that demand condition to determine the percent reallocation than it would be to use annual average year or cold year demand.

QUESTION 2:

Please provide a map(s) of the Sempra Utilities’ systems in sufficient detail to illustrate the lines that are classified as “backbone” transmission and the lines that are classified as “local” transmission.  Please use highlighting or some equivalent technique to indicate the lines that are classified as backbone.

RESPONSE 2:

See the attached map.

QUESTION 3:

Please provide the number of customers, by class, that are served via direct connection to backbone transmission (not including those served from distribution systems supplied from backbone transmission), and the annual normal-year and cold-year usage of those customers, by class.

RESPONSE 3:

Following are the number of customers, by class, that are served via backbone transmission pipelines which also provide a local transmission function, excluding those customers served from distribution systems supplied by backbone transmission pipeline.  Annual normal-year and cold-year usage of these customers is not available.

| Customer Class | Number |
| --- | --- |
| Core | 0 |
| Noncore commercial/industrial | 0 |
| Electric generation | 9 |
| EOR | 2 |
| Wholesale | 2 |

QUESTION 4:

Pages 17-18 of the application describe several issues that were “considered” by the Utilities’ management in connection with the preparation of this application.  Please provide copies of all documents that were reviewed by management in the course of that consideration.

RESPONSE 4:

Attached are the documents that were reviewed by SoCalGas/SDG&E management related to the FAR Update application.