DATA REQUEST

Southern California Gas Company Test Year 2012 GRC

A.10-12-006

Date:  	February 9, 2011

Responses Due:  February 24, 2011

To:		Ronald van der Leeden

RvanderLeeden@semprautilities.com

(213) 244-2009

- From:		Truman Burns, Project Coordinator

- Donna Fay Bower, Assistant Project Coordinator

- Division of Ratepayer Advocates

505 Van Ness Avenue, Room 4205

San Francisco, CA  94102

Originated by:  	Dao Phan

Phone:	415-703-5249

Email:	dao@cpuc.ca.gov

- Data Request No:  DRA-SCG-040-DAO

- Exhibit Reference:   SCG-5, Engineering

- Subject:	DIMP-Driven Activities, Anodeless Riser Program

- Please provide the following:

- Please state if the Anodeless Riser Program, as discussed on page RKS-43 to page RKS-44, is work that is being planned in addition to the inspections, repairs, and replacements of anodeless risers currently performed by Distribution.  If not, please identify the current and TY cost tracking of this program.

- Is SoCalGas requesting additional expenses for anodeless risers under Distribution? If so, please provide a citation to the testimony.

- With regard to the statement on page RKS-44, “Based on a preliminary analysis, SoCalGas estimates that approximately 15% of the risers will ultimately qualify for replacement, while the remaining units will be effectively mitigated with the Trenton Wax Tape”, please provide the following:

  - A copy of all calculations and supportive documents relied on to determine that 15% of the risers will need to be replaced.

  - The 2005-2010 recorded expenses of mitigating anodeless risers and identify the account used to track these expenses.

  - The number of anodeless risers processed each year from 2005-2010.  Please break down the annual number of anodeless risers repaired versus replaced and include the unit cost of each.

  - When did SoCalGas first begin using the Trenton Wax Tape solution?

  - How did SoCalGas repair anodeless risers before the implementation of the Trenton Wax Tape solution?  Please also provide the unit cost of repair using this solution.

  - Please compare the cost and benefits of using the Trenton Wax Tape method versus the method identified in question 1(e) above.  Please provide copies of any cost-benefit analyses performed by or for SoCalGas.

- SoCalGas states on page RKS-44 that it plans to mitigate the anodeless risers threat over a 7-year period.  Please provide a detailed explanation and include all supportive documents and/or calculations used to determine that this program needs to be completed in 7 years.

- On page 64 of the workpapers, SoCalGas presents a table entitled, “Estimated Repair and Replacement Risers”.  Please provide the following with regard to this table:

  - The 2010 recorded number of inspections, repairs, replacements and the expenses of each as tracked by Distribution and Engineering.  Please also identify the accounts used to track the anodeless riser activities for Distribution and for Engineering.

  - Prior to 2010, did SoCalGas charge the cost of inspecting, repairing and/or replacing anodeless risers to Engineering? If so, please provide the amount(s) and identify the tracking account.

  - On page RKS-44 of the testimony SoCalGas states that it plans to process an average of 193,000 anodeless risers per year.  Yet, on page 64 of the workpapers, SoCalGas shows 9,600 as the inspection rate per year under the “Assumptions” table, and 300,000 inspections and 41,250 replacements under the “Estimated Repair and Replacement risers” table.  Please provide a step by step showing of how the numbers in the workpapers tie to the number identified in the testimony.

  - Please identify all assumptions used to estimate the number of inspections, replacements, and replacement costs in the “Estimated Repair and Replacement Risers” table.

  - Please provide a copy of all calculations, including all supportive documents, used to estimate the number of inspections, replacements, and replacement costs in the “Estimated Repair and Replacement Risers” table.

- Please provide a copy of all calculations, including all supportive documents, used to determine each of the numbers under the “Assumptions” table presented on page 64 of the workpapers.

- Please provide a copy of all calculations, along with all supportive documents relied on, to determine the annual cost of wax repair for years 2010-2012, as presented on page 64 of the workpapers.

Provide two copies of the above information as it becomes available but no later than the due date identified above.  If you are unable to provide the information by this date, please provide a written explanation to the data request Originator seven calendar days before the due date as to why the response date cannot be met and your best estimate of when the information can be provided.  Please identify the person who provides the response and his (her) phone number.

Provide electronic responses if possible, and set of hard copy responses with your submittal to the data request originator and the DRA Project Coordinator(s).  All data responses need to have each page numbered, referenced, and indexed so worksheets can be followed.  If any number is calculated, include a copy of all electronic files so the formula and their sources can be reviewed.

If you have any questions regarding this data request, please call the originator at the above phone number.