DATA REQUEST

Southern California Gas Company Test Year 2012 GRC

A.10-12-006

Date:  	February 10, 2011

Responses Due:  February 28, 2011

To:		Ronald van der Leeden

RvanderLeeden@semprautilities.com

(213) 244-2009

- From:		Truman Burns, Project Coordinator

- Donna Fay Bower, Assistant Project Coordinator

- Division of Ratepayer Advocates

505 Van Ness Avenue, Room 4205

San Francisco, CA  94102

Originated by:  	Dao Phan

Phone:	415-703-5249

Email:	dao@cpuc.ca.gov

- Data Request No:  DRA-SCG-041-DAO

- Exhibit Reference:   SCG-5, Engineering

- Subject:	DIMP-Driven Activities, Sewer Lateral Inspection Program

- Please provide the following:

- SoCalGas states on pages RKS-46 and RKS-47, “...the concern with cross bores has only become an industry-wide focus since the late 2000s.  At that point, SoCalGas revised its Gas Standard (installation policy) to ensure that cross-bore situations would not occur prospectively.”  Please provide the following with regard to this statement:

  - A copy of the referenced Gas Standard.

  - The number of cross bores identified and/or reported each year from 2005-2010.

  - The annual amount spent to identify and mitigate this problem and the tracking account(s) used, each year from 2005-2010.

- Please provide a copy of the Southwest Gas investigatory report referenced by SoCalGas on page RKS-47.  If SoCalGas’ forecast is based in any way on this report, please provide citations to this report and explain how the information, data, and/or conclusions contained in this report were used to form SoCalGas’ forecast.

- SoCalGas states on page RKS-47 that the number of potential situations SoCalGas forecasts and will pursue is 410.  Please explain how this number was determined and provide a copy of all calculations and or supportive documents used to determine this number.

- Please explain and provide a copy of SoCalGas’ operating procedures for sewer lateral inspection and mitigation before DIMP.

- Please explain and provide a copy of SoCalGas’ operating procedures for sewer lateral inspection and mitigation as a result of DIMP.

- Please explain (a) how each of the work activities identified in the Estimated Cost of Sewer Lateral Program at SoCalGas table on page 62 of the workpapers are carried out, (b) how SoCalGas determined the total cost and number of units for each work activity, (c) how SoCalGas determined the number of services that will be affected for Field Locating and Video Inspection, and (d) how the number of potential physical conflicts, 0.1% per mile, was determined.  Include a copy of all calculations and/or documents used to support SoCalGas’ estimates.

- Please explain how the non-labor costs were determined for 2012.  Provide a copy of all calculations and documents used to support SoCalGas’ forecast.  Please include a copy of the contract between SoCalGas and the local plumbing contractors referenced on page 62 of the workpapers.

- Please explain in detail how SoCalGas determined that it will need 4 project managers for this program in 2012, as stated on page 62 of the workpapers.  Include a copy of all calculations and/or documents used to support this forecast.

- Please explain why SoCalGas determined that the Sewer Lateral Inspection Program needs to be performed over a five-year period, as stated on page RKS-47.  Please provide a copy of all calculations and/or documents used to support this forecast.

Provide two copies of the above information as it becomes available but no later than the due date identified above.  If you are unable to provide the information by this date, please provide a written explanation to the data request Originator seven calendar days before the due date as to why the response date cannot be met and your best estimate of when the information can be provided.  Please identify the person who provides the response and his (her) phone number.

Provide electronic responses if possible, and set of hard copy responses with your submittal to the data request originator and the DRA Project Coordinator(s).  All data responses need to have each page numbered, referenced, and indexed so worksheets can be followed.  If any number is calculated, include a copy of all electronic files so the formula and their sources can be reviewed.

If you have any questions regarding this data request, please call the originator at the above phone number.