QUESTION 7:

Please provide the total amount of gas deliveries to all SDG&E customers by day for the years 2008, 2009, 2010 and 2011.

RESPONSE 7:

SoCalGas and SDG&E object to this request on the grounds that it seeks customer information that is confidential and proprietary, and could subject SDG&E and its customers to competitive disadvantage if this information were revealed to market participants such as the Indicated Producers.

Without waiving these objections and subject thereto, SoCalGas and SDG&E respond with the attached file that provides daily total deliveries to the SDG&E system from 2008-2011.

QUESTION 9:

- On March 30, 2012, SoCalGas filed Advice Letter 4353 to authorize the System Operator to move supplies from the Blythe receipt point to the Otay Mesa receipt point when needed to maintain system reliability.  The AL further states that it seeks authority for this new tool because “[i]n certain instances … the System Operator has needed to maintain minimum system pressures, and supplies delivered to Blythe were not a reasonable substitute.”

  - Describe all circumstances under which gas supplies would need to be moved from the Blythe to the Otay Mesa receipt points in order to maintain Southern System reliability.

  - List all factors that would determine the amount of gas supplies required to flow through the Otay Mesa receipt point to maintain Southern System reliability.

  - If the Otay Mesa receipt point did not exist, how would SoCalGas/SDG&E have addressed this southern system reliability issue?

  - Explain why supplies through the Blythe receipt point are not a reasonable substitute to address this new southern system reliability issue.

  - Provide the first date on which the System Operator was required to deliver supplies at Otay Mesa, rather than Blythe, in order to preserve Southern System reliability.

  - Please list all dates on which the System Operator has been required to delivery supplies at Otay Mesa, rather than Blythe, in order to preserve Southern System reliability.

  - For each date provided in response to Question 9.6, provide the quantities of gas supplies required to be delivered at Otay Mesa, rather than Blythe, to preserve Southern System reliability.

  - For each date provided in response to Question 9.6, clarify how the System Operator calculated the quantities of gas supplies required to be delivered at Otay Mesa, rather than Blythe, to preserve Southern System reliability.

RESPONSE 9:

9.1-9.8

SoCalGas and SDG&E object to these requests because they go beyond the scope of this proceeding, and therefore are overbroad, unfairly burdensome, and seek information not relevant to consideration of A.11-11-002.  The new System Operator tool proposed by SoCalGas in Advice Letter 4353 is not part of our TCAP application or supporting testimony.  SoCalGas and SDG&E further object on the grounds that the request seeks information that is confidential and proprietary, and could subject SoCalGas/SDG&E and their customers to competitive disadvantage if this information were revealed to market participants such as the Indicated Producers. Without waiving these objections, and subject thereto, SoCalGas and SDG&E respond as follows:

Historical flows through Otay Mesa are posted on Envoy.  SoCalGas’ Gas Control Department (Gas Control) determines whether flows through the Otay Mesa receipt point would be either necessary or helpful to maintaining Southern System reliability by looking at a variety of factors, including forecasted sendout/ forecasted EG loads in the Southern system & forecasted EG loads in SDG&E, daily trends and the previous day’s actual burn, available compression at Moreno Compressor Station and scheduled throughput, and pipeline operations – pipeline integrity, shutdowns. There is no set formula for making this determination.  Gas Control requested deliveries at Otay Mesa for reliability purchases of the following volumes on the following dates:

Date				Volumes

February 28			150,000 dth

February 29			75,000 dth

If Otay Mesa had not existed on these dates, SoCalGas may have been required to call a noncore curtailment on the Southern System on at least some of these days.  However, it is impossible to determine the exact timing and extent of such curtailments because all of our planning and system reliability efforts on these days took into account the fact that Otay Mesa indeed existed.

QUESTION 10:

Advice Letter 4282 provides an annual compliance report on the System Operator’s reliability purchases and sales.  On page 2 of that AL, it states that “Over January 31, 2011 through February 4, 2011 SoCalGas purchased just over 1 Bcf of spot gas at Ehrenberg and Otay Mesa for $8,314,055 (included in this amount was an incremental $442,780 from Southern California Gas Company’s Utility Gas Procurement Department as provider of last resort).”

  - Please clarify the quantity of gas (in dth) purchased from the Otay Mesa receipt point on each of the dates listed in Attachments B and C.

  - Please clarify the quantity of gas (in dth) purchased from the Ehrenberg receipt point on each of the dates listed in Attachments B and C.

  - Attachment C clarifies that Gas Control was specifically requested to deliver gas supplies to Otay Mesa on February 2, 2011 and February 3, 2011.

    - What specific circumstances required the delivery of gas supplies through the Otay Mesa receipt point on each of these dates?

    - List all additional dates on which supplies were required to flow through the Otay Mesa receipt point? Please also provide the specific circumstances requiring delivery of gas supplies at the Otay Mesa receipt point on those days.

    - On all days on which supplies were required to be delivered to the Otay Mesa receipt point, how would SoCalGas have dealt with the southern system reliability issue had the Otay Mesa receipt point not existed?

  - For each date provided in Attachments B and C, list all efforts undertaken by SoCalGas/SDG&E to maintain system reliability.

RESPONSE 10:

10.1-10.4

Please see our objections and response to Question 9 above.