- DATA REQUEST

- Southern California Gas Company 2016 General Rate Case

- A.14-11-004

Date:			February 6, 2015

Responses Due:	February 23, 2015

To:		Chuck Manzuk

cmanzuk@semprautilities.com

858-654-1782

From:		Clayton Tang and Truman Burns, Project Coordinators

Office of Ratepayer Advocates

505 Van Ness Avenue, Room 4205

San Francisco, CA  94102

Originated by:  	Kelly Lee

Phone:		415- 703-1795

Email:		kcl@cpuc.ca.gov

Data Request No:  ORA-SCG-055-KCL

Exhibit Reference:   SCG-07

Subject:	Gas Engineering – Cathodic Protection

- Please provide the following:

- Federal Code of Regulations §192.467 (a) requires that gas pipelines be electrically isolated:

Each buried or submerged pipeline must be electrically isolated from other underground metallic structures, unless the pipeline and the other structures are electrically interconnected and cathodically protected as a single unit.

Federal Code of Regulations §192.467 (c) mandates that a cased pipeline in electrical contact with its casing requires mitigation:

Except for unprotected copper inserted in ferrous pipe, each pipeline must be electrically isolated from metallic casings that are a part of the underground system. However, if isolation is not achieved because it is impractical, other measures must be taken to minimize corrosion of the pipeline inside the casing.

- Please outline SoCalGas’ compliance program for contacted casings.

- Are there currently known contacted casing in SoCalGas’ system? Please provide a list of known contacted casings, by year discovered.

- On average, how long does SoCalGas take to mitigate a contacted casing after discovery?

- Federal regulations require that gas pipeline operators monitor for and

edplinece program for contacted casings. days after discopvery.protected within 30

ervices or mains must be put under protectimitigate stray currents. Volume 49, Code of Federal Regulations §192.473 states that:

(a) Each operator whose pipeline system is subjected to stray currents shall have in effect a continuing program to minimize the detrimental effects of such currents.

(b) Each impressed current type cathodic protection system or galvanic anode system must be designed and installed so as to minimize any adverse effects on existing adjacent underground metallic structures.

- Please outline SoCalGas’ compliance program for monitoring and mitigating the detrimental effects stray alternating current.

- Please outline SoCalGas’ compliance program for monitoring and mitigating the detrimental effects stray direct current.

- How often does SoCalGas inspect transmission pipeline for stray currents?

END OF REQUEST

Instructions

You are instructed to answer the following Data Requests in the above-captioned proceeding, with written, verified responses per Public Utilities Code §§ 309.5 and 314, and Rules 1.1 and 10.1 of the California Public Utilities Commission’s Rules of Practice and Procedure. Restate the text of each request prior to providing the response.  If you have any questions regarding this data request, please contact the Originator at the email address or phone number above.

Each Data Request is continuing in nature. Provide your response as it becomes available, but no later than the due date noted above.  If you are unable to provide a response by this date, notify the Originator and ORA Project Coordinator(s) as soon as possible, with a written explanation as to why the response date cannot be met and a best estimate of when the information can be provided.  If you acquire additional information after providing an answer to any request, you must supplement your response following the receipt of such additional information.

Identify the person providing the answer to each data request and his/her contact information.  All data responses need to have each page numbered, referenced, and indexed so worksheets can be followed.  If any numbers are calculated, include a copy of all supporting electronic files, with data and formulas intact and functioning, so that the formula and their sources can be reviewed.  Responses should be provided both in the original electronic format, if available, and in hard copy.  (If available in Word or Excel format, send the Word document or Excel file and do not send the information only as a PDF file.)  All electronic documents submitted in response to this data request should be in readable, downloadable, printable, and searchable formats, unless use of such formats is infeasible.

Documents produced in response to the data requests should be numbered, and indexed if voluminous.  Responses to data requests that refer to or incorporate documents should identify the particular documents referenced by page numbers.

If a request, definition, or an instruction, is unclear, notify ORA as soon as possible.  In any event, answer the request to the fullest extent possible, specifying the reason for your inability to answer the remaining portion of the Data Request.

Provide two copies of the above information as it becomes available but no later than the due date identified above.  Provide electronic responses if possible, and set of hard copy responses with your submittal to the data request Originator and the ORA Project Coordinator(s).