**QUESTION 1:**

Please provide aggregated total gas use data for each hour in 2015:

a) Gas demand identified as “currently dispatched operating EG load” in curtailment order “Step 2” on page 4 of A.15-06-020.

b) Gas demand identified as “Cogeneration and non-EG noncore usage” in curtailment order “Step 3” on page 4 of A.15-06-020.

Please provide this data in an Excel file.

**RESPONSE 1:**

1. Please refer to the attached spreadsheet for aggregated hourly EG demand data for the SoCalGas and SDG&E system in 2015. SoCalGas notes that there are several instances where hourly demand was recorded in excess of 200 MCFH; SoCalGas believes these data points to be errors in the SCADA data.


2. Please refer to Response #2b to Indicated Shippers 4th data request in this proceeding, available at <https://socalgas.com/regulatory/A15-06-020.shtml>, which states: “SoCalGas and SDG&E do not collect hourly usage data for most of the noncore cogeneration and noncore non-cogeneration customer classes.”