QUESTION PZS2-1:

On page 1 of the Exhibit reference, SoCalGas/SDG&E state in part “…we remain confident in our existing transmission pipeline integrity program and are proud of our excellent safety record….”  Please provide the following information for each of SoCalGas and SDG&E:

- starting date of SoCalGas/SDG&E’s existing transmission pipeline integrity program referenced in the above statement;

- The number of transmission pipeline miles covered during the first year and every year thereafter by the existing transmission pipeline integrity program referenced in the statement, with a breakdown by pipeline diameter and class category;

- The amount of capital expenditures and O&M expenses (in US$ millions) requested by each of the utilities during the first year and every year thereafter for the existing transmission pipeline integrity program referenced in the statement;

- The amount of capital expenditures and O&M expenses budget authorized by the CPUC for each of the utilities during the first year and every year thereafter for the existing transmission pipeline integrity program referenced in the statement;

- The amount of actual expenditures (in US$ millions) recorded by each of the utilities during the first year and every year thereafter for the existing transmission pipeline integrity program referenced in the statement.  If there is a breakdown between actual capital and O&M expenses recorded, then please provide those recorded expense amounts;

- Identify the metrics used for purposes of evaluating each utility’s safety record for the existing transmission pipeline integrity program; and

- The recorded data for the metrics identified in item (f) showing each utility’s safety record during the first year and every year thereafter until the latest available data for the safety record referenced in the statement.

RESPONSE PZS2-1:

- In accordance with 49 CFR 192 Subpart O, our integrity management plan was first implemented on December 17, 2004, and continues to evolve as we make continual improvements to the program.

- 49 CFR 192 Subpart O applies to all transmission pipeline.  Transmission pipeline information is reported annually to the CPUC and PHMSA on form PHMSA F 7100.2-1.  This report for the years 2003 through 2010 for each utility is attached.

- REVISED RESPONSE TO 1c

The table below corrects the response submitted 9/15/11 by removing data described as attrition year data.  CPUC does not authorize SDG&E or SoCalGas attrition year O&M and capital.  Test year information was restated in nominal and loaded format and 2012 requested data is added:

- The 2004 Cost of Service and Test Year 2008 GRC were both settled and the CPUC did not authorize a specific value for this activity.

- REVISED RESPONSE TO 1e

As previously noted the data provided in response to this question was as shown in the utilities TY2012 General Rate Case (GRC) proceedings.  This was in units as shown in the GRC proceeding – shown in 2009 dollars of direct spending with an allocation for vacation and sick time.   Since that response was provided, similar questions have been asked by other parties to this proceeding and the responses have been provided in different units of measure – direct O&M or loaded Capital nominal dollars.  The table below is being provided for consistency with other responses.

Also in preparing this supplement, an error in the original table was discovered.  The data shown in the original response for SDG&E Capital in year 2009 should read $<1> (not $1,735).  This appears to be a copying error when entering the data into the response table.

Table 1

SoCalGas and SDG&E

Expenditures for Transmission Integrity Program

Thousands Nominal dollars

(Capital Shown Fully Loaded, O&M Direct Excluding V&S Component)

|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 |
| --- | --- | --- | --- | --- | --- | --- |
| SCG O&M | 5,205 | 10,961 | 13,150 | 11,777 | 14,295 | 22,583 |
| SCG Capital | 35,560 | 37,229 | 42,898 | 30,207 | 42,794 | 66,554 |
| SDGE O&M | 499 | 941 | 2,085 | 2,262 | 736 | 1,076 |
| SDGE Capital |  |  | 343 | 789 | -1 | 1,843 |

- The metrics used for evaluation of each utility’s safety record for the transmission pipeline integrity program are leaks, failures, and incidents as required by 49 CFR 192.945(a) and are defined as follows:

Leaks are unintentional escapes of gas from a pipeline that are not reportable as Incidents under 49 CFR 191.3. A non-hazardous release that can be eliminated by lubrication, adjustment, or tightening is not a leak.

Failure is defined in ASME/ANSI B31.8S as the “general term used to imply that a part in service has become completely inoperable; is still operable but is incapable of satisfactorily performing its intended function; or has deteriorated seriously, to the point that it has become unreliable or unsafe for continued use.”  Failures that result in an unintentional release of gas are reported as leaks.

Incident, as defined in 49 CFR 191.3, “means any of the following events: (1)  An event that involves a release of gas from a pipeline, or of liquefied natural gas, liquefied petroleum gas, refrigerant gas, or gas from an LNG facility, and that results in one or more of the following consequences: (i)  A death, or personal injury necessitating in-patient hospitalization; (ii)  Estimated property damage of $50,000 or more, including loss to the operator and others, or both, but excluding cost of gas lost;(iii)  Unintentional estimated gas loss of three million cubic feet or more; (2)  An event that results in an emergency shutdown of an LNG facility. Activation of an emergency shutdown system for reasons other than an actual emergency does not constitute an incident. (3)  An event that is significant in the judgment of the operator, even though it did not meet the criteria of paragraphs (1) or (2) of this definition.”

| SoCalGas and SDG&E |  |  |  |
| --- | --- | --- | --- |
| Year | Failures | Incidents | Leaks |
| 2003-2004 | 1 | 0 | 10 |
| 2005 | 2 | 0 | 2 |
| 2006 | 1 | 0 | 1 |
| 2007 | 5 | 0 | 6 |
| 2008 | 0 | 0 | 0 |
| 2009 | 0 | 1 | 0 |
| 2010 | 0 | 0 | 2 |

QUESTION PZS2-2:

Please explain how the costs of the existing transmission pipeline integrity program for SoCalGas and SDG&E are currently recovered, including a description of the cost allocator used for the program, and state the reason why that cost allocator is used for the program.  Please cite the Commission decision that adopted the cost allocator for the existing transmission pipeline integrity program.

RESPONSE PZS2-2:

Costs for the existing transmission pipeline integrity program are recovered through the transportation rates.

There is not a separate or distinct allocator for this program. They are part of the authorized revenue requirement which was allocated in the last BCAP decision (D.09-11-006) under a settlement agreement.

QUESTION PZS2-3:

Based on the cost allocator for the existing transmission pipeline integrity program identified in PZS2-2, please state how much of the program cost (in percent share) is allocated to each customer class of SoCalGas and SDG&E under the current program.

RESPONSE PZS2-3:

Due to the allocation of authorized revenue requirement being a settlement in the last BCAP, only the allocation of the authorized revenue requirement (resulting in Equal Percent of Authorized Margin) is available. This may be found in the workpapers to Chapter X.C.

| Residential | 76.7% |
| --- | --- |
| Core C&I | 14.2% |
| Air Conditioning | 0.0001% |
| Gas Engine | 0.1% |
| Natural Gas Vehicle | 0.5% |
| CORE | 92% |
| NonCore C&I | 3.6% |
| EG – Distribution | 1.0% |
| Transmission Level Service | 4% |
| NONCORE | 8% |
| SYSTEM TOTAL | 100% |

QUESTION PZS2-4:

On page 2 of the Exhibit reference, SoCalGas/SDG&E state “Indeed, an emphasis on continuous improvement is an essential part of our company culture.”

- Please identify the technologies employed by each of SoCalGas and SDG&E for purposes of the existing transmission pipeline integrity program during the first year and throughout the succeeding years thereafter.

- Please identify any other aspect of the existing transmission pipeline integrity program that the utilities consider part of the “continuous improvement” and explain why the company decided to adopt those “improvements” for the existing transmission pipeline integrity program.

- Please explain whether an accurate and orderly record-keeping system is part of the existing transmission pipeline integrity program.  If not, please explain.

RESPONSE PZS2-4:

- 49 CFR 192.921 specifies the assessment methods to be used to conduct integrity assessments as follows: “(1) Internal inspection tools or tools capable of detecting corrosion, and any other threats to which the covered segment is susceptible. . . . (2) Pressure test conducted in accordance with subpart J of this part. . . . (3) Direct assessment to address threats of external corrosion, internal corrosion, and stress corrosion cracking. . . . (4) Other technology that an operator demonstrates can provide an equivalent understanding of the condition of the line pipe.”  As described beginning on page 47 of our testimony, SoCalGas and SDG&E  utilize the first three methods.

- Continuous improvement in the context of pipeline integrity is an on-going cycle of growth that can take many forms, ranging from pipeline enhancements and repairs, to efficiency gains with existing processes, to the adoption of new technologies and enhancements to existing technologies.  Many pipeline improvements include physical pipeline enhancements that result from integrity assessments; for example, re-coating of pipeline segments during the course of pipeline examinations improves the performance of the cathodic protection system and enhances the operator’s ability to protect and maintain the pipeline.  Pipeline retrofits enhance the ability of the operator to utilize advanced inspection devices such as smart pigs.  Process improvements have also occurred through the years based on lessons learned and/or the availability new technologies..  New technologies have been incorporated, which range from the use of GPS devices for recording assessment data to the incorporation of newer in-line inspection devices like inertial mapping units, tethered inspection tools, and robotic inspection tools.

- Record keeping is part of SoCalGas’ and SDG&E’s existing pipeline integrity program.  Transmission pipeline data is stored and organized in a manner that supports the analysis and decision making required for pipeline integrity work.

QUESTION PZS2-5:

On page 2 of the Exhibit reference, SoCalGas/SDG&E state that “…our proposed plan also offers proposals to enhance our system beyond the measures strictly required under D.11-06-017, and include alternatives that can be adopted by the Commission to reduce costs for our customers.”

- Please identify the measures strictly required under D.11-06-017 as referenced in the statement above;

- Please identify the specific proposals in your proposed plan referenced in the statement above;

- Please explain how your specific proposals enhance your system beyond the measures identified in item (a) above;

- If your specific proposals identified in item (b) are approved by the Commission and become operational , please explain how the Commission will be able to verify whether these are actually useful to your system and “enhance” your system in terms of safety;

- Please provide the total cost associated with the specific proposals identified in item (b), with a breakdown between the direct capital and O&M costs for each year of the PSEP;

- Please state whether any overhead costs and escalation will apply to these specific proposals, in addition to the direct costs.  Please cite the workpaper references that support the overhead costs and escalation for these specific proposals;

- Please identify the “alternatives that can be adopted by the Commission to reduce costs for our customers” as referenced in the above statement.

- Please explain how the “alternatives” identified in item (g) can reduce costs for your customers and indicate an estimate of how much cost reduction can be achieved by adopting these alternatives.

RESPONSE PZS2-5:

- Section II.A.1 of the Testimony summarizes the eight key elements included in the PSEP that are required under D.11-06-017.

- Proposals to enhance our system beyond the measures strictly required under D.11-06-017 may be found as follows:

- Section IV.D.1(b)(1) of the Testimony outlines the proposed mitigation of non-state of the art construction methods through replacement of pre-1946 non-piggable pipelines and the removal of wrinkle bends.

- Section VI of the Testimony describes proposed technology enhancements that include installation of fiber optic cabling, installation of methane detection instruments, and development of a data collection and management system (DCMS).

- Section VII covers the proposal to design a comprehensive enterprise asset management system.

- Alternatives that can be adopted by the Commission to reduce costs for our customers (but are not part of the Base Case or Proposed Case) may be found as follows:

- Section IV.D.1(a)(2) of the testimony summarizes the use of non-destructive examination (NDE) as an equivalent alternative to pressure testing for pipeline segments less than 1000 feet in length.

- Section IV.D.1(b)(2) describes the possible use of in-line inspection in Phase 2 using transverse field inspection tools and non-destructive examination in lieu of pressure testing or replacement, if analysis of data gathered in Phase 1 supports a finding that this method is equivalent to pressure testing for assessing the strength of in-service pipelines.

- In Section IV.D.1 (c)(3), SoCalGas and SDG&E propose to work with Commission Staff and other stakeholders to develop a standard for determining when a pressure reduction may be used as an alternative to taking a line out of service for pressure testing or replacement.

- See the sections and chapters of our August 26 testimony cited in Response PZS2-5(b) above.

- Regarding the mitigation of pre-1946 construction methods, the removal of these features from the system inherently reduces the risk of failure and increases the safety of the system.  Removals can be tracked as verified as work progresses, and for systems that are piggable the in-line inspection data can be used to demonstrate that these features have been replaced.

The proposed technology enhancements that include installation of fiber optic cabling and installation of methane detection instruments will each be capable of producing a deliverable in the form of system detection results that can be provided for verification of efficacy.  In the case of the DCMS, the system will be capable of displaying or reporting integration data in a transparent manner that can be verified.

Section VII covers the proposal to design a comprehensive enterprise asset management system in alignment with Commission’s goal of having ready access to pipeline data and system information can be reported to the Commission for verification.

- For a complete breakdown of costs associated with the proposals identified in item (b)(1) (those included in our Proposed Case), please refer to Appendix B - Proposed Case Pipeline Safety Enhancement Plan Direct Costs.  See Response Response PZS2-5(h) for a discussion of costs savings associated with those alternatives identified in Response PZS2-5(b)(2) (those not included in either our Base Case or Proposed Case).

- Overhead and escalation will apply to the direct costs of these proposals with the same methodology as described in the testimony of SoCalGas witness Cheryl Shepherd (on pages 121-123, Section X.A. of SoCalGas’ Testimony in Support of Proposed Natural Gas Pipeline Safety Enhancement Plan).  Further detail can be found in the supporting workpapers WP-X-1-1 through WP-X-1-9.

- See Response PZS2-5(b)(2) above.

- Detailed cost estimates have not been prepared for all of the alternatives described in Response PZS2-5(b)(2) above.  Absent a future decision by the Commission, those proposals would not meet the directives of D.11-06-017, and therefore, are not included in either our Base Case or Proposed Case.

On page 118 of our testimony, we describe estimated cost reductions of approximately $5-15 million if our proposal to use non-destructive examination (NDE) in lieu of pressure testing or replacement of segments less than 1,000 feet in length is approved for Phase 1.

With respect to the potential authorization to conduct in-line inspections using TFI technology and non-destructive examination in lieu of pressure testing or replacement of Phase 2 pipeline segments, it is not possible to perform detailed cost estimates because we have not yet completed our review of records for Phase 2 pipeline segments.  On page 120 of our testimony, however, we explain: “It is estimated that almost 56% of the Phase 2 miles have already been retrofitted to accommodate in-line inspections.  If in-line inspection using TFI technology is validated through the process proposed herein and adopted as an authorized alternative to pressure testing by the Commission, this would reduce the amount of mileage requiring pressure testing or replacement potentially saving hundreds of millions of dollars.”

If our proposal to work with Commission Staff and other stakeholders to develop a standard for determining when a reduction in MAOP may be used as an alternative to taking a line out of service for pressure testing or replacement is implemented, further cost reductions may be achieved.  It is not possible to prepare an estimate for these potential cost reductions at this time, however, as such a standard has not yet been developed or approved by the Commission and the cost savings would depend on the requirements of that standard.

QUESTION PZS2-6:

On page 17 of the Exhibit reference, SoCalGas/SDG&E state “Cost effectiveness is the final major guiding principle of our Pipeline Safety Enhancement Plan.”  Please explain “cost effectiveness” as defined and referenced in the statement.  Please explain how “cost effectiveness” is specifically used as a major guiding principle in your PSEP.  Please cite references to the workpapers to support your statement about cost effectiveness.

RESPONSE PZS2-6:

As explained on page 17 of our testimony, “Cost effectiveness is the final major guiding principle of our Pipeline Safety Enhancement Plan.  From the onset of this effort, the SoCalGas and SDG&E approach has been anchored in the philosophy that the goal of our work should be comprehensive system enhancements/improvements to achieve long-term safety and cost effectiveness.  SoCalGas and SDG&E further this goal by crafting a plan that avoids duplication of efforts, complements existing infrastructure and prior investments in the SoCalGas and SDG&E pipeline system, and looks to technological advances in pipeline safety.”

Examples of elements of our PSEP that demonstrate our efforts to further this goal include the following:

- On pages 108-109 of our testimony, we describe our coordination of work scope in Phase 1 to include accelerated testing of associated pipeline segments that would otherwise be addressed in Phase 2 to avoid duplication of efforts and maximize cost effectiveness.

- On pages 55-56 and 115-116, we describe our proposal to utilize the opportunity provided by removal of a line from service for pressure testing to replace pre-1946 construction/fabrication features.  Coordination of these activities maximizes the benefits of our investments by incorporating long-term construction/fabrication feature mitigation solutions with our pressure testing efforts.

- On pages 56-57 of our testimony we describe the use of prior investments in smart pig retrofitting so that Transverse Field Inspection (TFI) assessments can be performed during Phase 1.  As explained on page 57, “SoCalGas and SDG&E propose to analyze and compare the results of pressure testing with the results of in-line inspections in Phase 1, in order to demonstrate that TFI provides an equivalent alternative to pressure testing for Phase 2 pipelines.  Particularly for Phase 2 pipelines that are already piggable, this may present an opportunity to greatly reduce the costs of achieving compliance with the Commission’s directives in this Rulemaking.”   On page 120 of our testimony, we further explain: “It is estimated that almost 56% of the Phase 2 miles have already been retrofitted to accommodate in-line inspections.  If in-line inspection using TFI technology is validated through the process proposed herein and adopted as an authorized alternative to pressure testing by the Commission, this would reduce the amount of mileage requiring pressure testing or replacement potentially saving hundreds of millions of dollars.”

- How our proposed Valve Enhancement Plan achieves our goal of maximizing cost effectiveness is expressly described on pages 76-78 of our testimony.  For example, on page 76 we explain that we maximize cost effectiveness by “focus[ing] on those pipeline segments most likely to yield higher public safety benefits,” on page 77 we describe “leveraging SoCalGas and SDG&E’s existing system of over 800 manually-operated valves located along transmission pipelines in Class 3 or High Consequence Areas wherever possible, and maintaining the current eight-mile-or-less Department of Transportation prescriptive isolation section lengths for valve spacing. . . [which] will optimize cost, program logistics and, ultimately, plan effectiveness,” on page 77 we describe our review of the effectiveness and costs associated with a reduction in valve spacing and our determination that a further reduction in valve spacing, and on page 78 we describe “complement[ing] the use of existing valves, RCVs, ACVs and other infrastructure, where possible.

- On page 118 of our testimony, we describe estimated cost reductions of approximately $5-15 million if our proposal to use non-destructive examination (NDE) in lieu of pressure testing or replacement of segments less than 1,000 feet in length is approved for Phase 1.

- In Chapter VI we propose to utilize the opportunity presented by implementation of our plan to pressure test or replace transmission pipelines, by installing technology enhancements to our pipeline system that are cost effective “when a pipeline is already exposed, as during new construction or rehabilitation.”

Moreover, SoCalGas and SDG&E will continue to maintain cost effectiveness as a guiding principle once detailed planning and project execution begins.  This is anticipated to include value engineering, volume discounts for materials and equipment and negotiated rates for construction labor.

QUESTION PZS2-7:

On page 21 of the Exhibit reference, SoCalGas/SDG&E state “To date, we have incurred costs of approximately $3 million and forecast that we will spend a total of about $7 million by year-end above and beyond those forecast in our most recent General Rate Cases.  All of these costs are attributable to our review of records and our implementation of interim safety enhancement measures”

- Please provide a detailed breakdown of the $3 million of costs incurred to date, and explain how you arrived at the forecasted $7 million by year-end.  Please cite workpaper references that support your statement; and

- Please identify all the interim safety enhancement measures implemented by SoCalGas/SDG&E (outside of the proposed PSEP) as referenced in the statement.

RESPONSE PZS2-7:

- Costs for implementing the Interim Safety Measures are recorded in separate work orders to identify those costs over and above costs that were already covered in our GRC.  The recorded costs are shown in the following table:

| Interim Safety Measure Costs Through July 2011 ($000) |  |  |
| --- | --- | --- |
|  | SoCalGas | SDG&E |
| Records Review | $2,332 | $600 |
| Survey and Patrol - Distribution | $43 | $1 |
| Survey and Patrol - Transmission | $36 | $1 |
| Survey and Patrol - Storage | $2 |  |
| Pressure Reduction/ Bell Hole Inspection | $32 | $1 |
|  | $2,445 | $603 |

The forecast methodology for each line item is explained in Workpaper pages WP-IX-4-1 through WP-IX-4-18 under the section “Forecast Methodology.” Year-end costs were forecast as follows:

| Interim Safety Measure Cost Forecast for 2011 ($000) |  |  |
| --- | --- | --- |
|  | SoCalGas | SDG&E |
| Records Review | $5,744 | $897 |
| Survey and Patrol - Distribution | $90 | $2 |
| Survey and Patrol - Transmission | $60 | $3 |
| Survey and Patrol - Storage | $6 |  |
| Pressure Reduction/ Bell Hole Inspection | $60 | $2 |
|  | $5,960 | $904 |

These costs are summarized in Table IX-10 on page 112 of our August 26 testimony.

- See page 112 of our August 26 testimony, at lines 4 through 9.

QUESTION PZS2-8:

On page 122 of Exhibit reference, SoCalGas/SDG&E state “The incremental Capital and O&M costs for the Proposed Case and Base Case are adjusted to include applicable overhead rates and escalation rates…overhead rates are estimated using Year 2010 actuals, but are only intended to be indicative for forecasting purposes; actual overhead rates each year will be used in the calculation of the actual revenue requirement.  Only overheads that are considered incremental to each Pipeline Safety Enhancement Plan Case are included.”  Please explain how you determine and decide each case on whether to consider the overhead as incremental or not.

RESPONSE PZS2-8:

The overhead loaders listed in Table X-1 are consistent with SoCalGas and SDG&E’s interpretations of incremental overheads used in filing applications for the recovery of costs.  Overhead costs are expenses that indirectly support the business operations of the utilities. These costs are driven by certain direct costs (i.e., cost drivers).  As the direct costs change, the associated overheads will change accordingly.  In the proposed Natural Gas Pipeline Safety Enhancement Plan, the following overheads will change according to the change in their cost drivers and, therefore, are considered as incremental overheads:

Labor Overheads - Each new employee hired would include additional labor overheads, such as payroll tax, vacation and sick, employee benefits etc.

Payroll Taxes:  The Payroll Tax overhead is used to allocate the employer portion of payroll taxes associated with employee labor. The cost driver for the Payroll Tax pool is labor and the overhead rate is applied to labor costs.

Vacation and Sick Time:  The Vacation & Sick (V&S) overhead is used to allocate non-productive time (Vacations, Holidays, Sick time, Jury Duty, etc…) to all cost objects.  The cost driver for the V&S pool is straight time labor and the rate is applied to labor costs.

Benefits:  The Benefit overhead is used to allocate the various employee benefits costs, such as medical and dental payments, to all cost objects.  The cost driver for the Benefit pool is straight time labor and the rate is applied to labor costs.

RESPONSE PZS2-8 (continued):

Workers’ Compensation:  The Workers’ Compensation (WC) overhead is used to allocate costs related to workers' compensation payouts, excess liability insurance premiums and administrative costs.  The cost driver for the WC pool is straight time labor and the rate is applied to labor costs.

Public Liability / Property Damage:  The Public Liability/Property Damage (PLPD)  overhead is used to allocate  payments to 3rd parties for liability and property damage claims submitted to the utility, plus the cost of excess insurance premiums and the related administrative costs.  The cost driver for the PLPD pool is straight time labor and the rate is applied to labor costs.

Incentive Compensation Plan:  The Incentive Compensation Plan (ICP) Overhead allocates the performance-based, non-guaranteed, incentive compensation plan costs paid to utility employees based on company and individual employee performance as compared to pre-established financial and operational goals.  The cost driver for the ICP pool is the straight time labor costs of Management and Associate employees and the rate is applied to Management and Associate labor costs.

Non-Labor Overheads:

Purchased Services and Materials:  The purchasing overhead is used to allocate the costs related to the utility’s procurement activity in obtaining goods and services for the utility’s organizations.  The purchasing pool will load overheads to any object that has contract labor, contract services, and purchases.  Purchasing is a company-wide loader that is driven by all purchased services and purchased materials.  In order to maintain a consistent level of service provided by the procurement department, any incremental purchased materials and services would result in an increase in procurement department expenses.

Administrative and General:  The Administrative and General (A&G)  overhead is used to allocate the administrative and general costs for departments that support capital jobs, such as Accounting and Human Resources. The cost driver for the A&G pool is the total direct costs and the rate is applied to the project’s capital direct costs.  In order to maintain a consistent level of service provided by the A&G departments, any incremental project costs would result in an increase in A&G expenses.

QUESTION PZS2-9:

On page 132 of Exhibit reference, SoCalGas/SDG&E state “Since the residential market is a relatively homogeneous market in terms of natural gas demand, SoCalGas and SDG&E determined that a fixed monthly PSEP Surcharge is reasonable for this class.  Due to the wide range of demand profiles among the non-residential customer classes, a volumetric surcharge is more reasonable for these customers.”  Please provide all the natural gas demand information that was reviewed and analyzed by SoCalGas and SDG&E that specifically shows “a relatively homogeneous market” for the residential market and “a wide of demand profiles” for the non-residential customer classes.

RESPONSE PZS2-9:

See the Workpapers for Chapter X.C. The average use per customer may be found using the 1) Average Year Throughput; and, 2) the number of Customers.  As shown below, this results in an average use per customer for the Residential Class of 447 therms/year.  However, this same measure for Core C&I class is 4,607 therms/ year; for NonCore C&I-Distribution level is 1,396,000 therms/year and for Transmission Level Service it is over 30,000,000 therms/year.

The average use for the non-residential classes range from 4,607 therms/year to 30,000,000 therms/year. This is a very large range, but understandable when one considers that “non-residential” includes customers such as laundromats and refineries and electric power plants.  While there are residential customers that may use as much gas as a laundromat, there are no residential customers that even approach the use of a refinery or a power plant.  Therefore, it was concluded that the demand of customers in the residential class does not have the range of demand by customers in the non-residential class.

QUESTION PZS2-10:

On page 132 of Exhibit reference, SoCalGas/SDG&E state in part “…SDG&E will not be charged the PSEP Surcharge as part of wholesale service.  This is due to the integration of the Pipeline Safety Enhancement Plan between the two utilities, with the Surcharge being determined on a combined cost and demand basis.”  Please explain how the Surcharge is “determined on a combined cost and demand basis.”  Please explain all calculations and assumptions underlying the combined cost and demand basis determination of the Surcharge for SDG&E as a wholesale customer of SoCalGas.  Please cite workpaper references to support your statements.

RESPONSE PZS2-10:

The Workpapers to Chapter X.C include the calculation of the Equal Percent Authorized Margin (EPAM) allocator. Notice that this EPAM is calculated on a combined SoCalGas/SDG&E basis, and the surcharges are calculated using a combined customer count for residential surcharge and combined volumes for non-residential surcharges. Also see response to DRA-PZS1-16a.