QUESTION TURN-TCAP-PSEP-05-01:

At page 18 of the Amended Testimony, the Sempra Utilities state that they have identified approximately 385 miles of transmission pipeline operating in Class 3 and 4 locations and High Consequence Areas for which the utilities do not have sufficient documentation of pressure testing to satisfy modern requirements.

- Were any of these pipelines or pipeline segments identified under the Transmission Integrity Management Program (TIMP) for either utility as having a manufacturing threat?  Please identify each pipeline or pipeline segment (including a pipeline/segment identifier and mileage) that was so identified under the TIMP.

- For each pipeline or pipeline segment identified in response to the above question, please describe how the utility assessed the manufacturing threat (i.e. was it “pigged” and, if so, what kind of pigging tool was used, was it pressure-tested, etc.) and when that assessment was performed.

- For each pipeline or pipeline segment identified in response to a) above for which PSEP work is proposed in Phase 1A or Phase 1B, please provide the following:  (1) a description of the proposed project (i.e., strength testing, replacement, etc.); and (2) the estimated cost of the proposed project (if such cost is different from the costs used in the Amended Testimony, please explain any such differences).

RESPONSE TURN-TCAP-PSEP- 05-01:

- The attached spreadsheet provides the requested pipeline segment identification and mileage for pipelines currently included in the Transmission Integrity Management Program (TIMP) where a manufacturing threat is currently identified.

- The currently assigned assessment method has also been identified.  In cases where the assessment method is not suited for manufacturing threat additional analysis is completed to assess the stability of the manufacturing threat.  Pipelines listed as “Planned” are due for review later this year.

It should be noted that the TIMP requirements for manufacturing threat stability are not the same as the requirements used to identify the pipelines for the PSEP.

- For the pipelines provided in the attachment, please refer to the project descriptions and estimated costs found in the workpapers supporting Chapter IX of the testimony (pages WP-IX-1-1 through WP-IX-1-56 and Appendices IX-1-A through IX-1-D).

QUESTION TURN-TCAP-PSEP-05-02:

With respect to the ASME B31.8-1955 standards:

- Please identify by name and title any representative of either of the Sempra Utilities who participated in any way in the development of those standards and the nature of such participation.

- For each of the Sempra Utilities, please state whether they voluntarily adhered to those standards both (1) generally and (2) particularly with respect to: (i) strength testing after construction and (ii) record-keeping.  If the answer is anything other than an unequivocal yes, please explain in detail any qualifications or, if applicable, why the utility did not voluntarily adhere to those standards.

- Provide all available documentation of the Sempra Utilities’ policies with respect to adherence to the ASME B31.8-1955 standards.  If none is available, please explain the basis for the answer to b) above.

RESPONSE TURN-TCAP-PSEP- 05-02:

a.	At least three Sempra Utilities representatives are known to have participated in the development of the ASA B31.8-1955 standards publication.  These representatives, their company affiliation, and their role on the Standards Committee as published in the 1955 Code, are as follows:

- Mr. Fredrick A. Hough, Vice President of Southern Counties Gas Company, Officer - Committee Chairman

- Mr. C. T. Schweitzer, Southern California Gas Company, Officer - Committee Secretary

- Mr. G. G. Dye, Southern California Gas Company, Committee Member

Participation as a Section 8 Committee member entails working periodically as a team and individually to address Industry issues through the development of industry standards.

b.	It is our understanding that SoCalGas and SDG&E voluntarily adhered to the ASA B31.8-1955 standards.

c.	No such documentation exists.  Our understanding is based on the fact that strength testing records exist for numerous pipelines constructed after issuance of ASA B31.8-1955 standards.  It is also based on the fact that we had several representatives on the Section 8 Committee (See response TURN-TAP-PSEP-05-02(a) above).