QUESTION DAO9-1:

In the Sempra response to DAO-05, Q. 2, Sempra states that “These outcomes are then used to identify associated pipe segments for accelerated testing as part of Phase 1A work.  Footnote 46 at the bottom of page 61 describes how the accelerated testing of pipe segments is associated with Phase 1A work.”

  - Provide a detailed explanation showing how Sempra used the outcomes to identify pipe segments as “accelerated miles” and prioritize these segments to Phase 1A.

  - Provide a copy of the decision tree or flow chart/process used to determine whether a class 1 or 2 non-High Consequence Areas pipeline segment is identified as an “accelerated mile.”

  - Referring to footnote 46 on pages 61 and 62, identify the “accelerated” segments that are being prioritized as Phase 1A work because it is more economical and practical to pressure test an entire segment at one time.  If all the “accelerated miles” identified on page 108 are prioritized as Phase 1A work because of economical and practical reasons, please so state.

  - Provide a copy of all analyses and/or evaluations, and/or studies performed to determine that it is more economical and practical to accelerate the non-HCA miles to Phase 1A.

RESPONSE DAO9-1:

- The process shown in Figure IV-1 on Page 61 of the Testimony is used to establish the overall phasing for Phases 1A, 1B, and Phase 2 work.  After these basic phasing requirements were established, estimates for pressure testing in Phase 1A were performed and this included estimates for pressure test boundaries.  Phase 1A pressure test boundaries were extended to include adjoining Phase 2 pipe segments if those segments were determined through subject matter expert review to be potentially cost effective or reduce customer impacts as described on page 108, and in footnote 46 at the bottom of page 61.  See also the discussion included on page 52.

- Decision trees or flow/chart processes were not used to identify accelerated miles and are not available.

- Accelerated miles are included in Phase 1A due to the economic and practical reasons described on page 108 of the testimony regarding cost effectiveness and customer impacts.

d)  No specific analyses or studies were performed to determine that it is more economical and practical to accelerate Class 1 and 2 non-HCA segments into Phase 1A.  The Accelerated miles in the PSEP filing were identified based on a high level definition of the project scope.

During the detailed engineering and design phase of the program, only those Class 1 and 2 non-HCA miles without documentation of a pressure test to 1.25 times the MAOP whose inclusion would maximize the cost effectiveness and minimize the impacts to customers will be accelerated into Phase 1A.

QUESTION DA09-2:

Sempra states on page 60 of the testimony, “As part of the work previously completed during implementation of Subpart O. SoCalGas and SDG&E have already identified, retrofitted and in-line inspected all pre-1946 transmission pipelines that were constructed using acceptable welding techniques and are operationally suited to in-line inspection.  The remaining pre-1946 segments in the SoCalGas/SDG&E system are not suited for in-line inspection, likely have non-state-of-the-art welds, and would require significant investment for retrofitting to accommodate in-line inspection tools.”  Please provide the following information regarding this statement:

a.	Explain in detail why the remaining pre-1946 segments, as identified for mitigation work in phase 1B of the PSEP, were not or are not currently managed as part of the requirements of Subpart O.

b.	Explain in detail how SoCalGas has been assessing the risks and managing the risks associated with the “remaining pre-1946” segments.

c.	Has SoCalGas considered retrofitting pre-1946 pipelines to allow for inline inspection tools?

    - If no, please explain why not.

    - If yes, please identify all retrofitting efforts and provide the dates associated with these efforts.

RESPONSE DAO9-2:

- The segments identified for work in phase 1B of the PSEP are pre-1946 segments that are non-piggable.  Subpart “O” does not require lines to be made piggable.  The work proposed to be performed in Phase 1B is responsive to the Commission’s direction in Ordering Paragraph 8 of D.11-06-017.  The non-piggable pipelines identified for phase 1B are not in populated areas and are not capable of or planned to be retrofitted to allow for in-line inspection under the scope of Subpart O.

- The bottom of page 48 of the testimony describes the on-going management of the transmission pipeline system.  Section IV.E. of the testimony also provides a detailed description of interim safety measures that have been implemented as discussed in our April 15th report to the Commission.

c.	Yes – page 60 of the testimony states, “As part of the work previously completed during implementation of Subpart O, SoCalGas and SDG&E have already identified, retrofitted and in-line inspected all pre-1946 transmission pipelines that were constructed using acceptable welding techniques and are operationally suited to in-line inspection.”

The table below summarizes retrofit efforts conducted on pre-1946 pipelines:

| Project | Line | Description | Date |
| --- | --- | --- | --- |
| Line 2000, Phase 8, 1945 | 2000 | Launcher | Nov-05 |
| Santa Fe Springs to Spence | 2000 | Receiver | Jun-05 |
| Line 127-1004, Phase 1, 1944 | 127 ID2569-T | Launcher | Nov-07 |
| Goleta to Rincon | 1004 | Receiver | Nov-07 |
| Line 1004, Phase 2, 1944 | 1004ST3 | Launcher | Nov-07 |
| Rincon to Ventura | 1004ST4 | Receiver | Nov-07 |
| Line 404, Phase 1, 1944 | 404 | Launcher | Oct-07 |
| Ventura to Santa Clara River | 404ST4 | Receiver | Oct-07 |
| Line 404, Phase 2, 1944 | 404 | Launcher | Oct-07 |
| Hwy 23 to Haskell Station | 404ST3 | Receiver | Oct-07 |

QUESTION DAO9-3:

Please provide a copy of PHMSA report No. 05-12R, Evaluating the Stability of Manufacturing and Construction Defects in Natural Gas Pipelines, April 26, 2007.

RESPONSE DAO9-3:

See attached report.

QUESTION DA09-4:

Regarding Sempra’s response to question DAO 3-6, Sempra states that “In Ordering Paragraph 5 of D.11-06-017, the Commission directs California’s pipeline operators to “reflect a timeline for completion that is as soon as practicable.  Given the short time frame allotted for the development of the PSEP, a detailed schedule was not developed.  Rather SoCalGas and SDG&E prepared a high level schedule based on engineering judgment and experience.  It should be noted that the schedule is aggressive and is dependent on support from the Commission to help mitigate execution risks as stated in Section II.E of the testimony.”  Please answer the following questions with regard to this statement.

a.	Provide a detailed explanation of how Sempra decided that the Phase 1A work would be completed in the time frame (2012-2015) proposed?  Provide a copy of all records and/or analyses and/or calculations used to determine this time frame.

b.	Given an increase in the level of work activities, as Sempra has forecasted in the 2012 GRC Application for both SoCalGas and SDG&E, explain in detail how Sempra can be sure that the Phase 1A work activities identified in the PSEP will be completed in the timeframe proposed?

c.	What kind of assurance can Sempra provide to the Commission and ratepayers that the work activities for Phase 1A can be completed in the time frame proposed?

d.	Has Sempra determined if it will be using contractors and/or employees to perform the pressure tests, pipeline replacements, and ILI for the Phase 1A work?

  - Taken as a whole, how much contractor labor will be used for the Phase 1A pressure testing?

  - Taken as a whole, how much contractor labor will be used for the pipeline replacements as part of Phase 1A?

  - Taken as a whole, how much contractor labor will be used for the ILI testing proposed for Phase 1A?

  - Identify the steps that Sempra has taken to secure the contractor labor and the materials and supplies for the proposed jobs for Phase 1A.

  - How successful has Sempra been in securing the contractor labor, materials, and supplies for the proposed jobs for Phase 1A.

RESPONSE DA09-4:

- No specific records, analyses, or calculations were developed or used to prepare the Phase 1A timeline (2012 – 2015).  Per the response to DAO 3-6, SoCalGas and SDG&E prepared a high-level schedule based on engineering judgment and experience.

- The timeframe proposed for completion of Phase 1A is aggressive and ambitious, and meets the Commission directive to present a plan that “must reflect a timeline for completion that is as soon as practicable.”  While SoCalGas and SDG&E will strive to meet this schedule, as stated in testimony Section VIII.A.1:

“the planning and scheduling of these projects can be significantly impacted by outside issues such as permits, material availability, gas system capacity/scheduling and public resistance.  These potential delays and impacts are difficult to predict and plan for.”

Section II.E of testimony also details many of the challenges that could affect the schedule.

Proposals are offered by SoCalGas and SDG&E for ways in which the Commission can help to alleviate some of the challenges, particularly those associated with permitting (see testimony Section II.E).  Also, per Section II.A.1(d):

“The Commission can greatly enhance our ability to meet this ambitious schedule by authorizing the establishment of a Pipeline Safety and Reliability Memorandum Account, as requested in our pending Motion filed May 4, 2011, so that we can begin implementing the Commission’s clear directives in D.11-06-017 right away”

Development of a detailed and accurate schedule for a project of this size requires sufficient completion of engineering and design work, operational planning, permitting studies, community impact studies, and other aspects of project execution planning.  Until this engineering and execution planning is completed, and the extent that the execution challenges and risks indicated in Section II.E can be mitigated, the certainty of the schedule cannot be predicted with certainty.

- See response to DAO9-4(b)

- As stated in Section VIII.A.2 of the testimony, “the PSEP PMO will be comprised of internal SoCalGas and SDG&E personnel, who will reside in a dedicated task force area, and will be supplemented by external engineering companies, consultants, and construction contractors.”

- In the absence of any detailed planning, the cost estimates assumed construction and engineering activities to be carried out by third-party contract labor.  The specific roles of company and contractor labor will be determined after detailed engineering and execution planning has been completed.

- See response to DAO9-4(e)

- See response to DAO9-4(e)

- SoCalGas/SDG&E have begun developing the Request for Information (RFI) that will be sent to prospective program management contractors.  Development of procurement and contracting strategies, including labor surveys, will be completed as part of the detailed engineering and execution planning.

- No contractor labor, materials, or supplies for the proposed jobs for Phase 1A have yet been secured.

QUESTION DAO9-5:

Identify all the pipeline replacement, pressure testing, and ILI projects performed in 2011 YTD, as part of the Interim Safety Enhancements plan.

a.	For each of these projects, identify the line, the number of miles affected, the dates the work activities were performed, and the associated expenses.

b.	Identify the contractor providing the service(s).

c.	Provide a copy of the project cost sheet, wherein DRA can compare and evaluate the various cost elements with SPEC’s proposed cost estimates.

RESPONSE DAO9-5:

- One in-line tranverse field inspection was performed in April 2011 on Line 317.  The segment inspected was 2.14 miles long and follow-up work as part of the assessment process is underway.  Costs will be available once all work is completed.

- For item 9-5a above, Intratech was the in-line inspection vendor.  ARB, Inc. is the construction contractor.

- Work is currently on-going; costs are not available at this time.

QUESTION DAO9-6:

Provide a copy of Sempra’s pressure test procedure or protocol.  If it is different for SDG&E, please so indicate and provide copies of the test procedure for both utilities.

RESPONSE DAO9-6:

SoCalGas and SDG&E provided this response to DRA confidentially under the provisions of  Public Utilities Code Section 583 and GO 66-C.