- Subject:	Gas Transmission Hydrotests

Exhibit Reference: 	Chapter IV, SoCalGas/SDG&E Prepared Testimony in R.11-02-019

and Chapter IX, Cost Workpapers

QUESTION DAO 11-1:

Please provide the following information:

- DRA understands that SoCalGas performed several hydrotests as part of the Transmission Integrity Management Program (TIMP).  The Baseline Assessment Plan Schedule, which is the schedule of the TIMP, shows that the following pipelines have been hydro-tested:

| Pipeline | Segment Name | Segment Length | Completion Date |
| --- | --- | --- | --- |
| 6906 | 1121713 | 12.21 | 02/01/05 |
| 6906 | 1121714 | 4.18 | 02/01/05 |
| 6906 | 1121715 | 1.48 | 02/01/05 |
| PGR6 | 3098771 | 0.25 | 07/07/55 |
| PGR6-D | 3098816 | 0.01 | 07/07/05 |
| PGR6-E | 3098817 | 0.03 | 07/27/05 |
| PGR6-F | 3098813 | 0.02 | 07/07/05 |
| PGR6-F1 | 3098814 | 0.01 | 07/07/05 |
| PGR6-F2 | 3098815 | 0.03 | 07/07/05 |
| PGR6-G | 3098819 | 0.02 | 07/07/05 |
| G80.01 | 3098769 | 0.07 | 07/18/06 |
| G80.02 | 1590190 | 0.01 | 07/18/06 |
| G80.03 | 1590191 | 0.01 | 07/18/06 |

For each of the identified TIMP pipelines above, please provide the following information:

  - Project scope.

  - Cost estimates broken down by materials, construction, SCG labor, and design/engineering estimates.

  - Actual total cost of the project.

  - Confirmation of the pipeline, segment name, length, and completion date;

  - Diameter.

  - Pipeline classification.

  - Vendor/contractor that performed the hydro-test.

RESPONSE DA0 11-1:

See the attached excel files for the information requested.

Notes:

Line PGR6 (D, E, F and G) & Line G80 (.01, .02, and 03): These segments are comprised of more than one diameter of pipe.  The identified diameters of pipe are evenly distributed throughout the identified segment.  With regard to hydrotesting, the differences in diameter are not significant in terms of cost given the relatively small scale of these projects (hundreds of feet rather than thousands of feet). The effort is approximately the same with some small incremental cost increases for the additional water and disposal of same. In contrast, significant differences in diameter (e.g. - a 10" line to 30" line) and/or an appreciable increases in project length, then the cost differences in equipment, labor and materials would be significant

Line 6906: Line 6906 was a new construction project. The cost to hydrotest new pipe, (recognizing that all the available construction resources are mobilized and on site), is significantly lower than in-service testing (e.g. Line PGR-6 and G80).  Typically, the cost to hydrotest in-service segments compared to new construction can be higher by an order of magnitude or more due to the retrofit costs and the additional expense related to disposal of contaminated water.  This project was completed under a collectible work order agreement where the end customer pays the full cost of installation of the pipeline (including hydrotest costs).  There is not a breakdown available for the hydrotest costs.  SoCalGas roughly estimates that cost of the work at less than 0.5% of the total project cost.