SCGC Follow Up Question September 29, 2011

QUESTION 1:

[Please provide] the project specific workpapers for the projects listed at WP-IX-1-51,  WP-IX-1-55, or WP-IX-1-56, either in Appendix IX‐1‐A or in the spreadsheets [that have been provided]

RESPONSE 1:

The attached spreadsheet shows how the costs were calculated for the replacement of pre-1946 pipelines in Phase 1B, as identified in the Chapter IX workpapers on pages WP-IX-1-51, WP-IX-1-55, and WP-IX-1-56.

SCGC Follow Up Question October 3, 2011

QUESTION 2:

Please provide a map for each pipeline that SoCalGas proposes to mitigate that shows the locations of the girth welds/wrinkle bends to be replaced in Phase 1A and in Phase 1B.  If the map for the pressure testing shows the location for the Phase 1A replacements, then you can so indicate.  However, if there are additional locations of the girth welds/wrinkle bends along the pipelines to be pressure tested that do not show up currently on the map, then please add these locations to the pressure testing maps.

RESPONSE 2:

The excel file provided contains all the detail behind the Phase 1B costs for pre-1946 pipe replacement that was used in the filing and Workpapers.  The Workpapers describe the methodology for these estimates for both Transmission and Distribution segments and include the corresponding matrix.

No maps were created to complement these costs like there are for the Phase 1A pipe replacements and hydrotests.  The girth welds and wrinkle bends that contribute to the Phase 1A construction/fabrication threat costs are not identified on any of the maps that were produced for inclusion in the Workpapers.

[SoCalGas/SDG&E] are looking at how best to add these locations to maps and will let you know when maps with the locations are available.

SCGC Follow Up Question October 4, 2011

QUESTION 3:

…SCGC-05, Q.5.2, which asks for a breakdown of the number of girth welds/wrinkle bends by pipeline number for Phase 1A.  Since [SoCalGas/SDG&E] don't yet have maps or specific workpapers showing the work in Phase 1B, would it be possible to get a similar breakdown of the number of girth welds/wrinkle bends by pipeline number for Phase 1B?

RESPONSE 3:

Below is the number of girth welds/wrinkle bends by pipeline number for Phases 1A and 1B.

At this time, we do not plan to add the girth welds/wrinkle bends to maps.

| Pipeline | Wrinkle Bend Count - Phase 1A | Wrinkle Bend Count - Phase 1B | Total |
| --- | --- | --- | --- |
| 404 | 374 | 396 | 770 |
| 406 | 301 | 124 | 425 |
| 407 | 166 | 4 | 170 |
| 1004 | 363 | 237 | 600 |
| 2000 | 2,788 | 216 | 3004 |
| 2001 West | 4 | 1 | 5 |
| 767 | - | 65 | 65 |
| 127 | - | 20 | 20 |
| 1027 | - | 110 | 110 |
| 2002 | - | 31 | 31 |
| Total | 3996 | 1204 | 5200 |