## Portfolio Metrics
Southern California Gas Company
2006-2008 Energy Efficiency Portfolio Benefit/Cost Metrics Report
Quarter Ending December 2007
Table 1: Quarterly Energy Efficiency Portfolio Results
Inception-To-Date
Total Cost to Billpayers (TRC) | 128178123.3813
Total Savings to Billpayers (TRC) | 230066939.6504
Net Benefits to Billpayers (TRC) | 101888816.2691
TRC Ratio | 1.7949
PAC Ratio | 3.7633
PAC Cost per kWh Saved (Cents/kWh) | 0.054613
PAC Cost per therm Saved ($/therm) | 0.21434

## Measure List
Southern California Gas Company
2006-2008 Energy Efficiency Portfolio Summary Report
Quarter Ending December 2007
Table 2: Quarterly Energy Efficiency Measure Results
Program ID | Program Name | Measure Name | Measure Description | DEER Measure ID | DEER Run ID | Unit Definition | End Use | Market Sector | Market Segment | Gross Electric Energy Savings (kWh) | Gross Peak Demand Reduction (kW) | Gross Gas Energy Savings (therms) | Gross Incremental Measure Cost ($) | Net-to-Gross Ratio | Effective Useful Life (years) | Units Installed | Units Commited | Rebate Amount Paid
SCG3502 | Advanced Home Program | 316013 | Single Family, Verified Ducting System, CZ 4 |  |  | Dwelling U | HVAC | Single Family | NA | 43.035 | 0.04717 | 34.535 | 125 | 0.8 | 18 | 24 |  | 2400
SCG3502 | Advanced Home Program | 316014 | Single Family, Verified Ducting System, CZ 5 |  |  | Dwelling U | HVAC | Single Family | NA | 18.935 | 0.02075 | 34.535 | 125 | 0.8 | 18 | 98 |  | 9800
SCG3502 | Advanced Home Program | 316017 | Single Family, Verified Ducting System, CZ 8 |  |  | Dwelling U | HVAC | Single Family | NA | 111.885 | 0.12265 | 13.39 | 125 | 0.8 | 18 | 17 |  | 1700
SCG3502 | Advanced Home Program | 316018 | Single Family, Verified Ducting System, CZ 9 |  |  | Dwelling U | HVAC | Single Family | NA | 271.965 | 0.29813 | 14.975 | 125 | 0.8 | 18 | 47 |  | 4800
SCG3502 | Advanced Home Program | 316019 | Single Family, Verified Ducting System, CZ 10 |  |  | Dwelling U | HVAC | Single Family | NA | 543.93 | 0.59626 | 20.615 | 125 | 0.8 | 18 | 243 |  | 39100
SCG3502 | Advanced Home Program | 316022 | Single Family, Verified Ducting System, CZ 15 |  |  | Dwelling U | HVAC | Single Family | NA | 2874.58 | 3.1512 | 9.865 | 125 | 0.8 | 18 | 24 |  | 4200
SCG3502 | Advanced Home Program | 316023 | Single Family, Quality Insulation Installation, CZ 4 |  |  | Dwelling U | HVAC | Single Family | NA | 96.39 | 0.10566 | 52.51 | 300 | 0.8 | 20 | 109 |  | 19075
SCG3502 | Advanced Home Program | 316024 | Single Family, Quality Insulation Installation, CZ 5 |  |  | Dwelling U | HVAC | Single Family | NA | 37.87 | 0.04151 | 57.09 | 300 | 0.8 | 20 | 119 |  | 20825
SCG3502 | Advanced Home Program | 316025 | Single Family, Quality Insulation Installation, CZ 6 |  |  | Dwelling U | HVAC | Single Family | NA | 24.1 | 0.02641 | 29.95 | 300 | 0.8 | 20 | 2 |  | 350
SCG3502 | Advanced Home Program | 316027 | Single Family, Quality Insulation Installation, CZ 8 |  |  | Dwelling U | HVAC | Single Family | NA | 182.46 | 0.20001 | 27.84 | 300 | 0.8 | 20 | 87 |  | 9600
SCG3502 | Advanced Home Program | 316028 | Single Family, Quality Insulation Installation, CZ 9 |  |  | Dwelling U | HVAC | Single Family | NA | 254.75 | 0.27926 | 14.45 | 300 | 0.8 | 20 | 63 |  | 11025
SCG3502 | Advanced Home Program | 316029 | Single Family, Quality Insulation Installation, CZ 10 |  |  | Dwelling U | HVAC | Single Family | NA | 468.19 | 0.51324 | 38.41 | 300 | 0.8 | 20 | 361 |  | 63175
SCG3502 | Advanced Home Program | 316030 | Single Family, Quality Insulation Installation, CZ 13 |  |  | Dwelling U | HVAC | Single Family | NA | 547.37 | 0.60004 | 52.16 | 300 | 0.8 | 20 | 410 |  | 71750
SCG3502 | Advanced Home Program | 316032 | Single Family, Quality Insulation Installation, CZ 15 |  |  | Dwelling U | HVAC | Single Family | NA | 1270.32 | 1.3925 | 20.79 | 300 | 0.8 | 20 | 278 |  | 48650
SCG3502 | Advanced Home Program | 316033 | Single Family, Tank Less Water Heater, CZ 4 |  |  | Dwelling U | Appliances | Single Family | NA | 0 | 0 | 79.99 | 325 | 0.8 | 15 | 52 |  | 10400
SCG3502 | Advanced Home Program | 316038 | Single Family, Tank Less Water Heater, CZ 9 |  |  | Dwelling U | Appliances | Single Family | NA | 0 | 0 | 83.52 | 325 | 0.8 | 15 | 7 |  | 1400
SCG3502 | Advanced Home Program | 316039 | Single Family, Tank Less Water Heater, CZ 10 |  |  | Dwelling U | Appliances | Single Family | NA | 0 | 0 | 83.52 | 325 | 0.8 | 15 | 90 |  | 19600
SCG3502 | Advanced Home Program | 316040 | Single Family, Tank Less Water Heater, CZ 13 |  |  | Dwelling U | Appliances | Single Family | NA | 0 | 0 | 75.41 | 325 | 0.8 | 15 | 270 |  | 54000
SCG3502 | Advanced Home Program | 316042 | Single Family, Tank Less Water Heater, CZ 15 |  |  | Dwelling U | Appliances | Single Family | NA | 0 | 0 | 73.65 | 325 | 0.8 | 15 | 20 |  | 4000
SCG3502 | Advanced Home Program | 316062 | Multi-family, Maximum Cooling Capacity, CZ 15 |  |  | Dwelling U | HVAC | Multi Family | NA | 1791.18 | 1.9635 | 4.3 | 150 | 0.8 | 15 | 80 |  | 8000
SCG3502 | Advanced Home Program | 316064 | Multi-family, Verified Ducting System, CZ 5 |  |  | Dwelling U | HVAC | Multi Family | NA | 4.5 | 0.00493 | 13.73 | 100 | 0.8 | 18 | 9 |  | 675
SCG3502 | Advanced Home Program | 316065 | Multi-family, Verified Ducting System, CZ 6 |  |  | Dwelling U | HVAC | Multi Family | NA | 4.5 | 0.00493 | 5.68 | 100 | 0.8 | 18 | 23 |  | 1725
SCG3502 | Advanced Home Program | 316067 | Multi-family, Verified Ducting System, CZ 8 |  |  | Dwelling U | HVAC | Multi Family | NA | 59.96 | 0.06572 | 5.52 | 100 | 0.8 | 18 | 54 |  | 4050
SCG3502 | Advanced Home Program | 316069 | Multi-family, Verified Ducting System, CZ 10 |  |  | Dwelling U | HVAC | Multi Family | NA | 259.31 | 0.28426 | 8.75 | 100 | 0.8 | 18 | 387 |  | 29025
SCG3502 | Advanced Home Program | 316072 | Multi-family, Verified Ducting System, CZ 15 |  |  | Dwelling U | HVAC | Multi Family | NA | 1163.89 | 1.2759 | 4.3 | 100 | 0.8 | 18 | 88 |  | 8800
SCG3502 | Advanced Home Program | 316073 | Multi-family, High Quality Insulation Installation, CZ 4 |  |  | Dwelling U | HVAC | Multi Family | NA | 34.47 | 0.03778 | 11.12 | 100 | 0.8 | 20 | 65 |  | 3250
SCG3502 | Advanced Home Program | 316074 | Multi-family, High Quality Insulation Installation, CZ 5 |  |  | Dwelling U | HVAC | Multi Family | NA | 11.99 | 0.01314 | 11.89 | 100 | 0.8 | 20 | 21 |  | 1050
SCG3502 | Advanced Home Program | 316075 | Multi-family, High Quality Insulation Installation, CZ 6 |  |  | Dwelling U | HVAC | Multi Family | NA | 9.74 | 0.01067 | 5.91 | 100 | 0.8 | 20 | 152 |  | 7600
SCG3502 | Advanced Home Program | 316078 | Multi-family, High Quality Insulation Installation, CZ 9 |  |  | Dwelling U | HVAC | Multi Family | NA | 95.18 | 0.10433 | 6.06 | 100 | 0.8 | 20 | 86 |  | 4300
SCG3502 | Advanced Home Program | 316079 | Multi-family, High Quality Insulation Installation, CZ 10 |  |  | Dwelling U | HVAC | Multi Family | NA | 125.91 | 0.13802 | 8.13 | 100 | 0.8 | 20 | 439 |  | 21950
SCG3502 | Advanced Home Program | 316082 | Multi-family, High Quality Insulation Installation, CZ 15 |  |  | Dwelling U | HVAC | Multi Family | NA | 304.28 | 0.33355 | 4.22 | 100 | 0.8 | 20 | 56 |  | 2800
SCG3502 | Advanced Home Program | 316084 | Multi-family, Tank Less Water Heater, CZ 5 |  |  | Dwelling U | Appliances | Multi Family | NA | 0 | 0 | 13.96 | 325 | 0.8 | 15 | 9 |  | 1800
SCG3502 | Advanced Home Program | 316087 | Multi-family, Tank Less Water Heater, CZ 8 |  |  | Dwelling U | Appliances | Multi Family | NA | 0 | 0 | 15.34 | 325 | 0.8 | 13 | 20 |  | 4000
SCG3502 | Advanced Home Program | 316088 | Multi-family, Tank Less Water Heater, CZ 9 |  |  | Dwelling U | Appliances | Multi Family | NA | 0 | 0 | 15.27 | 325 | 0.8 | 15 | 37 |  | 7400
SCG3502 | Advanced Home Program | 316092 | Multi-family, Tank Less Water Heater, CZ 15 |  |  | Dwelling U | Appliances | Multi Family | NA | 0 | 0 | 14.81 | 325 | 0.8 | 15 | 40 |  | 8000
SCG3502 | EED4-Advanced Home Program |  | Commitments | [7 empty] | 8860 | 514421 |  | 0.8 |  |  |  | 3000800
SCG3503 | Education & Training Program | 318004 | Burners and burner related equipment |  |  | Therm | Process | Industrial | NA | 0 | 0 | 1 | 0.78 | 0.74 | 20 | 4093203 |  | 0
SCG3503 | Education & Training Program | 318005 | Equipment repair/upgrades |  |  | Therm | Process | Industrial | NA | 0 | 0 | 1 | 0.05 | 0.74 | 3 | 1301235 |  | 0
SCG3503 | Education & Training Program | 318006 | Maintenance and Tune-up |  |  | Therm | Other | Industrial | NA | 0 | 0 | 1 | 0.03 | 0.74 | 1 | 125074 |  | 0
SCG3507 | SCG Express Efficiency Rebates | 311002 | Greenhouse Heat Curtain | D03-981 | CFRM00AVHtCtn | Sqft | HVAC | Agricultural | 11 | 0 | 0 | 0.32 | 0.49 | 0.96 | 5 | 4553793 |  | 888953.85
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 42 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 598 |  | 1196
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 44 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 346 |  | 692
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 512 |  | 1024
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 54 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 83 |  | 166
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 1700 |  | 3400
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 889 |  | 1778
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 512 |  | 1024
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 1.753 | 6.78 | 0.96 | 15 | 13207.4 |  | 26414.8
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 48 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 30 |  | 60
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 40 |  | 80
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 1530 |  | 3060
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 205 |  | 410
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 80 |  | 160
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 60 |  | 120
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 4 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 2300 |  | 1150
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 1949 |  | 974.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 235 |  | 117.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 12810 |  | 6405
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 3160 |  | 1580
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 3939 |  | 4579.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 13995 |  | 10180.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 31202.8 |  | 21098.9
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 569 |  | 284.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Industrial | 51 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 600 |  | 300
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 140 |  | 280
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 54 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 316 |  | 632
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 879.9 |  | 1919.8
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 367 |  | 734
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 2145.0541 |  | 4461.6
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 4111.3 |  | 8222.6
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 6199.7 |  | 12399.4
SCG3507 | SCG Express Efficiency Rebates | 311010 | Infrared Film for Greenhouses | D03-980 | CFRM07AVIRFlm | Sqft | HVAC | Agricultural | 11 | 0 | 0 | 0.17 | 0.03 | 0.96 | 5 | 2287800 |  | 68634
SCG3507 | SCG Express Efficiency Rebates | 311010 | Infrared Film for Greenhouses | D03-980 | CFRM07AVIRFlm | Sqft | HVAC | Commercial | 44 | 0 | 0 | 0.17 | 0.03 | 0.96 | 5 | 52800 |  | 1584
SCG3507 | SCG Express Efficiency Rebates | 311012 | Space Heating Boiler - Steam |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.32 | 3.57 | 0.96 | 20 | 7200 |  | 1800
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Agricultural | 22 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 1500 |  | 375
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 33 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 12000 |  | 3000
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 42 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 500 |  | 125
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 48 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 750 |  | 187.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 51 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 900 |  | 225
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 9030 |  | 2257.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 1900 |  | 475
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 19740 |  | 4935
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 4200 |  | 1050
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 4912.4483 |  | 2004.75
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 50770 |  | 15130
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 28590 |  | 7147.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 2000 |  | 500
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 51 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 3900 |  | 975
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 54 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 10266 |  | 2791.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Agricultural | 11 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 9068 |  | 6604
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 51 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 3100 |  | 1550
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 4760 |  | 3640
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 17256 |  | 12528
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 6793 |  | 4794.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 12007 |  | 10001.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 5840 |  | 3670
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 31829 |  | 25814.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 15482 |  | 10621
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 4498 |  | 2249
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Commercial | 31 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 20495 |  | 10247.5
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Commercial | 32 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 2000 |  | 1000
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Commercial | 33 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 4000 |  | 2000
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 137547.2 |  | 103272.1
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 32 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 25271.9 |  | 16140.95
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 2560 |  | 1280
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 1999 |  | 3998
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 27295 |  | 54590
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 1910 |  | 3820
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 10869.8 |  | 21739.6
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 3389.9 |  | 6779.8
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 2070 |  | 4140
SCG3507 | SCG Express Efficiency Rebates | 311018 | Process Boiler - Water |  |  | MBtuH | Process | Commercial | 33 | 0 | 0 | 0.54 | 3.57 | 0.96 | 20 | 4600 |  | 2300
SCG3507 | SCG Express Efficiency Rebates | 311018 | Process Boiler - Water |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 0.54 | 3.57 | 0.96 | 20 | 7900 |  | 3950
SCG3507 | SCG Express Efficiency Rebates | 311018 | Process Boiler - Water |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.54 | 3.57 | 0.96 | 20 | 24710 |  | 12355
SCG3507 | SCG Express Efficiency Rebates | 311019 | Direct Contact Water Heater |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 2.45 | 2.17 | 0.96 | 20 | 12391.8367 |  | 24000
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 49 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 2100 |  | 6300
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 51 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 66 |  | 198
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 53 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 46 |  | 138
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 61 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 69 |  | 207
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 81 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 1798.22 |  | 2636.75
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 31 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 4503 |  | 8954.2
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 32 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 150 |  | 450
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 33 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 1200 |  | 2163.84
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 51 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 110 |  | 330
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 49 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 3886 |  | 14868
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Commercial | 81 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 1060 |  | 4240
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 21 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 2432 |  | 8074
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 31 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 1016 |  | 2304.15
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 32 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 30099 |  | 106509.3
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  | SquareFT | Process | Industrial | 33 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 2560 |  | 10240
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 5488 |  | 16464
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Commercial | 49 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 212 |  | 636
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 2000 |  | 6000
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Commercial | 71 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 11 |  | 33
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 235 |  | 705
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 1494 |  | 4191.63
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  | LinearFT | Process | Agricultural | 11 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 2350 |  | 9400
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  | LinearFT | Process | Commercial | 31 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 602 |  | 2408
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  | LinearFT | Process | Commercial | 92 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 90 |  | 360
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  | LinearFT | Process | Industrial | 31 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 2698 |  | 10792
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  | LinearFT | Process | Industrial | 32 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 294 |  | 1176
SCG3507 | SCG Express Efficiency Rebates | 311026 | Tank Insulation - Low Temperature Applic. (LF) 1 in |  |  | SquareFT | Process | Commercial | 61 | 0 | 0 | 3.4 | 2.58 | 0.96 | 20 | 166 |  | 332
SCG3507 | SCG Express Efficiency Rebates | 311026 | Tank Insulation - Low Temperature Applic. (LF) 1 in |  |  | SquareFT | Process | Industrial | 31 | 0 | 0 | 3.4 | 2.58 | 0.96 | 20 | 567 |  | 776.79
SCG3507 | SCG Express Efficiency Rebates | 311027 | Tank Insulation - High Temperature Applic. (LF) 1 in |  |  | SquareFT | Process | Commercial | 61 | 0 | 0 | 9.7 | 2.58 | 0.96 | 20 | 224 |  | 185.64
SCG3507 | SCG Express Efficiency Rebates | 311027 | Tank Insulation - High Temperature Applic. (LF) 1 in |  |  | SquareFT | Process | Industrial | 31 | 0 | 0 | 9.7 | 2.58 | 0.96 | 20 | 399.0515 |  | 1106.86
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 2010 |  | 4020
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Commercial | 49 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 40 |  | 80
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 3392 |  | 6722.37
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Commercial | 62 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 231 |  | 236.88
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Commercial | 71 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 106 |  | 212
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 1704 |  | 3217.82
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 1302 |  | 2445.72
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 900 |  | 1591.8
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 501 |  | 1503
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Commercial | 42 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 600 |  | 1800
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 190 |  | 570
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Commercial | 62 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 12 |  | 36
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 2240 |  | 4740.24
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Commercial | 92 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 86 |  | 258
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 4802 |  | 12921.9
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 430 |  | 1290
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 80 |  | 211.91
SCG3507 | SCG Express Efficiency Rebates | 311032 | Energy Star Clothes Washer - 3.5 cf Tier III MEF=1.8 | D03-951 | RRes00AVC3T3D | Clothes Wa | Process | Commercial | 56 | 0 | 0 | 69.75 | 764.91 | 0.96 | 10 | 1 |  | 75
SCG3507 | SCG Express Efficiency Rebates | 311032 | Energy Star Clothes Washer - 3.5 cf Tier III MEF=1.8 | D03-951 | RRes00AVC3T3D | Clothes Wa | Process | Commercial | 81 | 0 | 0 | 69.75 | 764.91 | 0.96 | 10 | 3 |  | 225
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 33 | 0 | 0 | 139 | 223 | 0.96 | 15 | 22 |  | 2200
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 42 | 0 | 0 | 139 | 223 | 0.96 | 15 | 30 |  | 3000
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 49 | 0 | 0 | 139 | 223 | 0.96 | 15 | 1 |  | 100
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 54 | 0 | 0 | 139 | 223 | 0.96 | 15 | 14 |  | 1379
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 56 | 0 | 0 | 139 | 223 | 0.96 | 15 | 25 |  | 2500
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 139 | 223 | 0.96 | 15 | 93 |  | 8870
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 139 | 223 | 0.96 | 15 | 3 |  | 300
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 139 | 223 | 0.96 | 15 | 40 |  | 4000
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 139 | 223 | 0.96 | 15 | 24411 |  | 2398985.99
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Commercial | 92 | 0 | 0 | 139 | 223 | 0.96 | 15 | 9 |  | 900
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 139 | 223 | 0.96 | 15 | 107 |  | 10586
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Industrial | 32 | 0 | 0 | 139 | 223 | 0.96 | 15 | 101.0935 |  | 600
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 139 | 223 | 0.96 | 15 | 234.3957 |  | 16974
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Commercial | 62 | 0 | 0 | 638 | 180 | 0.96 | 15 | 34 |  | 3400
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Commercial | 81 | 0 | 0 | 638 | 180 | 0.96 | 15 | 25 |  | 2380
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Industrial | 32 | 0 | 0 | 638 | 180 | 0.96 | 15 | 85 |  | 8500
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Commercial | 31 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 20 |  | 2000
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Commercial | 32 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 29 |  | 2900
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Commercial | 33 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 19 |  | 1900
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Commercial | 81 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 88 |  | 8800
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 31 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 165 |  | 16457
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 32 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 438 |  | 43800
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 33 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 191 |  | 18480
SCG3507 | SCG Express Efficiency Rebates | 311036 | Steam Trap Replacement - Commercial <12hr/day (Dry Cleaners) |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 139 | 77 | 0.96 | 6 | 4414 |  | 439935.94
SCG3507 | SCG Express Efficiency Rebates | 311036 | Steam Trap Replacement - Commercial <12hr/day (Dry Cleaners) |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 139 | 77 | 0.96 | 6 | 105 |  | 10488
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 49 | 0 | 0 | 638 | 180 | 0.96 | 6 | 20 |  | 2000
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 56 | 0 | 0 | 638 | 180 | 0.96 | 6 | 2 |  | 200
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 638 | 180 | 0.96 | 6 | 22 |  | 2167
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 638 | 180 | 0.96 | 6 | 1 |  | 100
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 638 | 180 | 0.96 | 6 | 30 |  | 3000
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 638 | 180 | 0.96 | 6 | 60 |  | 5999.5
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Industrial | 54 | 0 | 0 | 638 | 180 | 0.96 | 6 | 6 |  | 600
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Commercial | 31 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 3 |  | 600
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Commercial | 32 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 18 |  | 2508
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 394 |  | 74062
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 32 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 569 |  | 109874.51
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 151 |  | 26867.42
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Commercial | 72 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 9 |  | 18
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 120 |  | 126
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 144 |  | 288
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 6746 |  | 13492
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 51 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 69 |  | 138
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 53 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 99 |  | 198
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 236 |  | 472
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 62 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 320 |  | 640
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 72 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 141 |  | 282
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 1720 |  | 3311
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 2520 |  | 5018.22
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 850 |  | 1700
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 1804 |  | 3608
SCG3507 | SCG Express Efficiency Rebates | 311041 | Pipe Insulation - Low pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 6.1 | 14.37 | 0.96 | 20 | 1658 |  | 3473.48
SCG3507 | SCG Express Efficiency Rebates | 311041 | Pipe Insulation - Low pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 6.1 | 14.37 | 0.96 | 20 | 42 |  | 65.87
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 31 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 748 |  | 2154
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 71 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 920 |  | 2760
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 1719 |  | 4008.72
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 132 |  | 279.18
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 450 |  | 1350
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 660 |  | 1980
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 81 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 30713 |  | 90007.48
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 31 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 612 |  | 1353.24
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 32 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 910 |  | 1188.66
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 33 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 387 |  | 1161
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 2185 |  | 6555
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 31 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 1879 |  | 5637
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 16654 |  | 49439.2
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 5397 |  | 14550.13
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 3493 |  | 8991.61
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 588 |  | 1764
SCG3510 | Multi-Family Rebate Program | 312002 | Natural Gas Storage Water Heater (EF>= 0.62) | D03-938 | RMFM10AVWHGTa | Hot Water | Appliances | Multi Family | NA | 0 | 0 | 10.078 | 175.29 | 0.89 | 13 | 499 |  | 14970
SCG3510 | Multi-Family Rebate Program | 312003 | Central Gas Furnace 90% AFUE | D03-410 | Average of DEER Measures | per 38 kBt | HVAC | Multi Family | NA | 0 | 0 | 22.382 | 253.08 | 0.89 | 18 | 15 |  | 3000
SCG3510 | Multi-Family Rebate Program | 312004 | Attic Insulation | D03-422 | Average of DEER Measures | 1000 sqft | HVAC | Multi Family | NA | 0.17975 | 0.0001 | 0.04524 | 0.75 | 0.89 | 20 | 75354 |  | 11303.1
SCG3510 | Multi-Family Rebate Program | 312005 | Wall Insulation | D03-438 | RMFm1075RW413 | sqft | HVAC | Multi Family | NA | 0.09736 | 0.00014 | 0.06107 | 1.32 | 0.89 | 20 | 12562 |  | 1884.3
SCG3510 | Multi-Family Rebate Program | 312008 | Central System Natural Gas Water Heater |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 257 | 1701 | 0.89 | 15 | 502 |  | 251000
SCG3510 | Multi-Family Rebate Program | 312008 | Central System Natural Gas Water Heater |  |  | Unit | Appliances | Single Family | NA | 0 | 0 | 257 | 1701 | 0.89 | 15 | 1 |  | 500
SCG3510 | Multi-Family Rebate Program | 312009 | Central System Gas Boiler: Water Heating Only |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 750 | 4060 | 0.89 | 20 | 237 |  | 355500
SCG3510 | Multi-Family Rebate Program | 312010 | Central System Gas Boiler: Space and Water Heating |  |  | Unit | HVAC | Multi Family | NA | 0 | 0 | 1900 | 4060 | 0.89 | 20 | 16 |  | 24000
SCG3510 | Multi-Family Rebate Program | 312012 | Gas Wtr Htr Controller (<30 units) Pre 1970 (Digital) |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 1125 | 1400 | 0.89 | 10 | 14 |  | 10500
SCG3510 | Multi-Family Rebate Program | 312014 | Gas Wtr Htr Controller (>= 30 units) Pre 1970 |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 2250 | 1550 | 0.89 | 10 | 13 |  | 9750
SCG3510 | Multi-Family Rebate Program | 312014 | Gas Wtr Htr Controller (>= 30 units) Pre 1970 (Digital) |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 2250 | 1550 | 0.89 | 10 | 96 |  | 144000
SCG3510 | Multi-Family Rebate Program | 312015 | Gas Wtr Htr Controller (<30 units) Post 1970 (Digital) |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 850 | 1400 | 0.89 | 10 | 124 |  | 93000
SCG3510 | Multi-Family Rebate Program | 312017 | Clothes Washer Energy Star Tier II MEF = 1.60 (In Coin-Op Laundry Area) | D03-950 | RRes00AVC3T2D | Clothes Wa | Appliances | Multi Family | NA | 0 | 0 | 101.77 | 852.99 | 0.8 | 10 | 10 |  | 1500
SCG3510 | Multi-Family Rebate Program | 312021 | Energy Star Dishwasher Tier I (EF=.62) | D03-953 | RMFM00AVDW160 | Dishwasher | Appliances | Multi Family | NA | 0 | 0 | 3.9 | 183.64 | 0.8 | 13 | 252 |  | 7560
SCG3510 | Multi-Family Rebate Program | 312022 | Energy Star Dishwasher Tier II (EF=.68+) | D03-953 | RMFM00AVDW160 | Dishwasher | Appliances | Multi Family | NA | 0 | 0 | 4.9 | 383.64 | 0.8 | 13 | 751 |  | 37550
SCG3510 | Multi-Family Rebate Program | 312022 | Energy Star Dishwasher Tier II (EF=.68+) | D03-953 | RMFM00AVDW160 | Dishwasher | Appliances | Single Family | NA | 0 | 0 | 4.9 | 383.64 | 0.8 | 13 | 1 |  | 50
SCG3510 | Multi-Family Rebate Program | 312023 | Central gas Furnace 92% AFUE | D03-411 | Average of DEER Measures | 38 kBtuh u | HVAC | Multi Family | NA | 0 | 0 | 25.992 | 289.94 | 0.89 | 18 | 1 |  | 200
SCG3510 | Multi-Family Rebate Program | 312026 | Clothes Washer Energy Star Tier III MEF = 1.80 (In Coin-Op Laundry Area) | D03-951 | RRes00AVC3T3D | Clothes Wa | Appliances | Mobile Homes | NA | 0 | 0 | 35.4 | 518.78 | 0.8 | 10 | 2 |  | 300
SCG3510 | Multi-Family Rebate Program | 312026 | Clothes Washer Energy Star Tier III MEF = 1.80 (In Coin-Op Laundry Area) | D03-951 | RRes00AVC3T3D | Clothes Wa | Appliances | Multi Family | NA | 0 | 0 | 35.4 | 518.78 | 0.8 | 10 | 6 |  | 900
SCG3510 | Multi-Family Rebate Program | 312027 | Gas Wtr Htr Controller (>=30 units) Post 1970 |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 1699 | 1550 | 0.89 | 10 | 56 |  | 42000
SCG3510 | Multi-Family Rebate Program | 312027 | Gas Wtr Htr Controller (>=30 units) Post 1970 (Digital) |  |  | Unit | Appliances | Multi Family | NA | 0 | 0 | 1699 | 1550 | 0.89 | 10 | 486 |  | 729000
SCG3510 | Multi-Family Rebate Program | 312029 | Energy Star Dishwasher Tier I (EF=.65) | D03-953 | RMFM00AVDW160 | Dishwasher | Appliances | Multi Family | NA | 0 | 0 | 3.75 | 133.64 | 0.89 | 5 | 1 |  | 30
SCG3511 | Savings By Design SCG SCE Program | 313005 | Misc (per Therm) |  |  | Therm | HVAC | Industrial | NA | 0 | 0 | 1 | 2.53 | 0.94 | 15 | 530655 |  | 318084.2
SCG3512 | Savings By Design SCG Muni Program | 313017 | Whole Bldg (per Therm) |  |  | Building | HVAC | Commercial | NA | 0 | 0 | 1 | 2.97 | 0.82 | 15 | 1975 |  | 955
SCG3512 | Savings By Design SCG Muni Program | 317003 | Misc (per Therm) |  |  | Building | HVAC | Industrial | NA | 0 | 0 | 1 | 2.53 | 0.94 | 15 | 1438049 |  | 623780
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Agricultural | 11 | 0 | 0 | 323 | 3144 | 1 | 12 | 4 |  | 2000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 44 | 0 | 0 | 323 | 3144 | 1 | 12 | 5 |  | 2500
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 45 | 0 | 0 | 323 | 3144 | 1 | 12 | 1 |  | 500
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 53 | 0 | 0 | 323 | 3144 | 1 | 12 | 3 |  | 1500
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 323 | 3144 | 1 | 12 | 118 |  | 59000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 323 | 3144 | 1 | 12 | 12 |  | 6000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 71 | 0 | 0 | 323 | 3144 | 1 | 12 | 16 |  | 8000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 323 | 3144 | 1 | 12 | 110 |  | 55000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 323 | 3144 | 1 | 12 | 9 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 323 | 3144 | 1 | 12 | 10 |  | 5000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 323 | 3144 | 1 | 12 | 2 |  | 1000
SCG3513 | SCG Local Business Energy Effic. | 314003 | EER Griddle |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 88 | 4575 | 1 | 12 | 27 |  | 3375
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  | Unit | Process | Commercial | 44 | 0 | 0 | 505 | 3796 | 1 | 12 | 11 |  | 5500
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 505 | 3796 | 1 | 12 | 207 |  | 103500
SCG3513 | SCG Local Business Energy Effic. | 314008 | PER Furnace Replacement |  |  | Therm | HVAC | Industrial | 33 | 0 | 0 | 1 | 4.79 | 0.8 | 20 | 103477 |  | 84994.7
SCG3513 | SCG Local Business Energy Effic. | 314010 | PER Oven Replacement |  |  | Therm | Process | Industrial | 31 | 0 | 0 | 1 | 2.5 | 0.8 | 20 | 35710 |  | 25000
SCG3513 | SCG Local Business Energy Effic. | 314010 | PER Oven Replacement |  |  | Therm | Process | Industrial | 33 | 0 | 0 | 1 | 2.5 | 0.8 | 20 | 14435 |  | 11548
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Agricultural | 11 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 55121 |  | 13112.7
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Commercial | 22 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 41881 |  | 9783.49
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Commercial | 72 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 24770 |  | 18000
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Commercial | 81 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 188675 |  | 68990.7
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Industrial | 31 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 291837 |  | 89179.51
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Industrial | 32 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 151370 |  | 10433.66
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Industrial | 33 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 65384 |  | 30196
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  | Therm | Process | Industrial | 54 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 10147 |  | 6254.48
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  | Therm | Process | Commercial | 72 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 18902 |  | 15121.6
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  | Therm | Process | Commercial | 81 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 154767 |  | 113275.05
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  | Therm | Process | Industrial | 31 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 137966 |  | 89233.8
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  | Therm | Process | Industrial | 32 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 129081 |  | 34853.11
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  | Therm | Process | Industrial | 33 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 83934 |  | 61217.6
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Agricultural | 11 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 133683 |  | 33829.1
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 31 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 75926 |  | 8004.37
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 32 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 22219 |  | 745.8
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 33 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 32078 |  | 2611.01
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 72 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 29482 |  | 6600
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 81 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 95434 |  | 29646.5
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Commercial | 92 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 65654 |  | 25000
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Industrial | 21 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 11372 |  | 5378.2
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Industrial | 31 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 564473 |  | 176297.92
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Industrial | 32 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 662906 |  | 73051.69
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  | Therm | Process | Industrial | 33 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 82426 |  | 33317.43
SCG3513 | SCG Local Business Energy Effic. | 314014 | PER Engine Rebuild/Replacement |  |  | Therm | Process | Agricultural | 11 | 0 | 0 | 1 | 4.16 | 0.8 | 15 | 5669 |  | 4259.31
SCG3513 | SCG Local Business Energy Effic. | 314014 | PER Engine Rebuild/Replacement |  |  | Therm | Process | Agricultural | 22 | 0 | 0 | 1 | 4.16 | 0.8 | 15 | 76830 |  | 54841.1
SCG3513 | SCG Local Business Energy Effic. | 314015 | PER Pump Rebuild/Replacement |  |  | Therm | Process | Agricultural | 11 | 0 | 0 | 1 | 1.63 | 0.8 | 15 | 2078 |  | 1662.4
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 42 | 0 | 0 | 403 | 21797 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 44 | 0 | 0 | 403 | 21797 | 1 | 12 | 34 |  | 25500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 51 | 0 | 0 | 403 | 21797 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 403 | 21797 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 403 | 21797 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 71 | 0 | 0 | 403 | 21797 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 403 | 21797 | 1 | 12 | 22 |  | 16500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Commercial | NA | 0 | 0 | 403 | 21797 | 1 | 12 | 8 |  | 6000
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 403 | 21797 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314023 | EER Cabinet Steamer Tier I |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 2084 | 6221 | 1 | 12 | 2 |  | 1500
SCG3513 | SCG Local Business Energy Effic. | 314023 | EER Cabinet Steamer Tier I |  |  | Unit | Process | Commercial | 71 | 0 | 0 | 2084 | 6221 | 1 | 12 | 1 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314046 | EER Cabinet Steamer Tier II |  |  | unit | Process | Commercial | 71 | 0 | 0 | 8.67 | 11.11 | 1 | 12 | 240.3691 |  | 750
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Agricultural | 11 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 141617.5317 |  | 161528
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 31 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 61550.865 |  | 266823
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 32 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 382737.6009 |  | 763922.5
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 54 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 30298.9619 |  | 146346
SCG3513 | SCG Local Business Energy Effic. | 314047 | EER Large Vat Fryers |  |  | Unit | Other | Commercial | 72 | 0 | 0 | 578 | 3122 | 1 | 12 | 6 |  | 3000
SCG3513 | SCG Local Business Energy Effic. | 314048 | EER Single Rack Oven |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 1034 | 8221 | 1 | 12 | 1 |  | 1000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Commercial | 44 | 0 | 0 | 2104 | 8646 | 1 | 12 | 10 |  | 20000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 2104 | 8646 | 1 | 12 | 1 |  | 2000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 2104 | 8646 | 1 | 12 | 11 |  | 22000
SCG3513 | SCG Local Business Energy Effic. | 314050 | PER Boiler Replacement |  |  | Therm | HVAC | Commercial | NA | 0 | 0 | 1 | 2.44 | 1 | 20 | 36899 |  | 16805.19
SCG3513 | SCG Local Business Energy Effic. | 314050 | PER Boiler Replacement |  |  | Therm | HVAC | Industrial | 31 | 0 | 0 | 1 | 2.44 | 1 | 20 | 465586 |  | 41288
SCG3513 | NRF4-Local Business Energy Efficiency Program |  | Commitments | [8 empty] | 10884706 |  | 1 |  |  |  | 5293874
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWHGTa | Hot Water | Appliances | Mobile Homes | NA | 0 | 0 | 11.222 | 175.29 | 0.89 | 13 | 70 |  | 2100
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWHGTa | Hot Water | Appliances | Multi Family | NA | 0 | 0 | 11.222 | 175.29 | 0.89 | 13 | 2 |  | 60
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWHGTa | Hot Water | Appliances | Single Family | NA | 0 | 0 | 11.222 | 175.29 | 0.89 | 13 | 9214 |  | 276000
SCG3517 | Home Efficiency Rebate Program | 315003 | Central Gas Furnace 90% AFUE | D03-410 | Average of DEER Measures | 72 kBtuh u | HVAC | Mobile Homes | NA | 0 | 0 | 34.56 | 479.52 | 0.89 | 18 | 2 |  | 200
SCG3517 | Home Efficiency Rebate Program | 315003 | Central Gas Furnace 90% AFUE | D03-410 | Average of DEER Measures | 72 kBtuh u | HVAC | Single Family | NA | 0 | 0 | 34.56 | 479.52 | 0.89 | 18 | 244 |  | 24400
SCG3517 | Home Efficiency Rebate Program | 315004 | Attic Insulation | D03-422 | Average of DEER Measures | sqft | HVAC | Mobile Homes | NA | 0.16305 | 9e-05 | 0.03133 | 0.75 | 0.89 | 20 | 10932 |  | 1639.8
SCG3517 | Home Efficiency Rebate Program | 315004 | Attic Insulation | D03-422 | Average of DEER Measures | sqft | HVAC | Single Family | NA | 0.16305 | 9e-05 | 0.03133 | 0.75 | 0.89 | 20 | 16991720 |  | 2543107.2
SCG3517 | Home Efficiency Rebate Program | 315005 | Wall Insulation | D03-438 | RSFm1075RW413 | sqft | HVAC | Mobile Homes | NA | 0.41389 | 0.00018 | 0.09927 | 1.32 | 0.89 | 20 | 5024 |  | 753.6
SCG3517 | Home Efficiency Rebate Program | 315005 | Wall Insulation | D03-438 | RSFm1075RW413 | sqft | HVAC | Single Family | NA | 0.41389 | 0.00018 | 0.09927 | 1.32 | 0.89 | 20 | 7013060 |  | 1047444.6
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW215 | Dishwasher | Appliances | Mobile Homes | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 190 |  | 5700
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW215 | Dishwasher | Appliances | Multi Family | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 6 |  | 180
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW215 | Dishwasher | Appliances | Single Family | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 18592 |  | 557760
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3T1D | Clothes Wa | Appliances | Mobile Homes | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 250 |  | 8750
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3T1D | Clothes Wa | Appliances | Multi Family | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 6 |  | 210
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3T1D | Clothes Wa | Appliances | Single Family | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 48350 |  | 1692330
SCG3517 | Home Efficiency Rebate Program | 315009 | Clothes Washer Tier II | D03-950 | RRes00AVC3T2D | Clothes Wa | Appliances | Single Family | NA | 0 | 0 | 21.8569 | 606.86 | 0.89 | 14 | 232 |  | 8050
SCG3517 | Home Efficiency Rebate Program | 315014 | Central Gas Furnace 92% AFUE | D03-411 | Average of DEER Measures | 72 kBtuh u | HVAC | Mobile Homes | NA | 0 | 0 | 40.176 | 549.36 | 0.89 | 18 | 72 |  | 14400
SCG3517 | Home Efficiency Rebate Program | 315014 | Central Gas Furnace 92% AFUE | D03-411 | Average of DEER Measures | 72 kBtuh u | HVAC | Single Family | NA | 0 | 0 | 40.176 | 549.36 | 0.89 | 18 | 7384 |  | 1471000
SCG3517 | Home Efficiency Rebate Program | 315016 | Faucet Aerators | D03-934 | RSFM10AVWHFau | Household | Appliances | Single Family | NA | 0 | 0 | 6.733 | 7.11 | 0.89 | 9 | 404 |  | 1122
SCG3517 | Home Efficiency Rebate Program | 315017 | Low Flow Showerhead | D03-937 | RSFM10AVWHShw | Showerhead | Appliances | Single Family | NA | 0 | 0 | 8.978 | 22.94 | 0.89 | 10 | 24 |  | 110
SCG3517 | Home Efficiency Rebate Program | 315022 | Tankless Water Heater EF=0.80 | D03-940 | RSFM10AVWHPou | Tank, WtrH | Appliances | Single Family | NA | 0 | 0 | 33.667 | 370.63 | 0.89 | 20 | 1120 |  | 224000
SCG3517 | Home Efficiency Rebate Program | 315032 | Pipe Wrap |  |  | Household | Water Heating | Single Family | NA | 0 | 0 | 8.978 | 3.7 | 0.89 | 15 | 30 |  | 24
SCG3517 | Home Efficiency Rebate Program | 315033 | Energy Star Dish Washer EF=0.65 | D03-952 | RSFM00AVDW215 | Dishwasher | Appliances | Mobile Homes | NA | 0 | 0 | 4.36 | 426.29 | 0.8 | 13 | 210 |  | 6300
SCG3517 | Home Efficiency Rebate Program | 315033 | Energy Star Dish Washer EF=0.65 | D03-952 | RSFM00AVDW215 | Dishwasher | Appliances | Single Family | NA | 0 | 0 | 4.36 | 426.29 | 0.8 | 13 | 20828 |  | 623880
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3T2D | Clothes Wa | Appliances | Mobile Homes | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 250 |  | 8750
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3T2D | Clothes Wa | Appliances | Multi Family | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 2 |  | 70
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3T2D | Clothes Wa | Appliances | Single Family | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 44970 |  | 1571990
SCG3517 | Home Efficiency Rebate Program | 354001 | Faucet Aerators/Self Install | D03-934 | RSFM10AVWHFau | Household | Water Heating | Single Family | NA | 0 | 0 | 2.7092 | 0 | 0.8 | 9 | 90024 |  | 0
SCG3517 | Home Efficiency Rebate Program | 354002 | Low Flow Showerhead/Self Install | D03-937 | RSFM10AVWHShw | Showerhead | Water Heating | Single Family | NA | 0 | 0 | 5.92 | 0 | 0.8 | 10 | 92066 |  | 0
SCG3518 | IOU/Community College Partnership | 324001 | Gas Measures |  |  | Therm | Process | Commercial | 61 | 0 | 0 | 1 | 1.8 | 0.8 | 10 | 86444
SCG3520 | IOU/UC/CSU Partnership | 323001 | Gas Measures |  |  | Therm | Process | Commercial | 61 | 0 | 0 | 1 | 1.8 | 0.8 | 10 | 64819
SCG3523 | Bakersfield Kern Partnership | 326003 | Faucet Aerators-MF | D03-934 | RMFM14AVWHFau | Household | Water Heating | Multi Family | NA | 0 | 0 | 6.047 | 12.69 | 0.89 | 9 | 42
SCG3523 | Bakersfield Kern Partnership | 326003 | Faucet Aerators-MF | D03-934 | RMFM14AVWHFau | Household | Water Heating | Single Family | NA | 0 | 0 | 6.047 | 12.69 | 0.89 | 9 | 50
SCG3523 | Bakersfield Kern Partnership | 326004 | Faucet Aerators-SF | D03-934 | RSFM14AVWHFau | Household | Water Heating | Single Family | NA | 0 | 0 | 6.733 | 12.69 | 0.89 | 9 | 162
SCG3523 | Bakersfield Kern Partnership | 326006 | Low Flow Showerhead-SF | D03-937 | RSFM14AVWHShw | Showerhead | Water Heating | Single Family | NA | 0 | 0 | 8.978 | 37.94 | 0.89 | 10 | 77
SCG3526 | California Urban Water Conservation Council | 328004 | Spray Valve 3 Year |  |  | Unit | Process | Commercial | NA | 0 | 0 | 317.58 | 81 | 0.8 | 3 | 2532
SCG3527 | Los Angeles County partnership | 329001 | Gas Measures |  |  | Therm | Process | Commercial | 62 | 0 | 0 | 1 | 1.8 | 0.8 | 15 | 33238
SCG3527 | Los Angeles County partnership | 329001 | Gas Measures |  |  | Therm | Process | Commercial | 92 | 0 | 0 | 1 | 1.8 | 0.8 | 15 | 309144
SCG3536 | 3P Constant Volume Retrofit Program (CVRP) | 349001 | DART-1 |  |  | sq.ft. | Process | Commercial | 61 | 3 | 0.00045 | 0.09433 | 1.32 | 0.8 | 10 | 27794 |  | 175102.2
SCG3538 | 3P Gas Cooling Upgrade Program | 345001 | Gas Cooling Unit Upgrade |  |  | Units | HVAC | Multi Family | NA | 0 | 0 | 864.6141 | 1000 | 0.8 | 15 | 17 |  | 8875
SCG3538 | 3P Gas Cooling Upgrade Program | 345001 | Gas Cooling Unit Upgrade |  |  | Units | HVAC | Single Family | NA | 0 | 0 | 864.6141 | 1000 | 0.8 | 15 | 2 |  | 875
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348001 | Duct Test and Seal (Combined SCG & SCE) |  |  | Per Unit | HVAC | Mobile Homes | NA | 0 | 0 | 35 | 295.74 | 0.89 | 18 | 2414 |  | 380518.8
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348003 | Pipe Wrap - EEC |  |  | Per Unit | Other | Mobile Homes | NA | 0 | 0 | 8.978 | 40 | 0.89 | 10 | 152 |  | 5130.48
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348004 | Faucet Aerator - EEC |  |  | Per Unit | Other | Mobile Homes | NA | 0 | 0 | 6.733 | 12.7 | 0.89 | 9 | 3418 |  | 37215.17
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348005 | Low Flow Showerheads - EEC |  |  | Per Unit | Other | Mobile Homes | NA | 0 | 0 | 8.978 | 37.95 | 0.89 | 10 | 3116 |  | 105040.36
SCG3542 | NEW6-Savings By Design SCG SCE Program |  | Commitments | [8 empty] | 1127938 |  | 1 |  |  |  | 2903927
SCG3544 | EEC - Domestic Hot Water Controls | 356001 | EDC Domestic Hot Water Control Program |  |  | Hotel Room | Water Heating | Commercial | 72 | 0 | 0 | 25 | 0 | 0.8 | 15 | 553 |  | 13244.35

## Expenditures
Southern California Gas Company
2006-2008 Energy Efficiency Expenditures Report
Quarter Ending December 2007
Table 3: Quarterly Program Expenditures
Program ID | Program Name | Adopted Program Budget (3 - Yr) | Program Operating Budget (3 - Yr) | Administrative Costs | Marketing/ Advertising/ Outreach Costs | Direct Implementation Costs | Total Expenditures
SCG3533 | 3P Alliance Partners Program | 3270000 | 3505276.7578 | 52368.5447 | 483.95 | 1950861.7 | 2003714.1947
SCG3532 | 3P Chinese Language Efficiency Outreach Program | 455181 | 456851.1719 | 130324.62 | 107495.78 | 0 | 237820.4
SCG3536 | 3P CVRP | 1290000 | 876149.7578 | 143820.75 | 34817.04 | 175648.34 | 354286.13
SCG3537 | 3P Designed_for_Comfort | 1123133 | 1358409.7578 | 39034.61 | 594498.7 | 194307.04 | 827840.35
SCG3529 | 3P Energy Efficiency Kiosk Pilot Program | 900000 | 736851.1719 | 75984.66 | 484871.4 | 14386.81 | 575242.87
SCG3538 | 3P Gas_Cooling_Upgrade | 944582 | 1101433.1719 | 46903.41 | 677.89 | 336519.69 | 384100.99
SCG3540 | 3P Laundry_Coin-op_Program | 7707056 | 5835447.7578 | 256422.73 | 979032.5 | 773130.29 | 2008585.52
SCG3534 | 3P LivingWise | 985500 | 1220776.7578 | 30286.28 | 0 | 14533.57 | 44819.85
SCG3539 | 3P Manufactured_Mobile_Home_Program | 4572000 | 4728851.1719 | 22231.29 | 2184.82 | 2000775.24 | 2025191.35
SCG3531 | 3P PACE Energy Efficient Ethnic Outreach Program | 2915629 | 3072480.1719 | 75866.93 | 354403.83 | 779142.43 | 1209413.19
SCG3530 | 3P Portfolio of the Future | 2905000 | 3140276.7578 | 52742.11 | 13728.75 | 821103.64 | 887574.5
SCG3541 | 3P Upstream/Midstream Gas Heat | 6019189 | 0 | 5061.3718 | 0 | 8987.5 | 14048.8718
SCG3535 | 3P VESM_Advantage | 1935000 | 2128051.1719 | 315598.42 | 483.95 | 12296.32 | 328378.69
SCG3544 | 3P EDC Domestic Hot Water Controls | 776616 | 776616 | 34945.16 | 11619.73 | 15788.15 | 62353.04
SCG3545 | 3P Demand Based Ventilation Program | 189600 | 189600 | 8604.42 | 21.85 | 0 | 8626.27
SCG3523 | BKP4-Bakersfield Kern Partnership | 750000 | 735134.3019 | 40218.7796 | 2842.5 | 37067.2 | 80128.4796
SCG3518 | CCP4-IOU/Community College Partnership | 2000000 | 1960360.9202 | 91170.7319 | 98 | 130584.48 | 221853.2119
SCG3519 | CDC4-CA Department of Corrections Partnership | 631000 | 618494.4464 | 42548.874 | 0 | 21735.5473 | 64284.4213
SCG3501 | CS4-Codes & Standards Program | 900000 | 882161.5094 | 52223.6187 | 0 | 217622.5 | 269846.1187
SCG3526 | CUW4-California Urban Water Conservation Council | 1299000 | 1273247.4681 | 355440.8186 | 34790 | 0 | 390230.8186
SCG3525 | EC4-Energy Coalition - Direct Install | 456000 | 446961.6527 | 40298.0514 | 5389.34 | 41194.06 | 86881.4514
SCG3524 | EC5-Energy Coalition - Peak | 1374000 | 1346766.0406 | 110417.0579 | 61771.27 | 96915.69 | 269104.0179
SCG3502 | EED4-Advanced Home Program | 8750000 | 8579843.5425 | 585171.0882 | 469964.95 | 2707110.8 | 3762246.8382
SCG3503 | EET4-Education & Training Program | 6450000 | 6323690.7191 | 593088.6365 | 10165.15 | 2903232.94 | 3506486.7265
SCG3504 | EMO4-Energy Efficiency Delivery Channel Innovation Prog | 3000000 | 2940536.9636 | 201930.4686 | 1102025.16 | 275212.0337 | 1579167.6622
SCG3506 | ETP4-Emerging Tech Program | 3000000 | 2940537.1811 | 492808.6135 | 7500 | 783391.93 | 1283700.5435
SCG3507 | EXP4-Express Efficiency Rebate Program | 22101237 | 21673195.0262 | 1488468.8858 | 2580264.2736 | 6272675.59 | 10341408.7494
SCG3509 | HES4-Home Energy Efficiency Survey | 1900000 | 1862569.1295 | 198571.9724 | 827694.85 | 110798.13 | 1137064.9524
SCG3527 | LAP4-Los Angeles County partnership | 1500000 | 1470268.5952 | 83187.9179 | 0 | 152430 | 235617.9179
SCG3510 | MFR4-Multi-Family Rebate Program | 9500000 | 9315899.6726 | 469638.7693 | 73547.62 | 1988040.24 | 2531226.6293
SCG3542 | NEW4-Savings By Design SCG SCE Program | 10500000 | 10297012.0111 | 503650.031 | 288665.09 | 2046699.32 | 2839014.441
SCG3513 | NRF4-Local Business Energy Efficiency Program | 26846940 | 26328586.3921 | 1792612.7851 | 440439.04 | 6221954.9 | 8455006.7251
SCG3514 | OBF4-On-Bill Financing for Energy Efficiency Equipment | 3750000 | 3675672.0003 | 556432.8444 | 0 | 0 | 556432.8444
SCG3528 | RCX4-RCx Partnership with SCE | 150000 | 147028.0088 | 2995.225 | 314.64 | 443 | 3752.865
SCG3543 | Palm Desert Partnership Program |  | 2242965 | 48671.2529 | 0 | 0 | 48671.2529
SCG3522 | SBP4-South Bay Partnership | 360000 | 352864.458 | 116975.1807 | 111513.37 | 121067.46 | 349556.0107
SCG3516 | SCD4-Sustainable Communities Demo/City of Santa Monica | 900000 | 882161.1575 | 61915.4105 | 0 | 0 | 61915.4105
SCG3517 | SFR4-Home Efficiency Rebate Program | 19500000 | 19124553.1991 | 994733.1866 | 688017.77 | 6528059.82 | 8210810.7766
SCG3520 | UCP4-IOU/UC/CSU Partnership | 3060000 | 2999348.3345 | 409816.5747 | 1575 | 1067438.58 | 1478830.1547
SCG3521 | VCP4-Ventura County Partnership | 420000 | 411675.2041 | 99651.1589 | 105545.98 | 158222.84 | 363419.9789
Total Portfolio |  | 165086663 | 157958604.5128 | 10722833.2405 | 9396444.1936 | 38979377.781 | 59098655.2151

## GBI Report
Southern California Gas Company
2006-2008 Green Building Initiative (GBI) Report
Southern California Gas Company
Quarter Ending December 2007
Table 4.1: GBI Goal and Results
|  | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
State Buildings Only | Expenditures ($) | kW Installed |  | kWh Installed |  | Therms Installed
Quarterly Totals | 1667 |  |  |  |  | 10412.16
Current Program Cycle | 13322 |  |  |  |  | 26236.608
Total Since Inception | 134098.8679 |  |  |  |  | 151331.5403
2006-2008 Utility Target | 154843.24 |  |  |  |  | 208389.58
2006-2008 Utility Target: % Fulfilled | 8.604% |  |  |  |  | 12.59% | #DIV/0!
Commercial Buildings Only
Quarterly Totals | 2658367.33 |  |  |  |  | 4815817.5952
Current Program Cycle | 7538005.74 |  |  |  |  | 11778655.4413
Total Since Inception | 9591087.4463 |  |  |  |  | 13905139.7718
2006-2008 Utility Target | 2632174.71 |  |  |  |  | 3542407.1
2006-2008 Utility Target: % Fulfilled | 286.4% |  |  |  |  | 332.5% | #DIV/0!
Other Public Buildings Only
Quarterly Totals | 122628.3 |  |  |  |  | 100228.991
Current Program Cycle | 589415.15 |  |  |  |  | 655627.2355
Total Since Inception | 2783552.5658 |  |  |  |  | 2928210.3575
2006-2008 Utility Target | 2813016.64 |  |  |  |  | 3785785.99
2006-2008 Utility Target: % Fulfilled | 20.95% |  |  |  |  | 17.32% | #DIV/0!
Commercial & Institutional
Quarterly Totals | 2782662.63 |  |  |  |  | 4926458.7462 | 0
Current Program Cycle | 8140742.89 |  |  |  |  | 12460519.2848 | 0
Total Since Inception | 12508738.88 |  |  |  |  | 16984681.6696 | 0
2006-2008 Utility Target | 5600034.59 |  |  |  |  | 7536582.67 | 0
2006-2008 Utility Target: % Fulfilled | 145.4% |  |  |  |  | 165.3% | #DIV/0!
Table 4.2: GBI Results by NAICS Code
| Square Footage | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
Commercial & Institutional Buildings | Total Installed (inception to date) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter)
Nonresidential
42 |  | 0 | 0 | 0 | 0 | 27021.9962 | 0
44 |  | 0 | 0 | 0 | 0 | 292222.5706 | 68886.96
45 |  | 0 | 0 | 0 | 0 | 1938 | 1938
49 |  | 0 | 0 | 0 | 0 | 111804.8038 | 0
51 |  | 0 | 0 | 0 | 0 | 10916.0199 | 1265.292
52 |  | 0 | 0 | 0 | 0 | 9810.0789 | 2570.3424
53 |  | 0 | 0 | 0 | 0 | 20445.5152 | 9257.6616
54 |  | 0 | 0 | 0 | 0 | 1645177.6853 | 1580662.0796
55 |  | 0 | 0 | 0 | 0 | 0 | 0
56 |  | 0 | 0 | 0 | 0 | 17892.365 | 0
61 |  | 0 | 0 | 0 | 0 | 626573.9525 | 174392.142
62 |  | 0 | 0 | 0 | 0 | 176485.7727 | 62197.6128
71 |  | 0 | 0 | 0 | 0 | 163240.6297 | 62185.5552
72 |  | 0 | 0 | 0 | 0 | 1588096.189 | 486095.971
81 |  | 0 | 0 | 0 | 0 | 11652542.5694 | 2468792.3328
92 |  | 0 | 0 | 0 | 0 | 640513.5214 | 8214.7968
Total |  | 0 | 0 | 0 | 0 | 16984681.6696 | 4926458.7462
Table 4.3: GBI Results by End Use Classification
Total | Square Footage | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
| Total Installed (inception to date) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter)
Nonresidential
HVAC |  | 0 | 0 | 0 | 0 | 8616.96 | 8616.96
Lighting |  | 0 | 0 | 0 | 0 | 0 | 0
Office |  | 0 | 0 | 0 | 0 | 0 | 0
Process |  | 0 | 0 | 0 | 0 | 16221396.4387 | 4633646.3302
Refrigeration |  | 0 | 0 | 0 | 0 | 0 | 0
Other |  | 0 | 0 | 0 | 0 | 754668.2709 | 284195.456
Total |  | 0 | 0 | 0 | 0 | 16984681.6696 | 4926458.7462

## EM&V
Southern California Gas Company
2006-2008 Energy Efficiency EM&V Expenditures Report
Quarter Ending December 2007
Table 3: Quarterly EM&V Expenditures
Budgets |  |  | Inception-to-Date Expenditures |  |  | Report Quarter Expenditures
SCG EM&V Budget (3 - Yr) | Staff EM&V Budget (3 - Yr) | Total EM&V Budget (3 - Yr) | IOU EM&V Expenditures (Inception-To-Date) | Staff EM&V Expenditures (Inception-To-Date) | Total EM&V Expenditures (Inception-To-Date) | IOU EM&V Expenditures (Report Quarter) | Staff EM&V Expenditures (Report Quarter) | Total EM&V Expenditures (Report Quarter)
3661275 | 9779754 | 13441029 | 14978.98 | 36896.86 | 51875.84 | 14978.98 | 36896.86 | 51875.84 | 1st Q 2006
3661275 | 9779754 | 13441029 | 30676.52 | 62869.31 | 93545.83 | 15697.54 | 25972.45 | 41669.99 | 2nd Q 2006
3661275 | 9779754 | 13441029 | 55826.26 | 95376.89 | 151203.15 | 25149.74 | 32507.58 | 57657.32 | 3rd Q 2006
3661275 | 9779754 | 13441029 | 86281.03 | 103325.41 | 189606.44 | 30454.77 | 7948.52 | 38403.29 | 4th Q 2006
3661275 | 9779754 | 13441029 | 123728.37 | 147215.85 | 270944.22 | 37447.34 | 43890.44 | 81337.78 | 1st Q 2007
3661275 | 9779754 | 13441029 | 164940.07 | 170141.63 | 335081.7 | 41211.7 | 22925.78 | 64137.48 | 2nd Q 2007
3661275 | 9779754 | 13441029 | 276634.43 | 232650.11 | 509284.54 | 111694.36 | 62508.48 | 174202.84 | 3rd Q 2007
3661275 | 9779754 | 13441029 | 756648.14 | 398510.77 | 1155158.91 | 480013.71 | 165860.66 | 645874.37 | 4th Q 2007